Final Study Report

DAPA-DREAM

A Randomized, Double-Blind, Placebo-controlled, Single-center Phase 1 Inpatient Pilot Study to Explore the Safety and Efficacy of a Single-Dose of DAPAglifozin as Add-on to day and night closed-loop control using the DreaMed Substance Administration Device Software in Adolescent and Adult Subjects with Type 1 Diabetes mellitus

| Study No: | ESR-15-11453 |
| --- | --- |
| EudraCT number: | 2016-002212-41 |
| Sponsor and Principal Investigator | Prof. Dr. Thomas Danne Stiftung Hannoversche Kinderheilanstalt Kinder- und Jugendkrankenhaus AUF DER BULT Diabeteszentrum für Kinder und Jugendliche Janusz-Korczak-Allee 12 D-30173 Hannover, Germany |
| Report Responsibility: | Dr. Torben Biester Prof. Dr. Thomas Danne |
| Date: | 17.12.2019 |

| Study Initiation | 09. February 2017 |
| --- | --- |
| First Patient Visit | 22.February 2017 |
| Last Patient Visit | 19.December 2017 |
| End of Study | July 2018 Data Transfer |

This trial was conducted in compliance with ICH GCP (ICH Guideline, 1996) applicable regulatory requirements, and in accordance with the Declaration of Helsinki (World Medical Association Declaration of Helsinki, 2008).

- Synopsis

Title	A Randomized, Double-Blind, Placebo-controlled, Single-center Phase 1 Inpatient Pilot Study to Explore the Safety and Efficacy of a Single-Dose of DAPAgliflozin as Add-on to day and night closed-loop control using the DreaMed Substance Administration Device Software in Adolescent and Adult Subjects with Type 1 Diabetes mellitus

Phase	Phase 1

Indication	Type 1 Diabetes mellitus

Trial Objectives	Primary objective

The purpose of the pilot study is to collect clinical data of a single-dose of 10mg dapagliflozin as add-on to night and day closed-loop control using the DreaMed Algorithm on the time within glucose range 70-180 mg/dl (3.9-10mmol/l) [%] for the ensuing 24 hours with two oral mixed-meals.

Secondary objectives

      - To investigate the degree of insulin dose reduction during the  DreaMed automated insulin delivery 24 hours after a single dose of 10mg dapagliflozin in patients with type 1 diabetes

      - To investigate the effect on urinary glucose excretion

      - To investigate if dapagliflozin influences postprandial insulin need

      - To investigate if dapagliflozin is associated with elevated ß-hydroxybutyrate levels

      - Extra samples will be taken potentially for additional analysis of the incretin axis (for example GIP) in case that elevated β-Hydroxyburate levels need to be elucidated further

Efficacy Variables 	Primary efficacy variable

Time within glucose range 70-180 mg/dl (3.9-10mmol/l) [%] during night and day closed-loop control using the DreaMed automated insulin delivery with two oral mixed-meals after oral administration of 10mg dapagliflozin

Secondary efficacy variables

      - Percentage of glucose sensor readings below 70 mg/dl (3.9 mmol/l)

      - Percentage of glucose sensor readings above 180mg/dl (10 mmol/l)

      - Average and SD of glucose sensor readings

Exploratory endpoints:

      - Percentage of elevated ß-hydroxybutyrate-levels in blood

      - Insulin need during the DreaMed automated insulin delivery

Safety Variables	Hypoglycemic Events defined as BG < 70mg/dL

DKA definded as β-Hydroxyburate ≥ 1,5 mmol/L and pH < 7,25

Medication/Dosage	Dapagliflozin 10 mg

Study Duration	Duration of study participation for one patient:

Minimum: 12 days

Maximum: 72 days

Overall duration of the study: 1 year

Design	Monocenter, randomized, double blind, Placebo-controlled, cross-over

Population	Diabetes mellitus Type 1 male and female patients, aged 12-21 years (both inclusive). 15 adults, 15 adolescents/children

Sample Size	45 screened to achieve n = 30 completed patients

Contents

Inhalt

1.	List of amendments	5

2.	List of abbreviations	5

3.	Literature / Software	5

3.1.	Literature	5

3.2.	Software	5

4.	Ethics	5

5.	Patient information and consent	6

6.	Investigators and study administrative structure	6

7.	Introduction	8

8.	Research Hypothesis and Rationale	9

9.	Study objectives	9

9.1.	Primary objective	9

9.2.	Secondary objective	9

10.	Investigational plan	10

10.1.	Study design	10

10.2.	Selection criteria	11

10.3.	Premature discontinuation criteria	14

10.4.	Trial Duration	15

10.5.	Trial Procedures	15

11.	Treatment	20

11.1.	Investigational products	20

11.1.1.	Investigational products	20

11.1.2.	Non investigational products	20

11.1.3.	Method of assigning subjects to investigational products	21

11.1.4.	Selection and timing of dose for each patient	21

11.1.5.	Prior and concomitant treatments	21

11.2.	Patient Procedures	21

11.3.	Efficacy and safety	29

11.4.	Data entry	30

11.5.	Statistical analysis	30

11.6.	Changes in the planned methods of analysis	31

12.	Data setup and data processing / presentation	31

12.1.	Database	31

12.2.	Data processing	31

12.3.	Data correction	31

12.4.	Data processing comments	31

12.5.	Missing values	32

12.6.	SAS output files	32

13.	Patients	32

14.	Efficacy evaluation	32

14.1.	Data sets analysed	32

14.2.	Tables and figures	33

15.	Summary	113

16.	Discussion	116

17.	Conclusion	122

18.	Literature	129

Listings	130

Appendix	132

# List of amendments

None

# List of abbreviations

| Abbreviation | Definition |
| --- | --- |
| AE | Adverse event |
| ALAT | Alanine aminotransferase |
| ASAT | Aspartate aminotransferase |
| BG | Blood glucose |
| BMI | Body mass index |
| CRF | Case report form |
| DKA | Diabetic ketoacidosis |
| EC | Ethics Committee |
| FAS | Full analysis set |
| GIP | Gastric inhibitory polypeptide |
| GLP-1 | Glucagon-like peptide 1 |
| IP | Investigational product |
| MAO | Monoamine oxidase |
| Max | Maximum |
| Min | Minimum |
| N | Number |
| Nmiss | Number of missing values |
| PK | Pharmacokinetics |
| PP | Per protocol set |
| SAE | Serious adverse event |
| SAF | Safety population |
| SD | Standard deviation |
| Std | Standard deviation |
| T1DM | Type 1 diabetes mellitus |
| T2DM | Type 2 diabetes mellitus |
| ULN | Upper limit of normal |

# Literature / Software

## Literature

None

## Software

SAS Version 9.4

# Ethics

This study was approved by the Ethic’s board at Hannover Medical School, chair Prof. Dr. Stefan Engeli (see Appendix).

The trial was conducted in compliance with ICH GCP (ICH Guideleine, 1996) applicable regulatory requirements, and in accordance with the Declaration of Helsinki (World Medical Association Declaration of Helsinki, 2008).

# Patient information and consent

All subjects have been informed in time before being included. At pre-screening visit before screening the consent was taken by subject and all legal representatives.

For representative written information for the patient and a sample patient consent form see appendix.

# Investigators and study administrative structure

Sponsor

Hannoversche Kinderheilanstalt

Hospital for Children and Adolescents

Janusz-Korczak-Allee 12

30173 Hannover

Study Site

AUF DER BULT, Hospital for Children and Adolescents

Janusz-Korczak-Allee 12

30173 Hannover

Principal Investigator

Prof. Dr. med. Thomas Danne

AUF DER BULT, Diabetes Centre for Children and Adolescents

Janusz-Korczak-Allee 12

30173 Hannover

Phone: +49 511 8115 3330

Deputy Principal Investigator

Dr. med. Torben Biester

AUF DER BULT, Diabetes Centre for Children and Adolescents

Janusz-Korczak-Allee 12

30173 Hannover

Phone: +49 511 8115 3344

Laboratories

Medizinisches Labor Hannover

Am TÜV 6

30519 Hannover

0511-856220

Labelling of medical Product and Randomization

Profil Institut für Stoffwechselforschung GmbH,

Hellersbergstr. 9,

D-41460 Neuss

Telefon:02131 40180

Statistics

Alcedis GmbH

Winchesterstr. 3

35394 Gießen

0641-944360

Monitoring

Dr. Kerstin Adolph

Graf-von-Schwerin-Str 13

14469 Potsdam

# Introduction

Patients with T1DM require lifelong insulin therapy due to the inability to produce endogenous insulin. Type 1 diabetes is one of the most common chronic diseases of childhood. In European children younger than 5 years old, a doubling of new cases of Type 1 diabetes is predicted by 2020. Prevalent cases younger than 15 years will rise by 70% between 2005 and 2020 if current trends persist. Poor blood glucose control during the early years of diabetes has a major impact on long-term prognosis and increases the risk of developing complications at a younger age. Diabetes complications represent 5% to 10% of total healthcare spending in EU Member States. Of these expenditures, 75% is spent on treatment of late stage complications. Children and adolescents with diabetes face a lifetime of living with the condition. Compared to the management of diabetes in adults, diabetes has a unique impact on children and their families. The daily life of children is disrupted by the need to monitor blood sugar levels, take medication, and balance the effects of activity and food. The treatment regimen for insulin dependent diabetes is complex and demands constant attention, problem-solving, and self-discipline.

Adolescence is the time where age-specific problems of disease management and insulin resistance due to pubertal hormones often lead to worsening of glycemic control and new therapeutic approaches are urgently needed particularly for this age group. As insulin deficiency worsens, ketones, which are formed from the breakdown of fat, build up in the blood and are excreted in the urine and breath. Increased ketones are associated with relative or absolute insulin deficiency and can lead particularly fast to diabetic ketoacidosis or DKA since the residual function declines faster with younger age.

Insulin requirements in these subjects vary widely and depend on several factors such as body weight, activity level, food intake, etc. Insulin administration is often associated with weight gain and many patients with T1DM develop insulin resistance (inability to efficiently utilize insulin) and thus require high doses of insulin to maintain euglycemia. Insulin dosing that is mismatched to the insulin need often leads to excessive food intake related to increased appetite and the desire to avoid hypoglycemia. This situation can drive weight gain and set off a vicious cycle leading to increasing insulin requirements and worsening of their glycemic control.

Dapagliflozin has a unique mechanism of action that does not directly affect either insulin resistance or insulin secretion, but rather improves glycemia by reduction of glucose reabsorption from proximal renal tubules. It is expected to reduce mean daily glucose, improve glycemic control and reduce overall insulin requirements. Improved glycemic control with reduced variability may also lead to reduced frequency of hypoglycemia.

In this pilot study data was collected to investigate the effect on glucose of a single 10 mg dapagliflozin within range for the ensuing 24 hours during the DreaMed automated insulin delivery in patients with type 1 diabetes dosing with dapagliflozin in an in-patient setting combined with an automated sensor based CE marked insulin delivery system to data if dapagliflozin was a suitable add-on therapy. This could provide optimal monitoring of subject safety and assessment of the effects of dapagliflozin in a structured setting.

# Research Hypothesis and Rationale

If this inpatient study shows evidence that Dapagliflozin is a suitable add on therapy and leads to an increase of time within the target glucose range when using a sensor based insulin pump therapy (closed-loop) further outpatient studies are planned to be conducted. .

# Study objectives

## Primary objective

The purpose of this pilot study was to collect clinical data of two doses of 10 mg (each) dapagliflozin as add-on to night and day closed-loop control using the DreaMed automated insulin delivery on the time within glucose range 70-180 mg/dl (3.9-10 mmol/l) [%] for the ensuing 24 hours with two oral mixed-meals.

## Secondary objective

The secondary endpoints were

- to investigate the degree of insulin dose reduction during theDreaMed automated insulin delivery 24 hours during a treatment with two doses of 10mg dapagliflozin (1x10 mg before bedtime and 1x10mg in the morning) in patients with type 1 diabetes

- to investigate the effect on urinary glucose excretion

- to investigate if dapagliflozin influences postprandial insulin need

- to investigate if dapagliflozin is associated with elevated ßhydroxybutyrate levels

Extra samples were taken potentially for additional analysis of the incretin axis (for example GIP) in case that elevated β-Hydroxyburate levels needed to be elucidated further.

# Investigational plan

## Study design

This study was a randomized, double-blind, placebo-controlled, single-center, Phase 1 study with a cross-over design. Two doses of 10 mg dapagliflozin (1 x 10 mg before bedtime and 1 x 10 mg in the morning) were tested as add-on therapy to a CE marked sensor based insulin pump therapy using the DreaMed system in a closed-loop setting. 30 patients aged 12 to 20 years (15 adults, 15 adolescents) with type 1 diabetes completed the study after informed written consent and review of all inclusion/exclusion criteria.

The trial consisted of six visits: a screening visit (Visit 1), two dosing visits (Visit 2 and Visit 4), two telephone calls (Visit 3 and Visit 5) and a follow-up visit (Visit 6).

Before the screening visit took place, patients were provided with oral and written information about the trial and the procedures involved. On enrolment in the trial, the patient’s demographic data and medical history were obtained and the patient underwent a physical examination.

Screening took place 2-21 days prior to the 1st dosing visit and the follow-up visit 5-21 days after the end of the 2nd dosing visit. The dosing visits were separated by a wash-out period (5-30 days between the end of the 1st dosing visit and begin of 2nd dosing visit). Each phone visit took place 3-5 days after the end of the respective dosing visit. The planned total duration of the trial was 12-72 days per subject. Each subject was randomised to a treatment sequence consisting of two treatment periods in which the subjects received dapagliflozin and placebo on two separate dosing visits. The overall trial design and visit schedule are outlined in the trial diagram (Figure 1).

Figure 1: Study Overview

## Selection criteria

To be considered eligible to participate in this trial, a patient had to meet all of the inclusion criteria listed below.

- Male or female aged 12-21 years (both inclusive)

- Type 1 diabetes mellitus (as diagnosed clinically) ≥ 12 months

- No DKA 12 weeks prior to the study

- On CSII (insulin pump therapy) since at least 3 months

- Average daily dose of insulin between 0.6 – 2.0 U/kg

- Body mass index 18 to 35 kg/m2 or the 10th to 99th centile for BMI according to age and gender with a minimum weight of 50 kg

- A1c range 6,5 % – 11 % (inclusive)

Patients were excluded from the study for any of the following reasons:

- History of drug or alcohol abuse within the last five years prior to screening

- Anamnestic history of hypersensitivity to the study drugs (or any component of the study drug) or to drugs with similar chemical structures

- History of severe or multiple allergies

- Treatment with any other investigational drug within 3 months prior to screening

- Progressive fatal disease

- History of significant cardiovascular, respiratory, gastrointestinal, hepatic (ALAT and/or ASAT > 3 times the normal reference range), renal (creatinine > 1.1 mg/dl in women and > 1.5 mg/dl in men), neurological, psychiatric and/or hematological disease as judged by the investigator

- Pregnant or lactating women

- Sexually active women of childbearing potential not consistently and correctly practicing birth control by implants, injectables, combined oral contraceptives, hormonal intrauterine devices (IUDs), sexual abstinence or vasectomized partner

- Lack of compliance or other similar reason that, according to investigator, precludes satisfactory participation in the study

Target Disease Exclusions

- History of T2DM, maturity onset diabetes of young (MODY), pancreatic surgery or chronic pancreatitis

- Any use of oral hypoglycemic agents within 12 months prior to the screening visit

- History of diabetes ketoacidosis (DKA) within 12 weeks prior to prior to the screening visit

- History of diabetes insipidus

- History of hospital admission for glycemic control (either hyperglycemia or hypoglycemia) within 3 months prior to the screening visit

- Frequent episodes of hypoglycemia as defined by more than one episode requiring assistance, emergency care (paramedics or emergency room care) or glucagon therapy, or more than 2 unexplained episodes of symptomatic hypoglycemia within 3 months prior to the screening visit. An unexplained event is defined as an event that cannot be explained by circumstances such as dietary (e.g. missed meal), strenuous exercise, error in insulin dosing, etc.

- Hypoglycemic unawareness

- History of Addison’s disease or chronic adrenal insufficiency

Physical and Laboratory Test Findings

- Aspartate aminotransferase (ASAT) > 2x upper limit of normal (ULN)

- Alanine aminotransferase (ALAT) > 2x ULN

- Serum total bilirubin > 2x ULN

- Estimated GFR (eGFR) by the Modification of Diet in Renal Disease (MDRD) formula ≤60 ml/min/1.73m2. The renal function, eGFR will be estimated by the abbreviated MDRD, using laboratory measurements of serum creatinine collected at screening [eGFR (ml/min/1.73m2) = 175 x (standardized Scr)-1.154 x (Age)-0.203 x (0.742 if female) x (1.212 if Black)].

- Hemoglobin ≤ 11.0 g/dl (110 g/l) for boys / men; hemoglobin ≤10.0 g/dl (100 g/L) for girls / women.

- Creatine kinase (CK) > 3x ULN

- Positive for hepatitis B surface antigen or anti-hepatitis C virus antibody.

- Abnormal Free T4 Note: abnormal TSH value at screening will be further evaluated for free T4. Subjects with abnormal free T4 values will be excluded. A one-time retest may be allowed, as determined by the investigator, after a minimum of 6 weeks following the adjustment of thyroid hormone replacement therapy in subject who have had a prior diagnosis of a thyroid disorder and who are currently receiving thyroid replacement therapy. Such cases should be discussed with the investigator prior to retesting. The subject must have all screening procedures and laboratory assessments performed as part of this re-test, and all of these must meet enrolment eligibility criteria. The subject’s number will, however, remain the same as initially assigned.

Allergies and Adverse Drug Reaction

- Allergies or contraindication to the contents of dapagliflozin tablets or insulin

- Renal, Hepatic, Hemotological/Oncological Diseases/Conditions

- History of unstable or rapidly progressing renal disease

- Conditions of congenital renal glucosuria

- Renal allograft

- Significant hepatic disease, including but not limited to, chronic active hepatitis and/or severe hepatic insufficiency

- Documented history of hepatotoxicity with any medication

- Documented history of severe hepatobiliary disease

- History of hemoglobinopathy, with the exception of sickle cell trait (SA) or

- Thalassemia minor; or chronic or recurrent hemolysis

- Donation of blood or blood products to a blood bank, blood transfusion, or

- Participation in a clinical study requiring withdrawal of > 400 ml of blood during the 6 weeks prior to the enrolment visit

- Known immunocompromised status, including but not limited to, individuals who have

- undergone organ transplantation or who are positive for the human immunodeficiency virus

- Malignancy within 5 years of the screening visit (with the exception of treated basal cell or treated squamous cell carcinoma of the skin)

Other Exclusion Criteria

- Prisoners or subjects who are involuntarily incarcerated

- Subjects who are compulsorily detained for treatment of either a psychiatric or physical (e.g., infectious disease) illness

- Replacement or chronic systemic corticosteroid therapy, defined as any dose of systemic corticosteroid taken for > 4 weeks within 3 months prior to Day -3 visit.

NOTE: Topical or inhaled corticosteroids are allowed.

- Any unstable endocrine, psychiatric, rheumatic disorders as judged by the investigator.

- Subject is, in the judgment of the investigator, unlikely to comply with the protocol or has any severe concurrent medical or psychological condition that may affect the interpretation of efficacy or safety data.

- Subject with any condition which, in the judgment of the investigator, may render the subject unable to complete the study or which may pose a significant risk to the subject.

- Subject is currently abusing alcohol or other drugs or has done so within the last 6 months.

- Subject is a participating investigator, study coordinator, employee of an investigator or immediate family member of any of the aforementioned.

- Administration of any other investigational drug within 30 days of planned enrolment to this study.

- No clinical conditions or clinically significant abnormalities, in any laboratory value(s) collected after screening and prior to randomization which, in the investigator’s judgment, should preclude entry into the treatment period.

Dosing day exclusion criteria

- Subjects who meet one or more of the dosing day exclusion criteria will be excluded from the dosing visit or withdrawn from the trial as specified below:

- Non-fasting, i.e., consumption of food or beverages other than water, later than at 23:00 hours the evening before dosing.

- Clinically significant illness with onset within 4 weeks prior to dosing

- Presence of clinically significant acute gastrointestinal symptoms (e.g. nausea, vomiting, heartburn or diarrhoea), as judged by the investigator

- Consumption of alcohol within 24 hours prior to dosing

- Episode of severe hypoglycemia occurring within the last 24 hours prior to dosing

- Any medical condition that, in the opinion of the investigator, could interfere with insulin pharmacokinetics and/or glucose metabolism.

- Use of the following: systemic (oral or i.v.) corticosteroids, monoamine oxidase (MAO) inhibitors, systemic non-selective beta-blockers, growth hormone, non-routine vitamins or herbal products. Furthermore, thyroid hormones are not allowed unless the subject has used stable medication during the past 3 months.

- Non-adherence to pre-dosing insulin regimen consisting of CSII

Subjects who meet one or more of dosing day exclusion criteria will be excluded from the dosing visit. In case a subject is excluded from the dosing visit, the dosing visit can be rescheduled 1-7 days later. Each of the dosing visits can only be rescheduled once.

## Premature discontinuation criteria

A patient was allowed to withdraw his/her consent to participation at any time without explanation and without consequences for further treatment. Moreover, the investigator had to discontinue the patient’s study participation due to one of the following reasons:

- Any health deterioration of the patient e.g. ALAT and/or ASAT > 2 times upper limit of normal range,

- Not acceptable further study participation as determined by the investigator,

- Taking of medication/drugs that are not approved by the investigator or that are not allowed during the study,

- Newly occurring diseases that could influence the effectiveness of the study treatment,

- Occurrence of not tolerable adverse events and/or laboratory value alterations,

- Pregnancy,

- Patient lost to follow-up.

Study treatment may also be discontinued temporarily or permanently due to one of the following reasons:

- Technical reasons (change of physician, change of address of volunteer/patient),

- Lacking compliance of patient,

- Major protocol violation.

The patient leaving the study prematurely after having at least one study drug administration was replaced. The patient prematurely leaving the study was not allowed to re-enter the trial. The replacement subject was allocated to the same treatment sequence as the subject he/she replaced.

## Trial Duration

The average duration of study participation for patients completing the study was estimated to be approximately two months. The estimated duration of the total study is about one year.

## Trial Procedures

Before the screening visit took  place, potential subjects (and for adolescents, in addition the subjects’ parents or legally accepted representatives) were provided with oral and written information about the trial and the procedures involved, in accordance with local requirements. Subjects (and for children/adolescents, the subjects’ parents or legally accepted representatives) were fully informed of their responsibilities and their rights while participating in the trial and of all the procedures involved in the trial as well as the possible risks and benefits of being dosed with dapagliflozin and the DreaMed system. Subjects had opportunity to ask questions and they had ample time to consider participation.

If the subject wished to participate in the trial, the subject (and for /adolescents, the subjects’ parents or legally accepted representatives) was asked to sign and date (including time) an informed consent form prior to any trial related activities. Likewise, the Investigator (or another physician delegated by the Investigator) seeking the informed consent also signed the informed consent form prior to any trial related activities. Adolescents and adults were required to give written informed consent. All subjects were provided with a copy of their own signed and dated informed consent form.

If the Investigator is not the subject’s primary physician, the Investigator should preferably notify the primary physician that the subject is participating in a clinical trial. If needed, permission was be given by the subject. On enrolment in the trial, the patient’s demographic data and medical history will be obtained and the patient will undergo a physical examination.

Details regarding trial procedures are given in Table 1. Details of Blood samples are shown in Table 2.

Table 1: List of trial procedures

| Visit | Informed Consent | V1 Screening | V2/V4 Dosing- Day 1 | V3/V5 | V2/V4 Day 2 | V6 Follow up |
| --- | --- | --- | --- | --- | --- | --- |
| Time in days according to screening visit | At least 1 day before V1 | 0 | 2-21/5-30 | 3-5 days after V2/V4 | 2-21/5-30 | 12-72 |
| In/exclusion criteria |  | X | X |  |  |  |
| Screen for drugs |  | X | X |  |  |  |
| Screen for alcohol |  | X |  |  |  |  |
| Demography |  | X |  |  |  |  |
| Diagnosis of diabetes |  | X |  |  |  |  |
| Medical history |  | X |  |  |  |  |
| Concomitant illness |  | X | X | X |  | X |
| Withdrawal criteria |  |  | X |  |  |  |
| Pregnancy test1 |  | X1 | X |  | X | X1 |
| Dosing day exclusion criteria |  |  | X |  |  |  |
| Body measurements |  | X | X |  | X | X |
| Physical examination |  | X |  |  |  | X |
| Pubertal status |  | X |  |  |  |  |
| Vital signs |  | X | X |  |  | X |
| Urinalysis |  | X |  |  |  | X |
| Standard meal test |  |  | X |  | X |  |
| Admin. of trial product |  |  | X |  | X |  |
| Visit | Informed Consent | V1 Screening | V2/V4 Dosing- Day 1 | V3/V5 | V2/V4 Day 2 | V6 Follow up |
| Adverse events |  | X | X | X | X | X |
| Concomitant medication |  | X | X | X | X | X |
| Hypoglycemic episodes |  | X | X | X | X | X |
| DreaMed System |  |  | X |  | X |  |
| Glucose Sensor |  | X |  |  |  |  |
| Sensor Training |  | X | (X)2 |  | (X)2 |  |

1At Visit 1 and Visit 6 a blood pregnancy test will be performed in women of child bearing potential. At Visit 2 and Visit 4 a urine pregnancy test will be performed

2 if needed another sensor training can be performed

Table 2 List of laboratory procedures Blood/Urine Samples

|  | V1 Screening | V2/V4 Dosing Day 1 | V2/V4 Day 2 | V6 follow up |
| --- | --- | --- | --- | --- |
| PK |  | X | X |  |
| Blood glucose hourly (postprandial after mixed meal every 30 min for 2h) |  | X | X |  |
| ß-hydroxybutyrate hourly (postprandial after mixed meal every 30 min for 2h |  | X | X |  |
| GLP-1 |  | X | X |  |
| 24h urinary glucose excretion |  | X | X |  |
| Hematology | X |  |  | X |
| Biochemistry, Lipids | X |  |  | X |
| Blood gas analysis |  | X | X |  |
| Creatinine | X |  |  |  |
| TSH, free T4 | X |  |  |  |
| A1C | X |  |  |  |

X1 Serum Pregnancy test

X2 Urine Pregnancy test

The maximum calculated volume of blood taken from patients, who will complete the whole study, is approximately 60 ml within 72 days.

Any deviation of laboratory parameters from normal ranges will be documented and followed up, as appropriate. Clinically significant deviations observed during the screening visit and throughout the study will be documented as Adverse Events in the CRF.

  - Trial Visits Schedule

Figure 2: Flowchart of procedures during visit 2 (2 days) and visit 4 (2 days)

## Treatment

## Investigational products

### Investigational products

Patients received a dose of dapagliflozin 10 mg or placebo orally before bedtime and in the morning during dosing visits. The trial product was administered as a tablet together with water.

### Non investigational products

DreaMed Substance Administration Device Software, DreaMed ltd., Petah Tikvah, Isreal. As the DreaMed Substance Administration Device Software is a CE-marked product with the purpose for clinical investigation, in this trial it was used as non-investigational product.

Other medications used as support or escape medication for preventative, diagnostic, or therapeutic reasons, as components of the standard of care for a given diagnosis, were considered as non investigational products (NIMP). In this study, non investigational product was Insulin Aspart (Novorapid®) or Insulin Lispro (Humalog®). All insulin medication which was commercially available must continue to be taken at a stable effective therapeutic dose in accordance with the protocol, as applicable.

### Method of assigning subjects to investigational products

Subjects were randomized to either start (at Visit 2) with the investigational product dapagliflozin followed by placebo at Visit 4 or the other way round. The two treatment sequences were:

- Sequence 1: Dapagliflozin followed by placebo

- Sequence 2: Placebo followed by dapagliflozin

### Selection and timing of dose for each patient

Two doses of 10 mg dapagliflozin were tested as add-on therapy to a CE marked sensor based insulin pump therapy using the DreaMed system in a closed-loop setting. One dose was administered in the evening to compare the effect on fasting periods and a second dose of 10 mg in the morning 30 minutes before meal to see the postprandial effect of dapagliflozin.

### Prior and concomitant treatments

Once enrolled, subjects were not allowed to receive any injectable anti-diabetic medications other than insulin, oral anti-diabetic medications, diuretic therapy, systemic corticosteroid therapy, phentermine, benzphetamine, diethylpropion, methamphetamine, orlistat or phendimetrazine. If hypoglycemia occured, intake of carbohydrate was allowed in fasting periods during dosing visits.

## Patient Procedures

Screening visit

The screening took place 2-21 days before dosing on Visit 2. At the screening visit, the following was assessed and recorded in the CRF:

- Check of signed and dated informed consent

- Assessment of inclusion and exclusion criteria

- Screen for drugs

- Demography (age, sex, ethnicity, race)

- Diagnosis of diabetes

- Medical history (any relevant illness in the past)

- Concomitant illness

- Pregnancy test (in women of child-bearing potential)

- Body measurements: Body weight, height and body mass index (BMI) [calculated as

- body weight/(height)2]

- Physical examination

- Pubertal status (only in children and adolescents)

- Vital signs

- Laboratory examination of A1c

- Laboratory examination of blood/urine samples for safety assessment (hematology,

- biochemistry, lipids and urinalysis)

- Laboratory examination for Hepatitis B antigen and Hepatitis C antibodies

- Laboratory examination for HIV antibodies and antigen

- Concomitant medication (including current diabetes therapy, in case of CSII separate

for basal rate and bolus insulin)

Concomitant Medical Conditions

Clinically significant conditions and concomitant medication during the study will be documented.

All screening laboratory parameters will be measured at “Medizinisches Labor Hannover”. Laboratory methods are listed in Appendix .

The Investigator will review all information obtained from the screening procedures.

Screened subjects who do not comply with all inclusion and exclusion criteria are excluded, and their data will be recorded on a screening failure log to be kept at the investigational site.

The reason for exclusion must be recorded on the screening failure form. For screening failures all CRF pages containing recorded data will be collected, but only the screening failure form will be entered into the database.

Subjects who comply with all the inclusion and exclusion criteria will be invited for the first dosing visit (Visit 2). Subjects will be informed that before the dosing visit (Visit 2) they

should:

- Avoid consumption of alcohol within the last 24 hours prior to dosing

- Avoid use of the following products: systemic (oral or i.v.) corticosteroids, monoamine

oxidase (MAO) inhibitors, systemic non-selective beta-blockers, growth hormone,

non-routine vitamins and herbal products. Furthermore, the use of thyroid hormones

must be stable.

Once enrolled, subjects may not receive any of the following for the duration of the study:

- Any injectable anti-diabetic medications other than insulin (including GLP-1 agonists

- and pramlintide)

- Any oral anti-diabetic medications.

- Any diuretic therapy (e.g. loop diuretics, thiazide diuretics, aldosterone antagonists).

- Treatment with any systemic corticosteroid therapy.

- Administration of phentermine, benzphetamine, diethylpropion, methamphetamine,

- orlistat, and/or phendimetrazine.

Subjects will be also informed that during the in-house stay period they must avoid strenuous

exercise and consumption of alcohol.

All patients will receive a training for glucose sensor system, a sensor will be placed.

    - Visit 2 and visit 4 Dosing

Day -1

Patients will be called and reminded to place a new glucose sensor on same day and to change pump catheter the next morning.

Day 1

The subjects will attend the Clinic unit at approximately 16:00 hours in the afternoon.

Results from the screening visit (Visit 1) must be available at Visit 2 and assessed to be acceptable by the Investigator. These results must be verified by signing and dating the test results by the Investigator.

If the subject complies with all inclusion and exclusion criteria, the following will be assessed

and recorded in the CRF on Day -1 of Visits 2:

- Check of in- and exclusion criteria

- Check of withdrawal criteria

- Pregnancy test (in women of child-bearing potential)

- Body weight

- Vital signs

- Adverse events

- Concomitant medication

- Hypoglycemic episodes (from the current and previous day)

- Check if Glucose Sensor is running properly; if not, a new one will be placed.

A rescheduling of Visits 2 will be allowed once within 1-7 days in case the subject meets any

of the dosing day exclusion criteria. If a subject is not eligible at the rescheduled Visit 2, the

subject will be excluded from further participation in the trial. The reason for exclusion must

be recorded on the screening failure form.

Subjects that are eligible for dosing will continue the stay in-house at the clinic for

approximately 28 hours.

Subjects are randomized to either start (at visit 2) with the Investigational product Dapagliflozin and receive the placebo at visit 4 or the other way round.

Insulin pump is read out; all data from the pump will be used to set up a patient’s profile for dreamed system. These settings will be used for in house stay from the time point system is done (only at visit 2).

- The glucose sensor will be connected to DreaMed System (Sensor – Pump – Computer) and calibrated. Continuously measuring of plasma glucose is done by sensor.

- At 17.30 a dinner will be served, bolus will be given

- At 19:00 Subjects will receive either one single dose of Dapagliflozin or Placebo according to the randomization scheme.

- In order to keep the plasma glucose level within the target range (70–180 mg/dl) by control of closed loop system, system will be switched on and kept on running until the end of visit.

For safety measurements of glucose see table 3.

Table 3Treatment and sampling scheme during visit 2 and visit 4

| Day no. | Scheduled time | Intervention | Dapagliflozin/Placebo | GLP | capillary Glucose | BHB | Measurements |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 16:00 | Arrival at site |  |  |  |  | Eligibility, Vitals, pregnancy, weight |
|  | 17:30 | Dinner |  |  |  |  |  |
|  | 19:00 | CSII stop, DreamMed (close loop) on Trial Drug administration Start fasting | X (pre-Dose) |  |  |  | At 19:00 Void urine prior to collection”; 24h sampling starts |
|  | 19:30 |  | X |  |  |  |  |
|  | 20:00 |  | X |  |  |  |  |
|  | 21:00 |  | X |  |  |  |  |
|  | 23:00 |  | X |  |  |  |  |
| 2 | 1:00 |  | X |  |  |  |  |
|  | 3:00 |  | X |  |  |  |  |
|  | 5:00 |  | X |  |  |  |  |
|  | 7:00 | Mixed meal | X (pre) | x(pre) | x(pre) | x(pre) | Vitals, FPG, blood sample before meal |
|  | 7:30 |  |  | x | x | x |  |
|  | 8:00 |  |  | x | x | x |  |
|  | 8:30 |  |  | x | x | x |  |
|  | 9:00 |  | X | X | x | x |  |
|  | 11:00 |  | X | X |  |  |  |
|  | 13:00 | Mixed meal | X(pre) | X(pre) | (pre) | (pre) | Vitals and blood sampling before meal |
|  | 13:30 |  |  | X | x | x |  |
|  | 14:00 |  |  | X | x | x |  |
|  | 14:30 |  |  | X | x | x |  |
|  | 15:00 |  | X | X | x | x |  |
|  | 17:00 |  | X | X |  |  |  |
|  | 19:00 | CSII resume, DreamMed closed loop stop |  |  |  |  | Last time urine sample. 24 h sampling complete |

– Day 2

The following measurements in fasting conditions will be performed:

FPG

β-Hydroxybutyrate

Blood gas analysis

Retain 3 samples for incretin levels(prior to first liquid meal [7:00 AM]; 30 [7:30 AM] & 90 [8:30 AM] minutes thereafter). Details are shown in 12.1.

Vital parameters before each meal challenge

See table 3 for time points.

A standardized liquid mixed meal will be given 12 hours and 18 hours after Dapagliflozin intake.

Two standardized mixed-meals will be given 12 hours and 18 hours after dosing (Ensure Plus (Abbott Nutrition, Baar, Switzerland; 57% carbohydrate, 28% fat, and 15% protein). The amount of Ensure Plus will be calculated as 6ml/kg body weight without a maximal amount. The drink should be ingested within 10 minutes.

In addition the plasma glucose will be measured postprandial after mixed meal every 30 min for 2 hours. ß-Hydroxybutyrate will be measured, see table 3 and appendix for time points. (Freestyle Precision Neo®, Abbott) and urine for the determination of glucose excretion will be collected. A full blood gas analysis will be drawn if an elevated β-hydroxybutyrate of >1.0 mmol/L will be detected.

The following will be assessed and recorded in the CRF:

Check of dosing day exclusion criteria

Check of withdrawal criteria

Adverse events

Concomitant medication

Hypoglycaemic episodes

Vital signs will be assessed at termination of the meal test at 6 hours post trial product administration and recorded in the CRF.

Adverse events will be specifically asked about at termination of the meal test.

24 hours after dosing with dapagliflozin the subjects will resume their usual insulin treatment

and can leave the hospital until the next visit.

Thr DreaMed system will be disconnected.

The investigator must provide information to the subjects on how to resume their usual insulin treatment. Before leaving the trial site, the subject must be informed about the symptoms of hypoglycaemia and about appropriate methods to treat hypoglycemia.

Every effort will be made to reduce potential hypoglycemia risks by appropriate changes in the insulin dose (for example using temporary reduction of the basal rate), or increasing the frequency of self-monitoring of blood glucose. Patients will be advised to have proper countermeasures in place (glucose tablets and/or glucagon). The study participants will be reminded about the availability of the 24hour diabetes advice hotline on the ward of hour diabetes center in case that there are any questions or assistance is needed after the discharge.

Hereafter, the subject may be released from the trial site if the investigator does not have any safety concerns based on the subject’s plasma glucose concentration and the general condition of the subject. However, at the discretion of the investigator or per request by the subject, the subject may stay longer at the clinical site for convenience.

Between visit 2 and visit 4 a 5 to 30 days wash out period will take place.

    - Visit 3 and visit 5 (telephone visits)

Subjects were called 3 -5 days after visit 2/visit 4 (discharge on day 2) and asked for any adverse events, especially for hypoglycemic events that may have occurred. This data was recorded in the CRF.

    - Vist 6 – Follow up

The follow-up visit will take place 7–21 days after the end of Visit 4. The following was

assessed and recorded in the CRF:

- Pregnancy test (in women of child-bearing potential; not in children)

- Body weight

- Physical examination

- Vital signs

- Laboratory examination of blood/urine samples for safety assessment (hematology,

biochemistry, lipids and urinalysis)

- Adverse events

- Concomitant medication

- Hypoglycemic episodes

In addition, the end of trial form must be completed.

  - Randomisation procedure and breaking of blinded codes

    - Randomization

This is a randomized, double-blind, single-dose, two-period cross-over trial. Subjects will receive dapagliflozin and placebo in randomized sequence (1:1). The two treatment sequences are:

- Dapagliflozin followed by Placebo

- Placebo followed by Dapagliflozin

When a subject is randomised in the trial, he/she must always be assigned the lowest available randomisation number.

A replacement subject must be allocated to the same treatment sequence as the subject he/she replaces, using the corresponding replacement number.

    - Blinding

Breaking of blinded codes

Three sets of sealed codes containing treatment information will be prepared for each subject.

The sets will be kept by the trial site (throughout the entire trial period). The code for a particular subject may be broken in a medical emergency if knowing the identity of the treatment allocation would influence the treatment of the subject. Whenever a code is broken, the person breaking the code must sign and date the code envelope. The reason for breaking the code must be documented in the subject's medical record and transcribed to the CRF.

All hard copy codes (whether broken or not) must be kept throughout the trial period until accountability of the codes has been performed after end of trial. The codes will be collected

by the monitor at trial closure visit.

  - Investigational products

Dapagliflozin 10mg tablets and matching placebo

  - Non investigational Product

DreaMed Substance Administration Device Software, DreaMed ltd., Petah Tikvah, Isreal.

As the DreaMed Substance Administration Device Software is a CE-marked product with the purpose for clinical investigation, in this trial it will be used as as non-investigational product.

Other medications used as support or escape medication for preventative, diagnostic, or therapeutic reasons, as components of the standard of care for a given diagnosis, may be considered as non investigational products (NIMP).

The DreaMed System is mainly a software which was developed as a closed-loop system for automated blood glucose control in patients with Type 1 diabetes.

The DreaMed system supports the communication with the Paradigm Veo System (Medtronic Co.) The Paradigm Veo System includes an insulin pump, a CSG (S.C wired sensor, named SOF sensor or ENLITE sensor), Minilink transmitter, ComLink (wireless, low-powered, radio frequency (RF) communication suitable for European and US frequencies) and RS232 to USB converter cable (Figure 3).

Figure 3: Paradigm Veo insulin pump and sensor components.

The continuous glucose sensor continuously measures interstitial glucose levels and these values are sent by the Minilink via wireless, low-powered, radio frequency (RF) to the Paradigm Veo every 5 minutes for up to 6 days. Blood glucose (BG) (Contour Link – Bayer) meter is used to calibrate the readings measured by the CGS. The Minilink is used for multiple sensor wear periods. The Paradigm Veo displays and stores the glucose measurements sent by the Minilink. No modifications have been made to either the sensor or the insulin pump. The insulin pump communicates to the host computer via the Comlink (wireless, low-powered, radio frequency (RF) communication).

The DreaMed system uses a vendor-supplied and self-developed (communication module) communication API in order to retrieve glucose / insulin data from the Paradigm Veo and set insulin treatment according to the algorithm decision.

During the Closed-Loop intervention session:

The device will be personally installed by a qualified representative at the clinical site. Therefore each device will undergo a specific final inspection and set up procedure during which the functionality and the communication of the device with pump and sensor is ensured and controlled. The configuration with patient specific settings, as defined by the research physician, will be set up and validated.

## Efficacy and safety

Full analysis set (FAS): All randomized subjects who received at least one dose of study medication and gave their written informed consent.

Safety population (SAF): All patients who received at least one dose of study medication and gave their written informed consent.

Per protocol set (PP): All patients of the FAS who completed the study without any major protocol violations.

Pharmacokinetic analysis set (PAS): All available concentration-time data from subjects who received dapagliflozin.

## Data entry

Paper CRFs were used to document the data. Afterwards the data was transferred to a MS Office Excel 2010 file by Alcedis GmbH.

## Statistical analysis

The statistical methods described in this section are suited for data and distributions usually expected in this type of trial. The suitability was checked prior to start of the statistical analysis.

To investigate the effect of dapagliflozin on the stability of the DreaMed system the primary efficacy variable ‘relative time of glucose measurements in range 70-180 mg/dl’ was tested via a non-inferiority setting (non-inferiority margin of 10%). The primary efficacy variable was determined per patient per phase as percentage so the differences between the phases dapagliflozin versus placebo were tested with a one-sided paired t-test.

The hypotheses for this non-inferiority setting were:

H0: The mean difference in relative time in glucose range from placebo phase to dapagliflozin phase is at most 10 %.

H1: The mean difference in relative time in glucose range from placebo phase to dapagliflozin phase is greater than 10 %.

For categorical variables summary tabulations of the number and percentage within each category (with a category for missing data) of the parameter are presented. For continuous variables mean, median, standard deviation, minimum, maximum and missing values are given.

The following variables were evaluated for the safety set according to treatment for safety purposes:

- Adverse events: Adverse events are presented in frequency tables. Adverse events are grouped by system organ class according to MedDRA dictionary and stratified by severity (mild, moderate, severe) and by relation to study treatment (unrelated or related according to the categories definite, probable and possible).

- Clinical laboratory parameters: Laboratory values are flagged if outside the normal range. Laboratory assessments are summarised at screening and at follow-up visit. In addition the change from screening is summarised.

- Vital signs: Vital signs are summarised by descriptive statistics. During the dosing visits the change from predose is summarised and presented together with 95% confidence interval for the mean difference.

- The number of patients who discontinued the study prematurely is tabulated by reason for discontinuation.

## Changes in the planned methods of analysis

None.

# Data setup and data processing / presentation

## Database

Listing of analyzed data:

| File name | Content |
| --- | --- |
| DAPA_Dream.xlsx | Excel sheets: Signature, patient, anamnesis, mh, pe, urin, vital_med, random, visit_ec, dose, insulin, phonecall, visit_six, eos, ae, hypoglycemia, medication, hba1c, entblindung |

## Data processing

The SAS program import.sas was used to read in and convert the Excel sheets to SAS datasets. Output datasets were created with the same names as the Excel sheets:

- signature, patient, anamnesis, mh, pe, urin, vital_med, random, visit_ec, dose, insulin, phonecall, visit_six, eos, ae, hypoglycemia, medication, hba1c, entblindung

## Data correction

Patient with randomization no. 216 was the replacer for patient no. 116. The replacer was not included in the randomization list and was added to the list manually with the randomized sequence of patient no. 116.

## Data processing comments

Duration: end date minus start date

BMI: body weight/(height)2 at screening visit

Age at diagnosis of diabetes: difference between year of screening visit and manifestation year

Insulin dose used in 24 h: the difference between the amount of insulin reservoir at start (first study drug administration) and end time point (24 h postdose).

Relative time of glucose measurements in range 70-180 mg/dl: the number of glucose readings greater than or equal to 70 and smaller than or equal to 180 mg/dl divided by the number of total readings in percent.

Average daily dose of insulin per kg body weight: Daily dose of insulin [IU] divided by body weight [kg] at screening visit.

Blood sample collected within the time window of +/- 5 minutes: planned time point minus real time point of sampling [absolute value]

## Missing values

Missing values were not replaced or imputed.

## SAS output files

Output file DAPA_Dream_2018-12-17.rtf was used for creating the Final Statistical Report.

# Patients

A total number of 34 patients were screened, however 3 patients violated an inclusion or exclusion criterion and were not randomized. The remaining 31 patients were randomized and treated with the study medication. One patient terminated the study prematurely due to investigator’s decision and was replaced by another patient. Therefore FAS and SAF comprise of 31 and PP set of 30 randomized patients (Table 1, Listing 1).

Patients randomized to “Sequence 1” received dapagliflozin 10 mg at the beginning and placebo after the wash-out period. Patients in “Sequence 2” started with placebo and received dapagliflozin after the wash-out period.

# Efficacy evaluation

## Data sets analysed

| Number of patients: | 34 |
| --- | --- |
| FAS | 31 |
| SAF | 31 |
| PP | 30 |
| Registration of first patient: | 22.02.2017 |
| Last visit of last patient: | 19.12.2017 |
| Number of participating clinics: | 1 |

The following aspects were documented:

- Patient characteristics (e.g. age, height, BMI, pubertal status)

- Therapy data (e.g. vital signs, insulin data)

- Concomitant medication

- Follow-up

- End of study

- Hypoglycemia

- (Serious) Adverse events

## Tables and figures

A total of 34 patients were screened and 31 of them were randomized (Table 1), 15 to Sequence 1 and 16 to Sequence 2. One patient randomized to Sequence 2 prematurely discontinued the study due to violation of time window due to AE after the first dosing visit.

Table 4: Conduct of study

| Conduct of study | N | % |
| --- | --- | --- |
| Number of screened patients | 34 | 100.00 |
| Number of randomized patients | 31 | 91.18 |
| Number of patients, who completed the study | 30 | 88.24 |
| Number of patients with prematurely discontinuation of study | 1 | 2.94 |
| Number of screened patients | 34 | 100.00 |

Primary endpoint

It could be seen that the relative time of glucose sensor readings in range of 70-180 mg/dl was higher when patients received dapagliflozin instead of placebo (Table 2). 32% of the glucose levels were in normal range of 70-180 mg/dl during dapagliflozin treatment in sequence 1 and 2, respectively, but only 19.3 % in sequence 1 and 21.3 % in sequence 2 during placebo treatment (Table 5). The estimated mean change of glucose sensor readings in range of 70-180 mg/dl amounted to 61.8 % (54.8 % in sequence 1 and 65 % in sequence 2, Table 4).

The one-sided paired t-test showed that dapagliflozin as an add-on to night and day closed-loop control using the DreaMed Algorithm led to significant benefits in glycemic control and increased the time within glucose range 70-180 mg/dl (3.9-10 mmol/l) for the ensuing 24 hours with two oral mixed-meals (Table 3). On the profiles plot a line is drawn for each patient from left to right connecting the relative time of glucose sensor readings in range during treatment with dapagliflozin and placebo, regardless of the periods in which they occurred (Figure 2). On the agreement plot the relative time of glucose sensor readings in range receiving dapagliflozin treatment is plotted against the relative time of glucose sensor readings in range receiving placebo treatment for each patient, respectively (Figure 3). The plot reveals that only two patients had higher relative time of glucose sensor readings in range of 70-180 mg/dl under treatment with placebo than with dapagliflozin.

The 24 h urine collection ranged between nearly 1 l and 4.9 l at the first dosing visit and between 1 l and 4.5 l at the second dosing visit and it could be seen that the amount of collected urine was higher when patients received dapagliflozin than placebo (Table 2). The estimated mean change of the amount of collected urine amounted to 27.2 % (42.9 % in sequence 1 and 25 % in sequence 2, Table 8).

The one-sided paired t-test showed that dapagliflozin increased the volume of 24 h urine collection significantly (Table 7). The profile plot and the agreement plot show that the amount of collected urine in the 24 h period was only higher in six patients under placebo treatment than under dapagliflozin (Figure 4, Figure 5).

The urinary glucose concentration ranged between 555 mg/dl and 5830 mg/dl at the first dosing visit and between 1266 mg/dl and 6220 mg/dl at the second dosing visit. The concentration of glucose was higher when patients received dapagliflozin than placebo (Table 9). The estimated mean change of the urinary glucose concentration amounted to 156.1 % (135.5 % in sequence 1 and 182.7 % in sequence 2, Table 11).

The one-sided paired t-test showed that patients had significantly higher urinary glucose concentration when treated with dapagliflozin than with placebo (Table 10). No patient showed higher urinary glucose concentration associated with the placebo treatment than with dapagliflozin, as seen on the plots (Figure 6, Figure 7).The location of the points on the agreement plot with respect to the diagonal line reveals the strength and direction of the difference. The tighter the clustering is along the same direction as the line, the stronger the positive correlation of the two measurements for each subject (Figure 7).

The urinary glucose content ranged between 19,325 mg/24h and 238,422 mg/24h at the first dosing visit and between 15,000 mg/24h and 215,212 mg/24h at the second dosing visit. The urinary glucose content was higher when patients received dapagliflozin instead of placebo (Table 12). The estimated mean change of the urinary glucose content was 212.2 % (191.3 % in sequence 1 and 244.6 % in sequence 2, Table 14).

The one-sided paired t-test showed that the urinary glucose content was significantly higher when patients received dapagliflozin instead of placebo (Table 13). The profiles plot and the agreement plot reveal that only one patient had negligible higher urinary glucose content when treated with placebo than with dapagliflozin (Figure 8, Figure 9). The agreement plot shows a positive correlation of the measurements for the subjects (Figure 9).

Table 5: Relative time of glucose sensor readings in range of 70-180 mg/dl

| Relative time |  | N | Mean | Std | Median | Min | Max | NMiss |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sequence 1 | 1st visit | 15 | 37.38 | 8.61 | 36.36 | 27.27 | 53.85 | 0 |
|  | 2nd visit | 15 | 22.23 | 7.39 | 23.08 | 10.00 | 38.46 | 0 |
|  | Total | 30 | 29.80 | 11.02 | 27.92 | 10.00 | 53.85 | 0 |
| Sequence 2 | 1st visit | 15 | 26.50 | 13.45 | 25.00 | 7.69 | 57.14 | 0 |
|  | 2nd visit | 15 | 40.19 | 8.67 | 38.46 | 27.27 | 58.33 | 0 |
|  | Total | 30 | 33.35 | 13.12 | 33.33 | 7.69 | 58.33 | 0 |

Table 6: Relative time of glucose sensor readings in range of 70-180 mg/dl- One-sided paired t-test- Dapaliflozin vs placebo

| Dapagliflozin vs placebo | N | Mean | SD | CI 95% for the mean | p-value |
| --- | --- | --- | --- | --- | --- |
| dapagliflozin - placebo | 30 | 14.42 | 12.79 | 10.45 - ( I ) | <.0001 |

Figure 4: Relative time of glucose sensor readings in range (per patient): Dapagliflozin vs placebo

Figure 5: Relative time of glucose sensor readings in range (per patient): Dapagliflozin vs placebo agreement plot for paired design

Table 7: Relative time of glucose sensor readings in range of 70-180 mg/dl- Point estimates for difference between dapagliflozin and placebo (Hodges-Lehmann Estimation of shift)

| Sequence | Estimate for difference | CI 95% | Estimate for mean change [%] | CI 95% |
| --- | --- | --- | --- | --- |
| Sequence 1 | 10.61000 | 6.06- ( 23.08) | 54.76 | 21.21- ( 150) |
| Sequence 2 | 14.39000 | 8.33- ( 21.79) | 65.00 | 33.33- ( 132.14) |
| Total | 13.08000 | 8.33- ( 21.67) | 61.82 | 33.33- ( 130.77) |

Table 8: Glucose sensor readings- Ranges (event based)

| Glucose sensor readings- Ranges | Sequence 1 |  |  |  | Sequence 2 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1st visit |  | 2nd visit |  | 1st visit |  | 2nd visit |  |
|  | N | % | N | % | N | % | N | % |
| <70mg/dL | . | . | 1 | 0.67 | . | . | . | . |
| 70-180mg/dL | 48 | 32.00 | 29 | 19.33 | 32 | 21.33 | 48 | 32.00 |
| >180mg/dL | 102 | 68.00 | 120 | 80.00 | 117 | 78.00 | 102 | 68.00 |
| Missing | . | . | . | . | 1 | 0.67 | . | . |
| Total | 150 | 100.00 | 150 | 100.00 | 150 | 100.00 | 150 | 100.00 |

Table 9: Amount of 24-h urine collection [ml]

| Amount of 24-h urine collection |  | N | Mean | Std | Median | Min | Max | NMiss |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sequence 1 | 1st visit | 15 | 3056.67 | 998.36 | 3120.00 | 980.00 | 4740.00 | 0 |
|  | 2nd visit | 15 | 2156.67 | 539.94 | 2300.00 | 1000.00 | 2870.00 | 0 |
|  | Total | 30 | 2606.67 | 911.81 | 2485.00 | 980.00 | 4740.00 | 0 |
| Sequence 2 | 1st visit | 16 | 2621.25 | 1196.62 | 2230.00 | 1280.00 | 4870.00 | 0 |
|  | 2nd visit | 15 | 2949.33 | 974.93 | 2800.00 | 1200.00 | 4540.00 | 0 |
|  | Total | 31 | 2780.00 | 1089.63 | 2500.00 | 1200.00 | 4870.00 | 0 |

Table 10: Amount of 24 h urine collection- One-sided paired t-test- Dapaliflozin vs placebo

| Dapagliflozin vs placebo | N | Mean | SD | CI 95% for the mean | p-value |
| --- | --- | --- | --- | --- | --- |
| dapagliflozin - placebo | 30 | 658.3 | 783.0 | 415.44 - ( I ) | <.0001 |

Figure 6: Amount of 24 h urine collection (per patient): Dapagliflozin vs placebo profiles plot for paired design

Figure 7: Amount of 24 h urine collection (per patient): Dapagliflozin vs placebo agreement plot for paired design

Table 11: Amount of 24 h urine collection- Point estimates for difference between dapagliflozin and placebo (Hodges-Lehmann Estimation of shift)

| Sequence | Estimate for difference | CI 95% | Estimate for mean change [%] | CI 95% |
| --- | --- | --- | --- | --- |
| Sequence 1 | 780 | 300- ( 1500) | 42.86 | 11.5- ( 65.73) |
| Sequence 2 | 440 | -190- ( 960) | 25.00 | -6.78- ( 43.2) |
| Total | 610 | 300- ( 1080) | 27.21 | 11.5- ( 52.17) |

Table 12: Urinary glucose concentration [mg/dl]

| Urinary glucose concentration |  | N | Mean | Std | Median | Min | Max | NMiss |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sequence 1 | 1st visit | 15 | 4490.20 | 886.15 | 4620.00 | 2880.00 | 5830.00 | 0 |
|  | 2nd visit | 15 | 2216.60 | 771.44 | 2080.00 | 1266.00 | 3618.00 | 0 |
|  | Total | 30 | 3353.40 | 1415.37 | 3275.00 | 1266.00 | 5830.00 | 0 |
| Sequence 2 | 1st visit | 15 | 1907.53 | 1032.80 | 1670.00 | 555.00 | 4079.00 | 0 |
|  | 2nd visit | 15 | 4845.73 | 1182.12 | 5400.00 | 2940.00 | 6220.00 | 0 |
|  | Total | 30 | 3376.63 | 1849.93 | 3050.00 | 555.00 | 6220.00 | 0 |

Table 13: Urinary glucose concentration [mg/dl]- One-sided paired t-test- Dapaliflozin vs placebo

| Dapagliflozin vs placebo | N | Mean | SD | CI 95% for the mean | p-value |
| --- | --- | --- | --- | --- | --- |
| dapagliflozin - placebo | 30 | 2605.9 | 922.6 | 2319.7 - ( I ) | <.0001 |

Figure 8: Urinary glucose concentration [mg/dl]: Dapagliflozin vs placebo profiles plot for paired design

Figure 9: Urinary glucose concentration [mg/dl]: Dapagliflozin vs placebo agreement plot for paired design

Table 14: Urinary glucose concentration [mg/dl]- Point estimates for difference between dapagliflozin and placebo (Hodges-Lehmann Estimation of shift)

| Sequence | Estimate for difference | CI 95% | Estimate for mean change [%] | CI 95% |
| --- | --- | --- | --- | --- |
| Sequence 1 | 2507 | 1275- ( 2920) | 135.53 | 55.73- ( 187.52) |
| Sequence 2 | 3350 | 2227- ( 3511) | 182.67 | 121.14- ( 288.1) |
| Total | 2693 | 2250- ( 3090) | 156.07 | 116.72- ( 190.99) |

Table 15: Urinary glucose content [mg/24h]

| Urinary glucose content |  | N | Mean | Std | Median | Min | Max | NMiss |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sequence 1 | 1st visit | 15 | 135503.40 | 49627.04 | 127400.00 | 47951.00 | 238422.00 | 0 |
|  | 2nd visit | 15 | 47580.33 | 19491.00 | 45360.00 | 15000.00 | 92378.00 | 0 |
|  | Total | 30 | 91541.87 | 58065.62 | 74194.00 | 15000.00 | 238422.00 | 0 |
| Sequence 2 | 1st visit | 15 | 41495.53 | 18330.64 | 37540.00 | 19325.00 | 75150.00 | 0 |
|  | 2nd visit | 15 | 134997.47 | 36104.84 | 129452.00 | 74304.00 | 215212.00 | 0 |
|  | Total | 30 | 88246.50 | 55249.77 | 74727.00 | 19325.00 | 215212.00 | 0 |

Table 16: Urinary glucose content [mg/24h]- One-sided paired t-test- Dapaliflozin vs placebo

| Dapagliflozin vs placebo | N | Mean | SD | CI 95% for the mean | p-value |
| --- | --- | --- | --- | --- | --- |
| dapagliflozin - placebo | 30 | 90712.5 | 36353.0 | 79435.2 - ( I ) | <.0001 |

Figure 10: Urinary glucose content [mg/24h]: Dapagliflozin vs placebo profiles plot for paired design

Figure 11: Urinary glucose content [mg/24h]: Dapagliflozin vs placebo agreement plot for paired design

Table 17: Urinary glucose content [mg/24h]- Point estimates for difference between dapagliflozin and placebo (Hodges-Lehmann Estimation of shift)

| Sequence | Estimate for difference | CI 95% | Estimate for mean change [%] | CI 95% |
| --- | --- | --- | --- | --- |
| Sequence 1 | 90893 | 58320- ( 116180) | 191.31 | 128.57- ( 337.53) |
| Sequence 2 | 88075 | 75845- ( 113711) | 244.59 | 143.6- ( 409.66) |
| Total | 90547 | 81339- ( 98282) | 212.20 | 158.09- ( 277.49) |

Secondary endpoints

Glucose sensor readings in range of 70-180 mg/dl showed lower blood glucose levels during dapagliflozin treatment than during treatment with placebo, regardless of the sequence (mean of 124.6 mg/dl and 126.1 mg/dl during dapagliflozin treatment versus 137.3 mg/dl and 134.6 mg/dl during treatment with placebo for sequence 1 and 2, respectively; Table 15). The estimated mean change amounted to -14.1 % (-15.1 % in sequence 1 and -14.1 % in sequence 2, Table 19).

An ANOVA with the factors “treatment”, “sequence”, “period” (i.e. dosing visit) and “subject within sequence” showed that the glucose sensor readings mainly depended on “treatment” (Table 16 – Table 18).

Table 18: Glucose sensor readings (event based)

| Glucose sensor readings |  |  | N | Mean | Std | Median | Min | Max | NMiss |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sequence 1 | 1st visit | 70-180mg/dL | 48 | 124.56 | 30.29 | 126.50 | 71.00 | 177.00 | 0 |
|  |  | >180mg/dL | 102 | 269.90 | 47.12 | 267.00 | 181.00 | 389.00 | 0 |
|  |  | Total | 150 | 223.39 | 80.14 | 238.00 | 71.00 | 389.00 | 0 |
|  | 2nd visit | <70mg/dL | 1 | 55.00 | . | 55.00 | 55.00 | 55.00 | 0 |
|  |  | 70-180mg/dL | 29 | 137.31 | 33.06 | 145.00 | 71.00 | 179.00 | 0 |
|  |  | >180mg/dL | 120 | 301.36 | 67.86 | 309.50 | 181.00 | 440.00 | 0 |
|  |  | Total | 150 | 268.00 | 91.70 | 278.00 | 55.00 | 440.00 | 0 |
| Sequence 2 | 1st visit | 70-180mg/dL | 32 | 134.56 | 32.51 | 138.50 | 81.00 | 180.00 | 0 |
|  |  | >180mg/dL | 117 | 300.74 | 65.76 | 297.00 | 181.00 | 462.00 | 0 |
|  |  | Total | 149 | 265.05 | 91.10 | 268.00 | 81.00 | 462.00 | 0 |
|  | 2nd visit | 70-180mg/dL | 48 | 126.06 | 31.46 | 120.50 | 75.00 | 180.00 | 0 |
|  |  | >180mg/dL | 102 | 283.27 | 52.10 | 284.50 | 194.00 | 452.00 | 0 |
|  |  | Total | 150 | 232.97 | 86.98 | 247.50 | 75.00 | 452.00 | 0 |

Table 19: Glucose sensor readings- ANOVA- Type III SS

| Factor | Type III SS | Mean Square | p-Value |
| --- | --- | --- | --- |
| Treatment | 220178 | 220178 | <.0001 |
| Sequence | 1643.459939 | 1643.459939 | 0.6660 |
| Period | 5868.513483 | 5868.513483 | 0.3807 |
| Subject within sequence | 241802 | 8635.795589 | 0.2929 |

Table 20: Glucose sensor readings- ANOVA- LS-Means for fixed factors

| Factor | Value | LS mean | Stand. error | CI 95% | Differences (p-value) [H0: LSMean(I)= LSMean(II)] |
| --- | --- | --- | --- | --- | --- |
| Treatment | Dapagliflozin (I) | 228.18 | 5.04 | 218.28- 238.08 | <.0001 |
|  | Placebo (II) | 266.53 | 5.05 | 256.61- 276.45 | _ |
| Sequence | Dapagliflozin followed by placebo (I) | 245.70 | 5.04 | 235.79- 255.6 | 0.6426 |
|  | Placebo followed by dapagliflozin (II) | 249.01 | 5.05 | 239.09- 258.93 | _ |
| Period | First dosing visit (I) | 244.22 | 5.05 | 234.3- 254.14 | 0.3807 |
|  | Second dosing visit (II) | 250.48 | 5.04 | 240.58- 260.39 | _ |

Table 21: Glucose sensor readings- ANOVA- LS-Means for random factors (Total)

| Value | LS mean | Standard error | CI 95% | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Patient-No. 10 ( 1 ) | 242.10 | 19.53 | 203.75- 280.45 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 |
| Patient-No. 11 ( 2 ) | 270.55 | 19.53 | 232.2- 308.9 | . | 1.0000 | 0.9935 | 1.0000 | 1.0000 | 0.9998 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 |
| Patient-No. 12 ( 3 ) | 251.05 | 19.53 | 212.7- 289.4 | . | . | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 |
| Patient-No. 17 ( 4 ) | 219.95 | 19.53 | 181.6- 258.3 | . | . | . | 1.0000 | 0.9998 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9990 |
| Patient-No. 18 ( 5 ) | 235.55 | 19.53 | 197.2- 273.9 | . | . | . | . | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 |
| Patient-No. 19 ( 6 ) | 260.60 | 19.53 | 222.25- 298.95 | . | . | . | . | . | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 |
| Patient-No. 22 ( 7 ) | 229.80 | 19.53 | 191.45- 268.15 | . | . | . | . | . | . | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 |
| Patient-No. 25 ( 8 ) | 242.10 | 19.53 | 203.75- 280.45 | . | . | . | . | . | . | . | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 |
| Patient-No. 26 ( 9 ) | 234.10 | 19.53 | 195.75- 272.45 | . | . | . | . | . | . | . | . | 1.0000 | 1.0000 | 1.0000 | 1.0000 |
| Patient-No. 28 ( 10 ) | 235.30 | 19.53 | 196.95- 273.65 | . | . | . | . | . | . | . | . | . | 1.0000 | 1.0000 | 1.0000 |
| Patient-No. 3 ( 11 ) | 248.35 | 19.53 | 210- 286.7 | . | . | . | . | . | . | . | . | . | . | 1.0000 | 1.0000 |
| Patient-No. 31 ( 12 ) | 246.60 | 19.53 | 208.25- 284.95 | . | . | . | . | . | . | . | . | . | . | . | 1.0000 |
| Patient-No. 32 ( 13 ) | 264.85 | 19.53 | 226.5- 303.2 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 5 ( 14 ) | 248.95 | 19.53 | 210.6- 287.3 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 9 ( 15 ) | 255.60 | 19.53 | 217.25- 293.95 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 1 ( 16 ) | 249.84 | 20.04 | 210.49- 289.2 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 14 ( 17 ) | 277.60 | 19.53 | 239.25- 315.95 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 16 ( 18 ) | 251.70 | 19.53 | 213.35- 290.05 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 21 ( 19 ) | 289.70 | 19.53 | 251.35- 328.05 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 23 ( 20 ) | 244.95 | 19.53 | 206.6- 283.3 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 24 ( 21 ) | 218.85 | 19.53 | 180.5- 257.2 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 27 ( 22 ) | 216.90 | 19.53 | 178.55- 255.25 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 29 ( 23 ) | 271.60 | 19.53 | 233.25- 309.95 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 30 ( 24 ) | 221.95 | 19.53 | 183.6- 260.3 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 33 ( 25 ) | 218.00 | 19.53 | 179.65- 256.35 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 34 ( 26 ) | 253.90 | 19.53 | 215.55- 292.25 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 4 ( 27 ) | 226.80 | 19.53 | 188.45- 265.15 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 6 ( 28 ) | 296.70 | 19.53 | 258.35- 335.05 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 7 ( 29 ) | 251.20 | 19.53 | 212.85- 289.55 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 8 ( 30 ) | 245.45 | 19.53 | 207.1- 283.8 | . | . | . | . | . | . | . | . | . | . | . | . |

| 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9975 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9809 | 1.0000 | 1.0000 |
| 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9910 | 0.9849 | 1.0000 | 0.9965 | 0.9887 | 1.0000 | 0.9994 | 1.0000 | 1.0000 | 1.0000 |
| 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9999 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9987 | 1.0000 | 1.0000 |
| 1.0000 | 1.0000 | 1.0000 | 0.9623 | 1.0000 | 0.7613 | 1.0000 | 1.0000 | 1.0000 | 0.9912 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.5637 | 1.0000 | 1.0000 |
| 1.0000 | 1.0000 | 1.0000 | 0.9997 | 1.0000 | 0.9829 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9268 | 1.0000 | 1.0000 |
| 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9997 | 0.9994 | 1.0000 | 0.9999 | 0.9996 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 |
| 1.0000 | 1.0000 | 1.0000 | 0.9973 | 1.0000 | 0.9414 | 1.0000 | 1.0000 | 1.0000 | 0.9997 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.8284 | 1.0000 | 1.0000 |
| 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9975 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9809 | 1.0000 | 1.0000 |
| 1.0000 | 1.0000 | 1.0000 | 0.9995 | 1.0000 | 0.9759 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9068 | 1.0000 | 1.0000 |
| 1.0000 | 1.0000 | 1.0000 | 0.9997 | 1.0000 | 0.9818 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9236 | 1.0000 | 1.0000 |
| 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9998 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9967 | 1.0000 | 1.0000 |
| 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9995 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9944 | 1.0000 | 1.0000 |
| 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9986 | 0.9971 | 1.0000 | 0.9996 | 0.9980 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 |
| . | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9998 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9973 | 1.0000 | 1.0000 |
| . | . | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9999 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9998 | 1.0000 | 1.0000 |
| . | . | . | 1.0000 | 1.0000 | 0.9999 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9984 | 1.0000 | 1.0000 |
| . | . | . | . | 1.0000 | 1.0000 | 1.0000 | 0.9529 | 0.9323 | 1.0000 | 0.9756 | 0.9446 | 1.0000 | 0.9931 | 1.0000 | 1.0000 | 1.0000 |
| . | . | . | . | . | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9990 | 1.0000 | 1.0000 |
| . | . | . | . | . | . | 0.9991 | 0.7327 | 0.6792 | 1.0000 | 0.8095 | 0.7098 | 1.0000 | 0.9023 | 1.0000 | 0.9999 | 0.9993 |
| . | . | . | . | . | . | . | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9909 | 1.0000 | 1.0000 |
| . | . | . | . | . | . | . | . | 1.0000 | 0.9881 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.5310 | 1.0000 | 1.0000 |
| . | . | . | . | . | . | . | . | . | 0.9805 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.4736 | 1.0000 | 1.0000 |
| . | . | . | . | . | . | . | . | . | . | 0.9951 | 0.9851 | 1.0000 | 0.9991 | 1.0000 | 1.0000 | 1.0000 |
| . | . | . | . | . | . | . | . | . | . | . | 1.0000 | 1.0000 | 1.0000 | 0.6229 | 1.0000 | 1.0000 |
| . | . | . | . | . | . | . | . | . | . | . | . | 1.0000 | 1.0000 | 0.5058 | 1.0000 | 1.0000 |
| . | . | . | . | . | . | . | . | . | . | . | . | . | 1.0000 | 0.9996 | 1.0000 | 1.0000 |
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.7575 | 1.0000 | 1.0000 |
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.9988 | 0.9921 |
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 1.0000 |
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . |

Table 22: Glucose sensor readings- Point estimates for the difference and mean change between dapagliflzin and placebo

| Sequence | Estimate for difference | CI 95% | Estimate for mean change [%] | CI 95% |
| --- | --- | --- | --- | --- |
| Sequence 1 | -40.5 | -67.3- ( -24.8) | -15.08 | -22.12- ( -9.58) |
| Sequence 2 | -33.0 | -53.4- ( -8.2) | -14.07 | -16.63- ( -3.21) |
| Total | -37.5 | -48.4- ( -22.4) | -14.11 | -17.21- ( -7.94) |

Furthermore it could be seen that the insulin dose used in 24 hours calculated per kg bodyweight was much lower when patients received dapagliflozin instead of placebo (Table 20). The estimated mean change amounted to -21.0 % (-17.7 % in sequence 1 and -21.8 % in sequence 2, Table 24). An ANOVA with the factors “treatment”, “sequence”, “period” (i.e. dosing visit) and “subject within sequence” showed that the used insulin dose significantly depended on “treatment” and “sequence” (Table 21 – Table 23).

Table 23: Insulin dose used in 24 h [U/kg/24h]

| Insulin dose used in 24 h [U/kg/24h] |  | N | Mean | Std | Median | Min | Max | NMiss |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sequence 1 | 1st visit | 15 | 0.47 | 0.10 | 0.46 | 0.34 | 0.68 | 0 |
|  | 2nd visit | 15 | 0.64 | 0.12 | 0.62 | 0.42 | 0.87 | 0 |
|  | Total | 30 | 0.56 | 0.14 | 0.54 | 0.34 | 0.87 | 0 |
| Sequence 2 | 1st visit | 15 | 0.50 | 0.08 | 0.49 | 0.37 | 0.62 | 0 |
|  | 2nd visit | 15 | 0.38 | 0.08 | 0.37 | 0.15 | 0.49 | 0 |
|  | Total | 30 | 0.44 | 0.10 | 0.43 | 0.15 | 0.62 | 0 |

Table 24: Insulin dose used in 24 h [U/kg/24h]- ANOVA- Type III S

| Factor | Type III SS | Mean Square | p-Value |
| --- | --- | --- | --- |
| Treatment | 0.323778 | 0.323778 | <.0001 |
| Sequence | 0.200166 | 0.200166 | 0.0002 |
| Period | 0.007476 | 0.007476 | 0.3492 |
| Subject within sequence | 0.300355 | 0.010727 | 0.2454 |

Table 25: Insulin dose used in 24 h [U/kg/24h]- ANOVA- LS-Means for fixed factors

| Factor | Value | LS mean | Stand. error | CI 95% | Differences (p-value) [H0: LSMean(I)= LSMean(II)] |
| --- | --- | --- | --- | --- | --- |
| Treatment | Dapagliflozin (I) | 0.43 | 0.02 | 0.39- 0.46 | <.0001 |
|  | Placebo (II) | 0.57 | 0.02 | 0.54- 0.61 | _ |
| Sequence | Dapagliflozin followed by placebo (I) | 0.56 | 0.02 | 0.52- 0.59 | <.0001 |
|  | Placebo followed by dapagliflozin (II) | 0.44 | 0.02 | 0.41- 0.48 | _ |
| Period | First dosing visit (I) | 0.49 | 0.02 | 0.45- 0.52 | 0.3492 |
|  | Second dosing visit (II) | 0.51 | 0.02 | 0.48- 0.54 | _ |

Table 26: Insulin dose used in 24 h [U/kg/24h]- ANOVA- LS-Means for random factors (Total)

| Value | LS mean | Standard error | CI 95% | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Patient-No. 10 ( 1 ) | 0.57 | 0.06 | 0.44- 0.7 | 1.0000 | 1.0000 | 0.9854 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9828 | 1.0000 | 1.0000 | 1.0000 | 1.0000 |
| Patient-No. 11 ( 2 ) | 0.56 | 0.06 | 0.43- 0.69 | . | 1.0000 | 0.9937 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9659 | 1.0000 | 1.0000 | 1.0000 | 1.0000 |
| Patient-No. 12 ( 3 ) | 0.50 | 0.06 | 0.37- 0.64 | . | . | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.6984 | 1.0000 | 1.0000 | 0.9989 | 1.0000 |
| Patient-No. 17 ( 4 ) | 0.41 | 0.06 | 0.28- 0.54 | . | . | . | 1.0000 | 0.9965 | 1.0000 | 0.9999 | 0.1467 | 1.0000 | 0.9156 | 0.7249 | 1.0000 |
| Patient-No. 18 ( 5 ) | 0.49 | 0.06 | 0.36- 0.63 | . | . | . | . | 1.0000 | 1.0000 | 1.0000 | 0.6285 | 1.0000 | 1.0000 | 0.9968 | 1.0000 |
| Patient-No. 19 ( 6 ) | 0.56 | 0.06 | 0.42- 0.69 | . | . | . | . | . | 1.0000 | 1.0000 | 0.9511 | 1.0000 | 1.0000 | 1.0000 | 1.0000 |
| Patient-No. 22 ( 7 ) | 0.52 | 0.06 | 0.39- 0.65 | . | . | . | . | . | . | 1.0000 | 0.7811 | 1.0000 | 1.0000 | 0.9998 | 1.0000 |
| Patient-No. 25 ( 8 ) | 0.53 | 0.06 | 0.39- 0.66 | . | . | . | . | . | . | . | 0.8278 | 1.0000 | 1.0000 | 0.9999 | 1.0000 |
| Patient-No. 26 ( 9 ) | 0.74 | 0.06 | 0.61- 0.87 | . | . | . | . | . | . | . | . | 0.7560 | 0.9989 | 1.0000 | 0.5742 |
| Patient-No. 28 ( 10 ) | 0.51 | 0.06 | 0.38- 0.64 | . | . | . | . | . | . | . | . | . | 1.0000 | 0.9996 | 1.0000 |
| Patient-No. 3 ( 11 ) | 0.60 | 0.06 | 0.47- 0.74 | . | . | . | . | . | . | . | . | . | . | 1.0000 | 0.9999 |
| Patient-No. 31 ( 12 ) | 0.64 | 0.06 | 0.51- 0.77 | . | . | . | . | . | . | . | . | . | . | . | 0.9938 |
| Patient-No. 32 ( 13 ) | 0.49 | 0.06 | 0.36- 0.62 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 5 ( 14 ) | 0.73 | 0.06 | 0.6- 0.86 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 9 ( 15 ) | 0.50 | 0.06 | 0.37- 0.63 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 1 ( 16 ) | 0.43 | 0.06 | 0.3- 0.56 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 14 ( 17 ) | 0.42 | 0.06 | 0.28- 0.55 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 16 ( 18 ) | 0.37 | 0.06 | 0.24- 0.51 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 21 ( 19 ) | 0.44 | 0.06 | 0.31- 0.57 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 23 ( 20 ) | 0.41 | 0.06 | 0.28- 0.54 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 24 ( 21 ) | 0.52 | 0.06 | 0.38- 0.65 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 27 ( 22 ) | 0.49 | 0.06 | 0.36- 0.62 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 29 ( 23 ) | 0.48 | 0.06 | 0.35- 0.61 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 30 ( 24 ) | 0.42 | 0.06 | 0.28- 0.55 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 33 ( 25 ) | 0.48 | 0.06 | 0.35- 0.62 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 34 ( 26 ) | 0.53 | 0.06 | 0.4- 0.66 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 4 ( 27 ) | 0.38 | 0.06 | 0.25- 0.52 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 6 ( 28 ) | 0.36 | 0.06 | 0.23- 0.49 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 7 ( 29 ) | 0.48 | 0.06 | 0.34- 0.61 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 8 ( 30 ) | 0.42 | 0.06 | 0.29- 0.55 | . | . | . | . | . | . | . | . | . | . | . | . |

| 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0.9934 | 1.0000 | 0.9969 | 0.9913 | 0.9047 | 0.9991 | 0.9879 | 1.0000 | 1.0000 | 1.0000 | 0.9915 | 1.0000 | 1.0000 | 0.9383 | 0.8364 | 1.0000 | 0.9924 |
| 0.9847 | 1.0000 | 0.9990 | 0.9966 | 0.9418 | 0.9998 | 0.9950 | 1.0000 | 1.0000 | 1.0000 | 0.9967 | 1.0000 | 1.0000 | 0.9652 | 0.8893 | 1.0000 | 0.9971 |
| 0.7809 | 1.0000 | 1.0000 | 1.0000 | 0.9994 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9998 | 0.9972 | 1.0000 | 1.0000 |
| 0.1913 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9998 | 1.0000 | 1.0000 | 1.0000 | 1.0000 |
| 0.7165 | 1.0000 | 1.0000 | 1.0000 | 0.9998 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9990 | 1.0000 | 1.0000 |
| 0.9763 | 1.0000 | 0.9995 | 0.9982 | 0.9586 | 0.9999 | 0.9973 | 1.0000 | 1.0000 | 1.0000 | 0.9983 | 1.0000 | 1.0000 | 0.9766 | 0.9156 | 1.0000 | 0.9985 |
| 0.8524 | 1.0000 | 1.0000 | 1.0000 | 0.9977 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9992 | 0.9915 | 1.0000 | 1.0000 |
| 0.8900 | 1.0000 | 1.0000 | 1.0000 | 0.9951 | 1.0000 | 0.9999 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9980 | 0.9846 | 1.0000 | 1.0000 |
| 1.0000 | 0.6838 | 0.2172 | 0.1702 | 0.0672 | 0.2746 | 0.1553 | 0.7763 | 0.5827 | 0.5059 | 0.1710 | 0.5518 | 0.8611 | 0.0846 | 0.0471 | 0.4998 | 0.1763 |
| 0.8313 | 1.0000 | 1.0000 | 1.0000 | 0.9985 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9995 | 0.9939 | 1.0000 | 1.0000 |
| 0.9998 | 1.0000 | 0.9676 | 0.9387 | 0.7359 | 0.9852 | 0.9250 | 1.0000 | 0.9999 | 0.9996 | 0.9394 | 0.9998 | 1.0000 | 0.7967 | 0.6350 | 0.9995 | 0.9436 |
| 1.0000 | 0.9986 | 0.8396 | 0.7701 | 0.4844 | 0.8974 | 0.7425 | 0.9997 | 0.9944 | 0.9869 | 0.7716 | 0.9920 | 1.0000 | 0.5527 | 0.3875 | 0.9860 | 0.7807 |
| 0.6642 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9996 | 1.0000 | 1.0000 |
| . | 0.7678 | 0.2768 | 0.2201 | 0.0906 | 0.3442 | 0.2019 | 0.8484 | 0.6726 | 0.5959 | 0.2212 | 0.6422 | 0.9155 | 0.1130 | 0.0641 | 0.5897 | 0.2277 |
| . | . | 1.0000 | 1.0000 | 0.9996 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9999 | 0.9977 | 1.0000 | 1.0000 |
| . | . | . | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 |
| . | . | . | . | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9999 | 1.0000 | 1.0000 | 1.0000 | 1.0000 |
| . | . | . | . | . | 1.0000 | 1.0000 | 0.9979 | 0.9999 | 1.0000 | 1.0000 | 1.0000 | 0.9916 | 1.0000 | 1.0000 | 1.0000 | 1.0000 |
| . | . | . | . | . | . | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 |
| . | . | . | . | . | . | . | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9998 | 1.0000 | 1.0000 | 1.0000 | 1.0000 |
| . | . | . | . | . | . | . | . | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9993 | 0.9920 | 1.0000 | 1.0000 |
| . | . | . | . | . | . | . | . | . | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9995 | 1.0000 | 1.0000 |
| . | . | . | . | . | . | . | . | . | . | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9999 | 1.0000 | 1.0000 |
| . | . | . | . | . | . | . | . | . | . | . | 1.0000 | 0.9999 | 1.0000 | 1.0000 | 1.0000 | 1.0000 |
| . | . | . | . | . | . | . | . | . | . | . | . | 1.0000 | 1.0000 | 0.9997 | 1.0000 | 1.0000 |
| . | . | . | . | . | . | . | . | . | . | . | . | . | 0.9964 | 0.9764 | 1.0000 | 0.9999 |
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | 1.0000 | 1.0000 | 1.0000 |
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.9999 | 1.0000 |
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 1.0000 |
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . |

Table 27: Insulin dose used in 24 h [U/kg/24h]- Point estimates for the difference and mean change between dapagliflzin and placebo

| Sequence | Estimate for difference | CI 95% | Estimate for mean change [%] | CI 95% |
| --- | --- | --- | --- | --- |
| Sequence 1 | -0.130000000 | -0.3- ( -0.08) | -17.65 | -37.7- ( -14.42) |
| Sequence 2 | -0.100000000 | -0.17- ( -0.05) | -21.79 | -27.59- ( -13.52) |
| Total | -0.110000000 | -0.14- ( -0.09) | -20.96 | -24.44- ( -15.4) |

Explorative endpoints

The median ß-hydroxybutyrate was only elevated during dapagliflozin treatment in patients of sequence 2 (Table 25). An ANOVA with the factors “treatment”, “sequence”, “period” (i.e. dosing visit) and “subject within sequence” showed that the percentage of elevated ß-hydroxybutyrate significantly depended on “treatment” only (Table 26 – Table 28).

Table 28: Percentage of elevated ß-hydroxybutyrate (>0.5 mmol/l) values during study per patient

| Percentage of elevated ß-hydroxybutyrate (>0.5 mmol/l) |  | N | Mean | Std | Median | lower CI 95% | upper CI 95% |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Sequence 1 | 1st visit | 15 | 11.33 | 15.98 | 0.00 | 2.49 | 20.18 |
|  | 2nd visit | 15 | 0.00 | 0.00 | 0.00 | . | . |
|  | Total | 30 | 5.67 | 12.51 | 0.00 | 1.00 | 10.34 |
| Sequence 2 | 1st visit | 15 | 4.67 | 8.34 | 0.00 | 0.05 | 9.28 |
|  | 2nd visit | 15 | 13.33 | 17.59 | 10.00 | 3.59 | 23.08 |
|  | Total | 30 | 9.00 | 14.23 | 0.00 | 3.69 | 14.31 |

Table 29: Percentage of elevated ß-hydroxybutyrate [%] - ANOVA

| Factor | Type III SS | Mean Square | p-Value |
| --- | --- | --- | --- |
| Treatment | 1500.000000 | 1500.000000 | 0.0037 |
| Sequence | 166.666667 | 166.666667 | 0.3279 |
| Period | 26.666667 | 26.666667 | 0.6755 |
| Subject within sequence | 4706.666667 | 168.095238 | 0.3763 |

Table 30: Percentage of elevated ß-hydroxybutyrate [%] - LS-Means for fixed factors

| Factor | Value | LS mean | Stand. error | CI 95% | Differences (p-value) [H0: LSMean(I)= LSMean(II)] |
| --- | --- | --- | --- | --- | --- |
| Treatment | Dapagliflozin (I) | 12.33 | 2.23 | 7.77- 16.9 | 0.0037 |
|  | Placebo (II) | 2.33 | 2.23 | -2.23- 6.9 | _ |
| Sequence | Dapagliflozin followed by placebo (I) | 5.67 | 2.23 | 1.1- 10.23 | 0.2993 |
|  | Placebo followed by dapagliflozin (II) | 9.00 | 2.23 | 4.43- 13.57 | _ |
| Period | First dosing visit (I) | 8.00 | 2.23 | 3.43- 12.57 | 0.6755 |
|  | Second dosing visit (II) | 6.67 | 2.23 | 2.1- 11.23 | _ |

Table 31: Elevated ß-hydroxybutyrate [%] - ANOVA- LS-Means for random factors (Total)

| Value | LS mean | Standard error | CI 95% | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Patient-No. 10 ( 1 ) | 0 | 8.63 | -17.68- 17.68 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9460 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9958 | 1.0000 | 1.0000 |
| Patient-No. 11 ( 2 ) | 5 | 8.63 | -12.68- 22.68 | . | 1.0000 | 1.0000 | 1.0000 | 0.9958 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 |
| Patient-No. 12 ( 3 ) | 0 | 8.63 | -17.68- 17.68 | . | . | 1.0000 | 1.0000 | 0.9460 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9958 | 1.0000 | 1.0000 |
| Patient-No. 17 ( 4 ) | 5 | 8.63 | -12.68- 22.68 | . | . | . | 1.0000 | 0.9958 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 |
| Patient-No. 18 ( 5 ) | 0 | 8.63 | -17.68- 17.68 | . | . | . | . | 0.9460 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9958 | 1.0000 | 1.0000 |
| Patient-No. 19 ( 6 ) | 25 | 8.63 | 7.32- 42.68 | . | . | . | . | . | 0.9460 | 1.0000 | 0.9460 | 0.9460 | 1.0000 | 1.0000 | 0.9460 |
| Patient-No. 22 ( 7 ) | 0 | 8.63 | -17.68- 17.68 | . | . | . | . | . | . | 1.0000 | 1.0000 | 1.0000 | 0.9958 | 1.0000 | 1.0000 |
| Patient-No. 25 ( 8 ) | 10 | 8.63 | -7.68- 27.68 | . | . | . | . | . | . | . | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 |
| Patient-No. 26 ( 9 ) | 0 | 8.63 | -17.68- 17.68 | . | . | . | . | . | . | . | . | 1.0000 | 0.9958 | 1.0000 | 1.0000 |
| Patient-No. 28 ( 10 ) | 0 | 8.63 | -17.68- 17.68 | . | . | . | . | . | . | . | . | . | 0.9958 | 1.0000 | 1.0000 |
| Patient-No. 3 ( 11 ) | 20 | 8.63 | 2.32- 37.68 | . | . | . | . | . | . | . | . | . | . | 1.0000 | 0.9958 |
| Patient-No. 31 ( 12 ) | 10 | 8.63 | -7.68- 27.68 | . | . | . | . | . | . | . | . | . | . | . | 1.0000 |
| Patient-No. 32 ( 13 ) | 0 | 8.63 | -17.68- 17.68 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 5 ( 14 ) | 10 | 8.63 | -7.68- 27.68 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 9 ( 15 ) | 0 | 8.63 | -17.68- 17.68 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 1 ( 16 ) | 5 | 8.63 | -12.68- 22.68 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 14 ( 17 ) | 10 | 8.63 | -7.68- 27.68 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 16 ( 18 ) | 20 | 8.63 | 2.32- 37.68 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 21 ( 19 ) | 0 | 8.63 | -17.68- 17.68 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 23 ( 20 ) | 25 | 8.63 | 7.32- 42.68 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 24 ( 21 ) | 5 | 8.63 | -12.68- 22.68 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 27 ( 22 ) | 10 | 8.63 | -7.68- 27.68 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 29 ( 23 ) | 0 | 8.63 | -17.68- 17.68 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 30 ( 24 ) | 0 | 8.63 | -17.68- 17.68 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 33 ( 25 ) | 0 | 8.63 | -17.68- 17.68 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 34 ( 26 ) | 10 | 8.63 | -7.68- 27.68 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 4 ( 27 ) | 30 | 8.63 | 12.32- 47.68 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 6 ( 28 ) | 0 | 8.63 | -17.68- 17.68 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 7 ( 29 ) | 0 | 8.63 | -17.68- 17.68 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 8 ( 30 ) | 20 | 8.63 | 2.32- 37.68 | . | . | . | . | . | . | . | . | . | . | . | . |

| 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9958 | 1.0000 | 0.9460 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.7771 | 1.0000 | 1.0000 | 0.9958 |
| 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9958 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9460 | 1.0000 | 1.0000 | 1.0000 |
| 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9958 | 1.0000 | 0.9460 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.7771 | 1.0000 | 1.0000 | 0.9958 |
| 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9958 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9460 | 1.0000 | 1.0000 | 1.0000 |
| 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9958 | 1.0000 | 0.9460 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.7771 | 1.0000 | 1.0000 | 0.9958 |
| 1.0000 | 0.9460 | 0.9958 | 1.0000 | 1.0000 | 0.9460 | 1.0000 | 0.9958 | 1.0000 | 0.9460 | 0.9460 | 0.9460 | 1.0000 | 1.0000 | 0.9460 | 0.9460 | 1.0000 |
| 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9958 | 1.0000 | 0.9460 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.7771 | 1.0000 | 1.0000 | 0.9958 |
| 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9958 | 1.0000 | 1.0000 | 1.0000 |
| 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9958 | 1.0000 | 0.9460 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.7771 | 1.0000 | 1.0000 | 0.9958 |
| 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9958 | 1.0000 | 0.9460 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.7771 | 1.0000 | 1.0000 | 0.9958 |
| 1.0000 | 0.9958 | 1.0000 | 1.0000 | 1.0000 | 0.9958 | 1.0000 | 1.0000 | 1.0000 | 0.9958 | 0.9958 | 0.9958 | 1.0000 | 1.0000 | 0.9958 | 0.9958 | 1.0000 |
| 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9958 | 1.0000 | 1.0000 | 1.0000 |
| 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9958 | 1.0000 | 0.9460 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.7771 | 1.0000 | 1.0000 | 0.9958 |
| . | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9958 | 1.0000 | 1.0000 | 1.0000 |
| . | . | 1.0000 | 1.0000 | 0.9958 | 1.0000 | 0.9460 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.7771 | 1.0000 | 1.0000 | 0.9958 |
| . | . | . | 1.0000 | 1.0000 | 1.0000 | 0.9958 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9460 | 1.0000 | 1.0000 | 1.0000 |
| . | . | . | . | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9958 | 1.0000 | 1.0000 | 1.0000 |
| . | . | . | . | . | 0.9958 | 1.0000 | 1.0000 | 1.0000 | 0.9958 | 0.9958 | 0.9958 | 1.0000 | 1.0000 | 0.9958 | 0.9958 | 1.0000 |
| . | . | . | . | . | . | 0.9460 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.7771 | 1.0000 | 1.0000 | 0.9958 |
| . | . | . | . | . | . | . | 0.9958 | 1.0000 | 0.9460 | 0.9460 | 0.9460 | 1.0000 | 1.0000 | 0.9460 | 0.9460 | 1.0000 |
| . | . | . | . | . | . | . | . | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9460 | 1.0000 | 1.0000 | 1.0000 |
| . | . | . | . | . | . | . | . | . | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9958 | 1.0000 | 1.0000 | 1.0000 |
| . | . | . | . | . | . | . | . | . | . | 1.0000 | 1.0000 | 1.0000 | 0.7771 | 1.0000 | 1.0000 | 0.9958 |
| . | . | . | . | . | . | . | . | . | . | . | 1.0000 | 1.0000 | 0.7771 | 1.0000 | 1.0000 | 0.9958 |
| . | . | . | . | . | . | . | . | . | . | . | . | 1.0000 | 0.7771 | 1.0000 | 1.0000 | 0.9958 |
| . | . | . | . | . | . | . | . | . | . | . | . | . | 0.9958 | 1.0000 | 1.0000 | 1.0000 |
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.7771 | 0.7771 | 1.0000 |
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 1.0000 | 0.9958 |
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.9958 |
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . |

Estimated differences in ß-hydroxybutyrate between dapagliflozin and placebo were 0.12 mmol/l (0.12 mmol/l in sequence 1 and 0.11 mmol/l in sequence 2; Table 33). The mean ß-hydroxybutyrate level showed higher values when patients were treated with dapagliflozin instead of placebo (Table 29). Figure 10 shows the changes in the mean concentration of ß-hydroxybutyrate in plasma during dosing visits for patients treated with dapagliflozin or placebo regardless of the sequence. The samples at 0 and 6.5 hours were collected before Ensure intake. The patients received the second dose of 10 mg dapagliflozin/placebo 30 min before the standardized mixed-meal at 0 hour. An ANOVA with the factors “treatment”, “sequence”, “period” (i.e. dosing visit) and “subject within sequence” showed that the percentage of elevated ß-hydroxybutyrate significantly depended on “treatment” (Table 26 – Table 28).

Figure 12: Mean ß-hydroxybutyrate levels over time after study drug administration [mmol/l]

Table 32: ß-hydroxybutyrate [mmol/l] (patient based)

| ß-hydroxybutyrate [mmol/l] |  | N | Mean | Std | Median | Min | Max | NMiss |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sequence 1 | 1st visit | 15 | 0.29 | 0.12 | 0.29 | 0.14 | 0.54 | 0 |
|  | 2nd visit | 15 | 0.14 | 0.04 | 0.14 | 0.07 | 0.23 | 0 |
|  | Total | 30 | 0.22 | 0.11 | 0.18 | 0.07 | 0.54 | 0 |
| Sequence 2 | 1st visit | 15 | 0.18 | 0.10 | 0.16 | 0.09 | 0.45 | 0 |
|  | 2nd visit | 15 | 0.30 | 0.10 | 0.28 | 0.17 | 0.59 | 0 |
|  | Total | 30 | 0.24 | 0.12 | 0.23 | 0.09 | 0.59 | 0 |

Table 33: ß-hydroxybutyrate [mmol/l]- ANOVA

| Factor | Type III SS | Mean Square | p-Value |
| --- | --- | --- | --- |
| Treatment | 2.614345 | 2.614345 | <.0001 |
| Sequence | 0.076018 | 0.076018 | 0.3979 |
| Period | 0.034588 | 0.034588 | 0.1883 |
| Subject within sequence | 2.888468 | 0.103160 | <.0001 |

Table 34: ß-hydroxybutyrate [mmol/l]- LS-Means for fixed factors

| Factor | Value | LS mean | Stand. error | CI 95% | Differences (p-value) [H0: LSMean(I)= LSMean(II)] |
| --- | --- | --- | --- | --- | --- |
| Treatment | Dapagliflozin (I) | 0.29 | 0.01 | 0.28- 0.31 | <.0001 |
|  | Placebo (II) | 0.16 | 0.01 | 0.15- 0.18 | _ |
| Sequence | Dapagliflozin followed by placebo (I) | 0.22 | 0.01 | 0.2- 0.23 | 0.0513 |
|  | Placebo followed by dapagliflozin (II) | 0.24 | 0.01 | 0.22- 0.26 | _ |
| Period | First dosing visit (I) | 0.24 | 0.01 | 0.22- 0.25 | 0.1883 |
|  | Second dosing visit (II) | 0.22 | 0.01 | 0.2- 0.24 | _ |

Table 35: ß-hydroxybutyrate [mmol/l]- ANOVA- LS-Means for random factors (Total)

| Value | LS mean | Standard error | CI 95% | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Patient-No. 10 ( 1 ) | 0.22 | 0.03 | 0.15- 0.28 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.3704 | 0.9999 | 1.0000 | 0.9995 | 0.9983 | 0.7254 | 1.0000 | 0.9999 |
| Patient-No. 11 ( 2 ) | 0.20 | 0.03 | 0.14- 0.26 | . | 1.0000 | 0.9999 | 1.0000 | 0.1701 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.4562 | 1.0000 | 1.0000 |
| Patient-No. 12 ( 3 ) | 0.17 | 0.03 | 0.11- 0.23 | . | . | 0.9529 | 1.0000 | 0.0198 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.0900 | 1.0000 | 1.0000 |
| Patient-No. 17 ( 4 ) | 0.27 | 0.03 | 0.2- 0.33 | . | . | . | 1.0000 | 0.9886 | 0.7254 | 1.0000 | 0.6385 | 0.5471 | 0.9999 | 1.0000 | 0.7254 |
| Patient-No. 18 ( 5 ) | 0.22 | 0.03 | 0.15- 0.28 | . | . | . | . | 0.3704 | 0.9999 | 1.0000 | 0.9995 | 0.9983 | 0.7254 | 1.0000 | 0.9999 |
| Patient-No. 19 ( 6 ) | 0.35 | 0.03 | 0.29- 0.41 | . | . | . | . | . | 0.0033 | 0.4562 | 0.0020 | 0.0012 | 1.0000 | 0.2259 | 0.0033 |
| Patient-No. 22 ( 7 ) | 0.15 | 0.03 | 0.09- 0.21 | . | . | . | . | . | . | 0.9995 | 1.0000 | 1.0000 | 0.0198 | 1.0000 | 1.0000 |
| Patient-No. 25 ( 8 ) | 0.22 | 0.03 | 0.16- 0.28 | . | . | . | . | . | . | . | 0.9983 | 0.9953 | 0.8031 | 1.0000 | 0.9995 |
| Patient-No. 26 ( 9 ) | 0.15 | 0.03 | 0.08- 0.21 | . | . | . | . | . | . | . | . | 1.0000 | 0.0130 | 1.0000 | 1.0000 |
| Patient-No. 28 ( 10 ) | 0.14 | 0.03 | 0.08- 0.2 | . | . | . | . | . | . | . | . | . | 0.0083 | 0.9999 | 1.0000 |
| Patient-No. 3 ( 11 ) | 0.33 | 0.03 | 0.27- 0.39 | . | . | . | . | . | . | . | . | . | . | 0.5471 | 0.0198 |
| Patient-No. 31 ( 12 ) | 0.21 | 0.03 | 0.14- 0.27 | . | . | . | . | . | . | . | . | . | . | . | 1.0000 |
| Patient-No. 32 ( 13 ) | 0.15 | 0.03 | 0.09- 0.21 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 5 ( 14 ) | 0.24 | 0.03 | 0.18- 0.3 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 9 ( 15 ) | 0.26 | 0.03 | 0.2- 0.32 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 1 ( 16 ) | 0.22 | 0.03 | 0.15- 0.28 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 14 ( 17 ) | 0.28 | 0.03 | 0.21- 0.34 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 16 ( 18 ) | 0.38 | 0.03 | 0.32- 0.44 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 21 ( 19 ) | 0.17 | 0.03 | 0.1- 0.23 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 23 ( 20 ) | 0.31 | 0.03 | 0.25- 0.37 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 24 ( 21 ) | 0.27 | 0.03 | 0.2- 0.33 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 27 ( 22 ) | 0.23 | 0.03 | 0.16- 0.29 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 29 ( 23 ) | 0.22 | 0.03 | 0.15- 0.28 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 30 ( 24 ) | 0.18 | 0.03 | 0.11- 0.24 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 33 ( 25 ) | 0.13 | 0.03 | 0.07- 0.19 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 34 ( 26 ) | 0.23 | 0.03 | 0.16- 0.29 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 4 ( 27 ) | 0.38 | 0.03 | 0.31- 0.44 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 6 ( 28 ) | 0.16 | 0.03 | 0.09- 0.22 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 7 ( 29 ) | 0.17 | 0.03 | 0.1- 0.23 | . | . | . | . | . | . | . | . | . | . | . | . |
| Patient-No. 8 ( 30 ) | 0.32 | 0.03 | 0.25- 0.38 | . | . | . | . | . | . | . | . | . | . | . | . |

| 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.0635 | 1.0000 | 0.9529 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9886 | 1.0000 | 0.0900 | 1.0000 | 1.0000 | 0.9176 |
| 1.0000 | 1.0000 | 1.0000 | 0.9983 | 0.0198 | 1.0000 | 0.8031 | 0.9999 | 1.0000 | 1.0000 | 1.0000 | 0.9995 | 1.0000 | 0.0297 | 1.0000 | 1.0000 | 0.7254 |
| 0.9995 | 0.9755 | 1.0000 | 0.8677 | 0.0012 | 1.0000 | 0.2929 | 0.9529 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.0020 | 1.0000 | 1.0000 | 0.2259 |
| 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.7254 | 0.9176 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9755 | 0.3704 | 1.0000 | 0.8031 | 0.8031 | 0.9176 | 1.0000 |
| 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.0635 | 1.0000 | 0.9529 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9886 | 1.0000 | 0.0900 | 1.0000 | 1.0000 | 0.9176 |
| 0.8031 | 0.9755 | 0.4506 | 0.9983 | 1.0000 | 0.0130 | 1.0000 | 0.9886 | 0.5471 | 0.3704 | 0.0297 | 0.0004 | 0.5471 | 1.0000 | 0.0053 | 0.0130 | 1.0000 |
| 0.9755 | 0.8031 | 0.9998 | 0.5471 | 0.0001 | 1.0000 | 0.0900 | 0.7254 | 0.9983 | 0.9999 | 1.0000 | 1.0000 | 0.9983 | 0.0003 | 1.0000 | 1.0000 | 0.0635 |
| 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.0900 | 1.0000 | 0.9755 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9755 | 1.0000 | 0.1251 | 0.9999 | 1.0000 | 0.9529 |
| 0.9529 | 0.7254 | 0.9992 | 0.4562 | <.0001 | 1.0000 | 0.0635 | 0.6385 | 0.9953 | 0.9995 | 1.0000 | 1.0000 | 0.9953 | 0.0001 | 1.0000 | 1.0000 | 0.0439 |
| 0.9176 | 0.6385 | 0.9975 | 0.3704 | <.0001 | 1.0000 | 0.0439 | 0.5471 | 0.9886 | 0.9983 | 1.0000 | 1.0000 | 0.9886 | <.0001 | 1.0000 | 1.0000 | 0.0297 |
| 0.9755 | 0.9995 | 0.7947 | 1.0000 | 1.0000 | 0.0635 | 1.0000 | 0.9999 | 0.8677 | 0.7254 | 0.1251 | 0.0033 | 0.8677 | 1.0000 | 0.0297 | 0.0635 | 1.0000 |
| 1.0000 | 1.0000 | 1.0000 | 0.9995 | 0.0297 | 1.0000 | 0.8677 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9983 | 1.0000 | 0.0439 | 1.0000 | 1.0000 | 0.8031 |
| 0.9755 | 0.8031 | 0.9998 | 0.5471 | 0.0001 | 1.0000 | 0.0900 | 0.7254 | 0.9983 | 0.9999 | 1.0000 | 1.0000 | 0.9983 | 0.0003 | 1.0000 | 1.0000 | 0.0635 |
| . | 1.0000 | 1.0000 | 1.0000 | 0.2929 | 0.9983 | 0.9995 | 1.0000 | 1.0000 | 1.0000 | 0.9999 | 0.8031 | 1.0000 | 0.3704 | 0.9886 | 0.9983 | 0.9983 |
| . | . | 1.0000 | 1.0000 | 0.6385 | 0.9529 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9886 | 0.4562 | 1.0000 | 0.7254 | 0.8677 | 0.9529 | 1.0000 |
| . | . | . | 1.0000 | 0.0905 | 1.0000 | 0.9725 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9847 | 1.0000 | 0.1252 | 0.9999 | 1.0000 | 0.9483 |
| . | . | . | . | 0.8677 | 0.8031 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.9176 | 0.2259 | 1.0000 | 0.9176 | 0.6385 | 0.8031 | 1.0000 |
| . | . | . | . | . | 0.0007 | 0.9995 | 0.7254 | 0.1251 | 0.0635 | 0.0020 | <.0001 | 0.1251 | 1.0000 | 0.0003 | 0.0007 | 0.9999 |
| . | . | . | . | . | . | 0.2259 | 0.9176 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 0.0012 | 1.0000 | 1.0000 | 0.1701 |
| . | . | . | . | . | . | . | 1.0000 | 0.9886 | 0.9529 | 0.3704 | 0.0198 | 0.9886 | 0.9999 | 0.1251 | 0.2259 | 1.0000 |
| . | . | . | . | . | . | . | . | 1.0000 | 1.0000 | 0.9755 | 0.3704 | 1.0000 | 0.8031 | 0.8031 | 0.9176 | 1.0000 |
| . | . | . | . | . | . | . | . | . | 1.0000 | 1.0000 | 0.9529 | 1.0000 | 0.1701 | 0.9995 | 1.0000 | 0.9755 |
| . | . | . | . | . | . | . | . | . | . | 1.0000 | 0.9886 | 1.0000 | 0.0900 | 1.0000 | 1.0000 | 0.9176 |
| . | . | . | . | . | . | . | . | . | . | . | 1.0000 | 1.0000 | 0.0033 | 1.0000 | 1.0000 | 0.2929 |
| . | . | . | . | . | . | . | . | . | . | . | . | 0.9529 | <.0001 | 1.0000 | 1.0000 | 0.0130 |
| . | . | . | . | . | . | . | . | . | . | . | . | . | 0.1701 | 0.9995 | 1.0000 | 0.9755 |
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.0004 | 0.0012 | 1.0000 |
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 1.0000 | 0.0900 |
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.1701 |
| . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . |

Table 36: ß-hydroxybutyrate [mmol/l]- Point estimate for difference between dapagliflozin and placebo [%]

| Sequence | Estimate for difference | CI 95% |
| --- | --- | --- |
| Sequence 1 | 0.120000 | 0.04- ( 0.23) |
| Sequence 2 | 0.110000 | 0.05- ( 0.17) |
| Total | 0.120000 | 0.07- ( 0.16) |

Table 34 and Table 35 show the results of the ANOVA for insulin need during the DreaMed automated insulin delivery. The insulin need significantly depended on “treatment” and “sequence”. Regarding the point estimates for mean changes between dapagliflozin and placebo, a mean change of -0.1 (-0.11 in sequence 1 and -0.1 in sequence 2) could be seen for patients who received two meals per visit (Table 36).

Table 37: Insulin need during the DreaMed automated insulin delivery- ANOVA

Due to few manifestations of Ensure intake table was modified and insulin need was displayed in case of patients who received two meals per visit

| Factor | Type III SS | Mean Square | p-Value |
| --- | --- | --- | --- |
| Treatment | 0.317650 | 0.317650 | <.0001 |
| Sequence | 0.197228 | 0.197228 | <.0001 |
| Period | 0.008000 | 0.008000 | 0.3414 |
| Subject within sequence | 0.271363 | 0.009692 | 0.3710 |

Table 38: Insulin need during the DreaMed automated insulin delivery- ANOVA- LS-Means for fixed factors

Due to few manifestations of Ensure intake table was modified and insulin need was displayed in case of patients who received two meals per visit

| Factor | Value | LS mean | Stand. error | CI 95% | Differences (p-value) [H0: LSMean(I)= LSMean(II)] |
| --- | --- | --- | --- | --- | --- |
| Treatment | Dapagliflozin (I) | 0.43 | 0.02 | 0.39- 0.46 | <.0001 |
|  | Placebo (II) | 0.57 | 0.02 | 0.54- 0.61 | _ |
| Sequence | Dapagliflozin followed by placebo (I) | 0.56 | 0.02 | 0.52- 0.59 | <.0001 |
|  | Placebo followed by dapagliflozin (II) | 0.44 | 0.02 | 0.41- 0.48 | _ |
| Period | First dosing visit (I) | 0.49 | 0.02 | 0.45- 0.52 | 0.3414 |
|  | Second dosing visit (II) | 0.51 | 0.02 | 0.48- 0.55 | _ |

Table 39: Insulin need during the DreaMed automated insulin delivery- Point estimate for difference between dapagliflozin and placebo

Due to few manifestations of Ensure intake table was modified and insulin need was displayed in case of patients who received two meals per visit

| Sequence | Estimate for difference | CI 95% |
| --- | --- | --- |
| Sequence 1 | -0.110000000 | -0.3- ( -0.08) |
| Sequence 2 | -0.100000000 | -0.17- ( -0.05) |
| Total | -0.100000000 | -0.14- ( -0.08) |

Figure 13: Insulin need during DAPA phase, median, 25th aund 75 percentile

Figure 14. : Insulin need during PLACEBO phase, median, 25th aund 75 percentile

Table 40: Results of CGM Data: all patients

Table 41: Results of CGM Data: all patients, nocturnal values

Table 42:Results of CGM Data: adults

Table 43: Results of CGM Data: adolescents

Figure 16: Daily profile Glucose sensor Data, Adults; median, 25th and 75 percentile; green: Target Range (70-180 mg/dl)

Figure 17: Daily profile Glucose sensor Data, Adolescents; median, 25th and 75 percentile; green: Target Range (70-180 mg/dl)

Information and screening visit

Written informed consent was given by all patients or legal guardians at information or screening visits (Table 37).

Table 44: Informed consent of patient and legal guardian (if applicable)

| Informed consent |  | Information visit |  |  |  |  |  | Screening visit |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Sequence 1 |  | Sequence 2 |  | Total |  | Sequence 1 |  | Sequence 2 |  | Total |  |
|  |  | N | % | N | % | N | % | N | % | N | % | N | % |
| Patient | Yes | 3 | 100.00 | 6 | 100.00 | 9 | 100.00 | 12 | 100.00 | 10 | 100.00 | 22 | 100.00 |
|  | Total | 3 | 100.00 | 6 | 100.00 | 9 | 100.00 | 12 | 100.00 | 10 | 100.00 | 22 | 100.00 |
| Legal guardian 1 | Yes | 3 | 100.00 | 6 | 100.00 | 9 | 100.00 | 4 | 33.33 | 3 | 30.00 | 7 | 31.82 |
|  | Not applicable | . | . | . | . | . | . | 8 | 66.67 | 7 | 70.00 | 15 | 68.18 |
|  | Total | 3 | 100.00 | 6 | 100.00 | 9 | 100.00 | 12 | 100.00 | 10 | 100.00 | 22 | 100.00 |
| Legal guardian 2 | Yes | 3 | 100.00 | 6 | 100.00 | 9 | 100.00 | 4 | 33.33 | 3 | 30.00 | 7 | 31.82 |
|  | Not applicable | . | . | . | . | . | . | 8 | 66.67 | 7 | 70.00 | 15 | 68.18 |
|  | Total | 3 | 100.00 | 6 | 100.00 | 9 | 100.00 | 12 | 100.00 | 10 | 100.00 | 22 | 100.00 |

Screening visit- Inclusion and exclusion criteria

The patients fulfilled all inclusion criteria (Table 38) and did not violate any exclusion criterion (Table 39).

Table 45: Screened patients- Inclusion criteria

| Inclusion criterion fulfilled |  | N | % |
| --- | --- | --- | --- |
| IC 1: Female and/or male aged 12 to 21 years (both inclusive) | Yes | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| IC 2: Subject must have type 1 diabetes (as diagnosed clinically) ≥ 12 months | Yes | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| IC 3: No DKA 12 weeks prior to the study | Yes | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| IC 4: On CSII (insulin pump therapy) since at least 3 months | Yes | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| IC 5: Average daily dose of insulin between 0.6 – 2.0 U/kg | Yes | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| IC 6: Body mass index 18 to 35 kg/m2 or the 10th to 99th centile for BMI according to age and gender with a minimum weight of 50 kg | Yes | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| IC 7: Without completely inadequate glycemic control defined as local laboratory A1c range 6.5% – 11% | Yes | 31 | 100.00 |
|  | Total | 31 | 100.00 |

Table 46: Screened patients- Exclusion criteria

| Exclusion criterion fulfilled |  | N | % |
| --- | --- | --- | --- |
| EC 1 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 2 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 3 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 4 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 5 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 6 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 7 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 8 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 9 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 10 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 11 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 12 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 13 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 14 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 15 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 16 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 17 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 18 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 19 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 20 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 21 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 22 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 23 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 24 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 25 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 26 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 27 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 28 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 29 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 30 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 31 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 32 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 33 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 34 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 35 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 36 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 37 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 38 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 39 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 40 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 41 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 42 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 43 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 44 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 45 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 46 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 47 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 48 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 49 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |
| EC 50 | No | 31 | 100.00 |
|  | Total | 31 | 100.00 |

Screening visit- Demographics

The median age of the patients amounted to 17 years, with a range from 12 to 20 years. 16 patients were pubertal (51.6 %) and 15 (48.4%) adolescent. More than half of the patients were female (61.3 %). All patients were non-hispanic or latino and white. Median height was 1.69 m and median weight at screening 66 kg, which led to a median BMI of 22.6 kg/m2 (23.1 kg/m² for patients of sequence 1 and 21.4 kg/m² for patients of sequence 2 ;Table 40).

Table 47: Screening visit- Patient’s demographics and characteristics

|  | Sequence 1 [N,%] | Sequence 2 [N,%] | Total [N,%] |
| --- | --- | --- | --- |
| Number of patients | 15 (100.00) | 16 (100.00) | 31 (100.00) |
| Age |  |  |  |
| N | 15 | 16 | 31 |
| NMiss | 0 | 0 | 0 |
| Mean | 17.07 | 16.94 | 17.00 |
| Std | 2.40 | 1.81 | 2.08 |
| Min | 12.00 | 14.00 | 12.00 |
| Median | 18.00 | 17.00 | 17.00 |
| Max | 20.00 | 20.00 | 20.00 |
| Pubertal status documented |  |  |  |
| Yes | 7 (46.67) | 9 (56.25) | 16 (51.61) |
| Not applicable | 8 (53.33) | 7 (43.75) | 15 (48.39) |
| Pubertal status |  |  |  |
| Adolescent | 8 (53.33) | 7 (43.75) | 15 (48.39) |
| Pubertal | 7 (46.67) | 9 (56.25) | 16 (51.61) |
| Gender |  |  |  |
| Female | 10 (66.67) | 9 (56.25) | 19 (61.29) |
| Male | 5 (33.33) | 7 (43.75) | 12 (38.71) |
| Ethnicity |  |  |  |
| Non-Hispanic or Latino | 15 (100.00) | 16 (100.00) | 31 (100.00) |
| Race |  |  |  |
| White | 15 (100.00) | 16 (100.00) | 31 (100.00) |
| Height [m] |  |  |  |
| N | 15 | 16 | 31 |
| NMiss | 0 | 0 | 0 |
| Mean | 1.71 | 1.74 | 1.73 |
| Std | 0.08 | 0.10 | 0.09 |
| Min | 1.62 | 1.59 | 1.59 |
| Median | 1.69 | 1.73 | 1.69 |
| Max | 1.88 | 1.95 | 1.95 |
| Weight [kg] |  |  |  |
| N | 15 | 16 | 31 |
| NMiss | 0 | 0 | 0 |
| Mean | 70.90 | 66.30 | 68.53 |
| Std | 11.05 | 7.86 | 9.66 |
| Min | 55.10 | 52.90 | 52.90 |
| Median | 68.60 | 64.15 | 66.00 |
| Max | 98.80 | 79.90 | 98.80 |
| BMI [kg/m2] |  |  |  |
| N | 15 | 16 | 31 |
| NMiss | 0 | 0 | 0 |
| Mean | 24.19 | 21.96 | 23.04 |
| Std | 3.23 | 2.53 | 3.06 |
| Min | 20.10 | 18.40 | 18.40 |
| Median | 23.10 | 21.40 | 22.60 |
| Max | 32.20 | 28.40 | 32.20 |

Furthermore the median systolic blood pressure amounted to 128 mmHg, the diastolic to 61 mmHg. The median pulse was 76 bpm and the median temperature 36.9 oC (Table 41).

Table 48: Screening visit- Vital signs

|  | Sequence 1 | Sequence 2 | Total |
| --- | --- | --- | --- |
| Number of patients | 15 | 16 | 31 |
| Systolic blood pressure [mmHg] |  |  |  |
| N | 15 | 16 | 31 |
| NMiss | 0 | 0 | 0 |
| Mean | 128.33 | 125.81 | 127.03 |
| Std | 10.77 | 8.85 | 9.75 |
| Min | 108.00 | 104.00 | 104.00 |
| Median | 130.00 | 127.00 | 128.00 |
| Max | 145.00 | 137.00 | 145.00 |
| Diastolic blood pressure [mmHg] |  |  |  |
| N | 15 | 16 | 31 |
| NMiss | 0 | 0 | 0 |
| Mean | 65.67 | 62.25 | 63.90 |
| Std | 10.52 | 10.14 | 10.30 |
| Min | 45.00 | 48.00 | 45.00 |
| Median | 69.00 | 59.50 | 61.00 |
| Max | 81.00 | 83.00 | 83.00 |
| Pulse [bpm] |  |  |  |
| N | 15 | 16 | 31 |
| NMiss | 0 | 0 | 0 |
| Mean | 81.13 | 81.44 | 81.29 |
| Std | 13.53 | 15.03 | 14.09 |
| Min | 65.00 | 55.00 | 55.00 |
| Median | 76.00 | 79.00 | 76.00 |
| Max | 109.00 | 111.00 | 111.00 |
| Temperature [oC] |  |  |  |
| N | 15 | 16 | 31 |
| NMiss | 0 | 0 | 0 |
| Mean | 36.85 | 36.83 | 36.84 |
| Std | 0.51 | 0.67 | 0.59 |
| Min | 35.60 | 35.00 | 35.00 |
| Median | 36.90 | 37.05 | 36.90 |
| Max | 37.90 | 37.70 | 37.90 |

No significant abnormalities occurred in the urine with respect to urine specific weight, pH, leukocytes, nitrite, protein, glucose, ketone, urobilinogen, erythrocytes and hemoglobin. Details are given in Table 42. The result of the drug test “Kombitest 10” was negative for all patients (Table 43). Blood samples were taken for all patients during screening visit (Table 45).

Table 49: Urin status

| Urin status |  | Sequence 1 |  |  |  | Sequence 2 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Screening |  | FU |  | Screening |  | FU |  |
|  |  | N | % | N | % | N | % | N | % |
| Urine specific weight | Normal | 13 | 86.67 | 15 | 100.00 | 14 | 87.50 | 15 | 93.75 |
|  | High, non-significant | 1 | 6.67 | . | . | 1 | 6.25 | 1 | 6.25 |
|  | Low, non-significant | 1 | 6.67 | . | . | 1 | 6.25 | . | . |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 16 | 100.00 |
| pH | Normal | 12 | 80.00 | 14 | 93.33 | 16 | 100.00 | 14 | 87.50 |
|  | High, non-significant | 3 | 20.00 | 1 | 6.67 | . | . | 2 | 12.50 |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 16 | 100.00 |
| Leukocytes | Normal | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 16 | 100.00 |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 16 | 100.00 |
| Nitrite | Negative | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 16 | 100.00 |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 16 | 100.00 |
| Protein | Negative | 14 | 93.33 | 13 | 86.67 | 16 | 100.00 | 16 | 100.00 |
|  | Positive, missing | 1 | 6.67 | 2 | 13.33 | . | . | . | . |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 16 | 100.00 |
| Glucose | Negative | . | . | 1 | 6.67 | . | . | . | . |
|  | Normal | 2 | 13.33 | 3 | 20.00 | 4 | 25.00 | 5 | 31.25 |
|  | Positive, non-significant | 13 | 86.67 | 11 | 73.33 | 12 | 75.00 | 11 | 68.75 |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 16 | 100.00 |
| Ketone | Negative | 14 | 93.33 | 14 | 93.33 | 16 | 100.00 | 13 | 81.25 |
|  | Positive, non-significant | 1 | 6.67 | 1 | 6.67 | . | . | 2 | 12.50 |
|  | Missing | . | . | . | . | . | . | 1 | 6.25 |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 16 | 100.00 |
| Urobilinogen | Negative | . | . | . | . | 1 | 6.25 | 1 | 6.25 |
|  | Normal | 15 | 100.00 | 15 | 100.00 | 15 | 93.75 | 15 | 93.75 |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 16 | 100.00 |
| Erythrocytes | Normal | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 16 | 100.00 |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 16 | 100.00 |
| Hemoglobin | Negative | 13 | 86.67 | 13 | 86.67 | 14 | 87.50 | 15 | 93.75 |
|  | Positive, non-significant | 2 | 13.33 | 2 | 13.33 | 1 | 6.25 | 1 | 6.25 |
|  | Missing | . | . | . | . | 1 | 6.25 | . | . |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 16 | 100.00 |

Table 50: Screening- Urine drug test- Kombitest 10

| Screening- Drug test | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| Negative | 15 | 100.00 | 16 | 100.00 | 31 | 100.00 |
| Total | 15 | 100.00 | 16 | 100.00 | 31 | 100.00 |

Table 51: Screening- Urine drug test positive- Reason

No patient had positive urine drug tests.

Table 52: Screening- Blood taken

| Screening- Blood taken | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| Yes | 15 | 100.00 | 16 | 100.00 | 31 | 100.00 |
| Total | 15 | 100.00 | 16 | 100.00 | 31 | 100.00 |

Table 53: Screening- Blood not taken- Reason

Blood samples were taken for all patients.

45.2 % of the patients were diagnosed with Type 1 diabetes in their first 5 years of life (Table 47). The HbA1c measurement was performed in all patients during screening visit. More than half of them showed an A1c value between 7.5 and 9 (54.8 %, Table 48 – Table 49).

Table 54: Screening- Age at diagnosis of diabetes

| Age at diagnosis | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| 0-5 year | 7 | 46.67 | 7 | 43.75 | 14 | 45.16 |
| 6-10 year | 4 | 26.67 | 5 | 31.25 | 9 | 29.03 |
| 11-15 year | 3 | 20.00 | 4 | 25.00 | 7 | 22.58 |
| 16-20 year | 1 | 6.67 | . | . | 1 | 3.23 |
| Total | 15 | 100.00 | 16 | 100.00 | 31 | 100.00 |

Table 55: Screening- HbA1c measurement performed

| HbA1c measurement performed | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| Yes | 15 | 100.00 | 16 | 100.00 | 31 | 100.00 |
| Total | 15 | 100.00 | 16 | 100.00 | 31 | 100.00 |

Table 56: Screening- HbA1c value [%]

| HbA1c value [%] | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| A1c 5.5-<7.5 | 4 | 26.67 | 1 | 6.25 | 5 | 16.13 |
| A1c 7.5-9 | 7 | 46.67 | 10 | 62.50 | 17 | 54.84 |
| A1c >9-12.5 | 4 | 26.67 | 5 | 31.25 | 9 | 29.03 |
| Total | 15 | 100.00 | 16 | 100.00 | 31 | 100.00 |

All patients received training for the glucose sensor system (Table 50). For 9.7 % of the patients alarm setting was performed during the run-in phase (Table 51 and Table 52).

Table 57: Screening- Training for glucose sensor system performed

| Training | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| Yes | 15 | 100.00 | 16 | 100.00 | 31 | 100.00 |
| Total | 15 | 100.00 | 16 | 100.00 | 31 | 100.00 |

Table 58: Screening- Alarm settings during the run-in phase performed

| Alarm settings performed | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| No | 13 | 86.67 | 15 | 93.75 | 28 | 90.32 |
| Yes | 2 | 13.33 | 1 | 6.25 | 3 | 9.68 |
| Total | 15 | 100.00 | 16 | 100.00 | 31 | 100.00 |

Table 59: Screening- Alarm settings

| Alarm settings | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| 80 - Hypo-Alarm ¦¦ 180 - Hyper-Alarm ¦¦ unterbrechen bei 70 | 1 | 50.00 | . | . | 1 | 33.33 |
| Hypoglycämie Alarm: 80 mg/dl ¦¦ Hyperglycämie Alarm: nein ¦¦ Unterbrechen niedrig Alarm: nein | . | . | 1 | 100.00 | 1 | 33.33 |
| Hypoglycämie Alarm: 80 ¦¦ Hypoglycämie Alarm: 200 ¦¦ Unterbrechen niedrig Alarm: ja, 50 | 1 | 50.00 | . | . | 1 | 33.33 |
| Total | 2 | 100.00 | 1 | 100.00 | 3 | 100.00 |

Dosing visits

All inclusion and exclusion criteria for the dosing visits were fulfilled (Table 54 and Table 55) and hence all patients were randomized (Table 53). Additionally, none of the female patients was pregnant (Table 56 and Table 57). Details concerning systolic and diastolic blood pressure, pulse, temperature and weight for different time points during dosing visits are shown in Table 58 to Table 62. Blood samples were collected within the time window of +/- 5 minutes according to protocol in 98.7 % of the cases (Table 63). Detailed information concerning blood sample collection for PK dapagliflozin, GLP-1/GIP/glucagon and blood gas analysis are displayed in Table 64, Table 66 and Table 73, respectively. The mean capillary glucose level was lower in patients who received dapagliflozin compared to placebo before first and second administration of ensure and after second administration of ensure, respectively (Table 65). Whereas the mean β-hydroxyburyrate was higher in patients treated with dapagliflozin than patients treated with placebo for each point in time, respectively (Table 72). The analysis of blood samples showed that the average concentration of active GLP-1, total GLP-1 and GIP were lower during the first dosing visit than the second dosing visit (median of 1.9 pmol/l and 2.0 pmol/l for GLP-1 active, 21.6 pg/ml and 22.7 pg/ml for GLP-1 total and 350.4 pg/ml and 368.9 pg/ml for GIP during first and second dosing visit, respectively irrespective of the sequence (Table 67 - Table 69)). The average concentration of glucagon showed a higher level during the first dosing visit than the second dosing visit (median of 47.5 pmol/l and 46.2 pmol/l, respectively irrespective of the sequence (Table 70)). The average concentration of iso-insulin revealed a lower level when patients were treated with dapagliflozin than placebo (Table 71). Dapagliflozin/placebo was given to all patients who did not discontinue prematurely (Table 74).

Table 60: Dosing visits- Patient randomized

| Patient randomized | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| Yes | 15 | 100.00 | 16 | 100.00 | 31 | 100.00 |
| Total | 15 | 100.00 | 16 | 100.00 | 31 | 100.00 |

Table 61: Dosing visits- All in- and exclusion criteria fulfilled (screening)

| All in- and exclusion criteria fulfilled (screening) | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| Yes | 15 | 100.00 | 16 | 100.00 | 31 | 100.00 |
| Total | 15 | 100.00 | 16 | 100.00 | 31 | 100.00 |

Table 62: Dosing visits- Exclusion criteria (multiple answers possible)

| Dosing day- Exclusion criteria |  | Sequence 1 |  |  |  | Sequence 2 |  |  |  | Total |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 1st visit |  | 2nd visit |  | 1st visit |  | 2nd visit |  | 1st visit |  | 2nd visit |  |
|  |  | N | % | N | % | N | % | N | % | N | % | N | % |
| EC 51 | No | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |
| EC 52 | No | . | . | . | . | 2 | 12.50 | . | . | 2 | 6.45 | . | . |
|  | Not applicable | 15 | 100.00 | 15 | 100.00 | 14 | 87.50 | 15 | 100.00 | 29 | 93.55 | 30 | 100.00 |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |
| EC 53 | No | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |
| EC 54 | No | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |
| EC 55 | No | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |
| EC 56 | No | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |
| EC 57 | No | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |
| EC 58 | No | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |
| EC 59 | No | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |

Table 63: Pregnancy test performed (in case of women of child-bearing potential)

| Pregnancy test- Performed | Sequence 1 |  |  |  | Sequence 2 |  |  |  | Total |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1st visit |  | 2nd visit |  | 1st visit |  | 2nd visit |  | 1st visit |  | 2nd visit |  |
|  | N | % | N | % | N | % | N | % | N | % | N | % |
| Yes | 10 | 100.00 | 10 | 100.00 | 9 | 100.00 | 8 | 100.00 | 19 | 100.00 | 18 | 100.00 |
| Total | 10 | 100.00 | 10 | 100.00 | 9 | 100.00 | 8 | 100.00 | 19 | 100.00 | 18 | 100.00 |

Table 64: Pregnancy test- Result (in case of women of child-bearing potential)

| Pregnancy test- Result | Sequence 1 |  |  |  | Sequence 2 |  |  |  | Total |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1st visit |  | 2nd visit |  | 1st visit |  | 2nd visit |  | 1st visit |  | 2nd visit |  |
|  | N | % | N | % | N | % | N | % | N | % | N | % |
| Negative | 10 | 100.00 | 10 | 100.00 | 9 | 100.00 | 8 | 100.00 | 19 | 100.00 | 18 | 100.00 |
| Total | 10 | 100.00 | 10 | 100.00 | 9 | 100.00 | 8 | 100.00 | 19 | 100.00 | 18 | 100.00 |

Table 65: Dosing visits- Systolic blood pressure [mmHg]

| Systolisch blood pressure |  |  | N | Mean | Std | Median | Min | Max | NMiss |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Before administration of study medication (day 1) | Sequence 1 | 1st visit | 15 | 123.07 | 12.85 | 123.00 | 98.00 | 147.00 | 0 |
|  |  | 2nd visit | 15 | 123.47 | 9.55 | 125.00 | 97.00 | 136.00 | 0 |
|  |  | Total | 30 | 123.27 | 11.13 | 123.50 | 97.00 | 147.00 | 0 |
|  | Sequence 2 | 1st visit | 16 | 128.25 | 11.91 | 127.00 | 111.00 | 148.00 | 0 |
|  |  | 2nd visit | 15 | 119.13 | 12.04 | 116.00 | 96.00 | 135.00 | 0 |
|  |  | Total | 31 | 123.84 | 12.65 | 124.00 | 96.00 | 148.00 | 0 |
| Before first administration of Ensure (day 2) | Sequence 1 | 1st visit | 15 | 105.07 | 10.35 | 106.00 | 86.00 | 122.00 | 0 |
|  |  | 2nd visit | 15 | 108.40 | 11.96 | 108.00 | 95.00 | 135.00 | 0 |
|  |  | Total | 30 | 106.73 | 11.12 | 106.50 | 86.00 | 135.00 | 0 |
|  | Sequence 2 | 1st visit | 16 | 111.50 | 10.15 | 113.00 | 92.00 | 130.00 | 0 |
|  |  | 2nd visit | 15 | 111.27 | 15.36 | 110.00 | 87.00 | 143.00 | 0 |
|  |  | Total | 31 | 111.39 | 12.71 | 112.00 | 87.00 | 143.00 | 0 |
| Before second administration of Ensure (day 2) | Sequence 1 | 1st visit | 15 | 110.07 | 10.58 | 113.00 | 89.00 | 127.00 | 0 |
|  |  | 2nd visit | 15 | 110.20 | 12.53 | 111.00 | 93.00 | 133.00 | 0 |
|  |  | Total | 30 | 110.13 | 11.39 | 112.00 | 89.00 | 133.00 | 0 |
|  | Sequence 2 | 1st visit | 16 | 112.63 | 11.43 | 117.00 | 94.00 | 135.00 | 0 |
|  |  | 2nd visit | 15 | 110.07 | 8.50 | 110.00 | 95.00 | 133.00 | 0 |
|  |  | Total | 31 | 111.39 | 10.04 | 111.00 | 94.00 | 135.00 | 0 |

Table 66: Dosing visits- Diastolic blood pressure [mmHg]

| Diastolic blood pressure |  |  | N | Mean | Std | Median | Min | Max | NMiss |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Before administration of study medication (day 1) | Sequence 1 | 1st visit | 15 | 73.60 | 11.73 | 75.00 | 52.00 | 98.00 | 0 |
|  |  | 2nd visit | 15 | 70.47 | 8.93 | 71.00 | 55.00 | 87.00 | 0 |
|  |  | Total | 30 | 72.03 | 10.36 | 72.50 | 52.00 | 98.00 | 0 |
|  | Sequence 2 | 1st visit | 16 | 72.94 | 8.38 | 73.00 | 58.00 | 91.00 | 0 |
|  |  | 2nd visit | 15 | 69.73 | 8.01 | 68.00 | 58.00 | 85.00 | 0 |
|  |  | Total | 31 | 71.39 | 8.23 | 71.00 | 58.00 | 91.00 | 0 |
| Before first administration of Ensure (day 2) | Sequence 1 | 1st visit | 15 | 65.80 | 8.31 | 66.00 | 48.00 | 76.00 | 0 |
|  |  | 2nd visit | 15 | 64.40 | 10.70 | 61.00 | 50.00 | 88.00 | 0 |
|  |  | Total | 30 | 65.10 | 9.44 | 66.00 | 48.00 | 88.00 | 0 |
|  | Sequence 2 | 1st visit | 16 | 64.63 | 9.25 | 65.00 | 43.00 | 86.00 | 0 |
|  |  | 2nd visit | 15 | 60.60 | 8.90 | 60.00 | 48.00 | 78.00 | 0 |
|  |  | Total | 31 | 62.68 | 9.16 | 63.00 | 43.00 | 86.00 | 0 |
| Before second administration of Ensure (day 2) | Sequence 1 | 1st visit | 15 | 69.13 | 8.48 | 69.00 | 56.00 | 86.00 | 0 |
|  |  | 2nd visit | 15 | 64.73 | 6.80 | 66.00 | 46.00 | 73.00 | 0 |
|  |  | Total | 30 | 66.93 | 7.88 | 66.50 | 46.00 | 86.00 | 0 |
|  | Sequence 2 | 1st visit | 16 | 63.06 | 7.45 | 62.50 | 49.00 | 78.00 | 0 |
|  |  | 2nd visit | 15 | 67.87 | 7.40 | 71.00 | 53.00 | 77.00 | 0 |
|  |  | Total | 31 | 65.39 | 7.70 | 66.00 | 49.00 | 78.00 | 0 |

Table 67: Dosing visits- Pulse [bpm]

| Pulse |  |  | N | Mean | Std | Median | Min | Max | NMiss |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Before administration of study medication (day 1) | Sequence 1 | 1st visit | 15 | 83.53 | 13.58 | 81.00 | 63.00 | 104.00 | 0 |
|  |  | 2nd visit | 15 | 83.27 | 16.94 | 83.00 | 62.00 | 128.00 | 0 |
|  |  | Total | 30 | 83.40 | 15.09 | 82.00 | 62.00 | 128.00 | 0 |
|  | Sequence 2 | 1st visit | 16 | 81.69 | 17.91 | 80.50 | 52.00 | 117.00 | 0 |
|  |  | 2nd visit | 15 | 82.40 | 14.61 | 85.00 | 52.00 | 110.00 | 0 |
|  |  | Total | 31 | 82.03 | 16.13 | 84.00 | 52.00 | 117.00 | 0 |
| Before first administration of Ensure (day 2) | Sequence 1 | 1st visit | 15 | 72.93 | 11.85 | 72.00 | 55.00 | 93.00 | 0 |
|  |  | 2nd visit | 15 | 68.07 | 9.71 | 68.00 | 52.00 | 89.00 | 0 |
|  |  | Total | 30 | 70.50 | 10.93 | 71.00 | 52.00 | 93.00 | 0 |
|  | Sequence 2 | 1st visit | 16 | 67.00 | 11.97 | 64.00 | 48.00 | 88.00 | 0 |
|  |  | 2nd visit | 15 | 63.93 | 14.47 | 62.00 | 36.00 | 91.00 | 0 |
|  |  | Total | 31 | 65.52 | 13.11 | 62.00 | 36.00 | 91.00 | 0 |
| Before second administration of Ensure (day 2) | Sequence 1 | 1st visit | 15 | 73.47 | 12.79 | 75.00 | 51.00 | 98.00 | 0 |
|  |  | 2nd visit | 15 | 65.07 | 9.15 | 62.00 | 50.00 | 80.00 | 0 |
|  |  | Total | 30 | 69.27 | 11.73 | 70.50 | 50.00 | 98.00 | 0 |
|  | Sequence 2 | 1st visit | 16 | 65.50 | 13.33 | 62.00 | 43.00 | 89.00 | 0 |
|  |  | 2nd visit | 15 | 75.60 | 17.92 | 79.00 | 38.00 | 102.00 | 0 |
|  |  | Total | 31 | 70.39 | 16.28 | 67.00 | 38.00 | 102.00 | 0 |

Table 68: Dosing visits- Temperature [°C]

| Temperature |  |  | N | Mean | Std | Median | Min | Max | NMiss |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Before administration of study medication (day 1) | Sequence 1 | 1st visit | 15 | 37.05 | 0.45 | 37.20 | 36.10 | 37.50 | 0 |
|  |  | 2nd visit | 15 | 36.82 | 0.46 | 36.80 | 36.10 | 37.50 | 0 |
|  |  | Total | 30 | 36.94 | 0.47 | 37.05 | 36.10 | 37.50 | 0 |
|  | Sequence 2 | 1st visit | 16 | 36.67 | 0.51 | 36.70 | 35.70 | 37.40 | 0 |
|  |  | 2nd visit | 15 | 36.81 | 0.48 | 36.80 | 36.00 | 37.80 | 0 |
|  |  | Total | 31 | 36.74 | 0.49 | 36.80 | 35.70 | 37.80 | 0 |
| Before first administration of Ensure (day 2) | Sequence 1 | 1st visit | 15 | 36.61 | 0.43 | 36.50 | 36.00 | 37.60 | 0 |
|  |  | 2nd visit | 15 | 36.45 | 0.48 | 36.30 | 35.60 | 37.40 | 0 |
|  |  | Total | 30 | 36.53 | 0.46 | 36.50 | 35.60 | 37.60 | 0 |
|  | Sequence 2 | 1st visit | 16 | 36.50 | 0.35 | 36.45 | 36.00 | 37.00 | 0 |
|  |  | 2nd visit | 15 | 36.55 | 0.44 | 36.40 | 35.90 | 37.40 | 0 |
|  |  | Total | 31 | 36.53 | 0.39 | 36.40 | 35.90 | 37.40 | 0 |
| Before second administration of Ensure (day 2) | Sequence 1 | 1st visit | 15 | 36.75 | 0.50 | 36.70 | 36.00 | 37.90 | 0 |
|  |  | 2nd visit | 15 | 36.70 | 0.62 | 36.80 | 35.10 | 37.50 | 0 |
|  |  | Total | 30 | 36.73 | 0.55 | 36.80 | 35.10 | 37.90 | 0 |
|  | Sequence 2 | 1st visit | 16 | 36.75 | 0.23 | 36.75 | 36.30 | 37.10 | 0 |
|  |  | 2nd visit | 15 | 37.01 | 0.56 | 37.00 | 36.00 | 37.90 | 0 |
|  |  | Total | 31 | 36.88 | 0.43 | 36.80 | 36.00 | 37.90 | 0 |

Table 69: Dosing visits- Weight [kg] prior to administration of study medication

| Weight [kg] |  | N | Mean | Std | Median | Min | Max | NMiss |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sequence 1 | 1st visit | 15 | 71.71 | 11.38 | 67.40 | 56.60 | 101.80 | 0 |
|  | 2nd visit | 15 | 71.35 | 11.84 | 67.40 | 55.70 | 103.60 | 0 |
|  | Total | 30 | 71.53 | 11.42 | 67.40 | 55.70 | 103.60 | 0 |
| Sequence 2 | 1st visit | 16 | 66.78 | 8.56 | 65.50 | 52.40 | 81.20 | 0 |
|  | 2nd visit | 15 | 67.07 | 8.56 | 66.30 | 52.70 | 80.40 | 0 |
|  | Total | 31 | 66.92 | 8.42 | 66.30 | 52.40 | 81.20 | 0 |
| Total | 1st visit | 31 | 69.16 | 10.17 | 67.40 | 52.40 | 101.80 | 0 |
|  | 2nd visit | 30 | 69.21 | 10.38 | 67.00 | 52.70 | 103.60 | 0 |
|  | Total | 61 | 69.19 | 10.19 | 67.40 | 52.40 | 103.60 | 0 |

Table 70: Dosing visits- Blood sample collected within the time window of +/- 5 minutes

| Blood sample collected- in time window | Sequence 1 |  |  |  | Sequence 2 |  |  |  | Total |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1st visit |  | 2nd visit |  | 1st visit |  | 2nd visit |  | 1st visit |  | 2nd visit |  |
|  | N | % | N | % | N | % | N | % | N | % | N | % |
| No | 15 | 4.76 | 7 | 2.22 | 22 | 6.55 | . | . | 37 | 5.68 | 7 | 1.11 |
| Yes | 300 | 95.24 | 308 | 97.78 | 314 | 93.45 | 314 | 99.68 | 614 | 94.32 | 622 | 98.73 |
| Missing | . | . | . | . | . | . | 1 | 0.32 | . | . | 1 | 0.16 |
| Total | 315 | 100.00 | 315 | 100.00 | 336 | 100.00 | 315 | 100.00 | 651 | 100.00 | 630 | 100.00 |

Table 71: Dosing visits- Blood sample collected for PK dapagliflozin (event based)

| Blood sample collected for PK dapagliflozin |  | Sequence 1 |  |  |  | Sequence 2 |  |  |  | Total |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 1st visit |  | 2nd visit |  | 1st visit |  | 2nd visit |  | 1st visit |  | 2nd visit |  |
|  |  | N | % | N | % | N | % | N | % | N | % | N | % |
| Before administration of study medication | Yes | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |
| Before first administration of Ensure | Yes | 120 | 100.00 | 120 | 100.00 | 126 | 98.44 | 119 | 99.17 | 246 | 99.19 | 239 | 99.58 |
|  | Missing | . | . | . | . | 2 | 1.56 | 1 | 0.83 | 2 | 0.81 | 1 | 0.42 |
|  | Total | 120 | 100.00 | 120 | 100.00 | 128 | 100.00 | 120 | 100.00 | 248 | 100.00 | 240 | 100.00 |
| Before second administration of Ensure | Yes | 45 | 100.00 | 45 | 100.00 | 46 | 95.83 | 45 | 100.00 | 91 | 97.85 | 90 | 100.00 |
|  | Missing | . | . | . | . | 2 | 4.17 | . | . | 2 | 2.15 | . | . |
|  | Total | 45 | 100.00 | 45 | 100.00 | 48 | 100.00 | 45 | 100.00 | 93 | 100.00 | 90 | 100.00 |
| After second administration of Ensure | Yes | 29 | 96.67 | 30 | 100.00 | 32 | 100.00 | 30 | 100.00 | 61 | 98.39 | 60 | 100.00 |
|  | Missing | 1 | 3.33 | . | . | . | . | . | . | 1 | 1.61 | . | . |
|  | Total | 30 | 100.00 | 30 | 100.00 | 32 | 100.00 | 30 | 100.00 | 62 | 100.00 | 60 | 100.00 |
| Total | Yes | 209 | 99.52 | 210 | 100.00 | 220 | 98.21 | 209 | 99.52 | 429 | 98.85 | 419 | 99.76 |
|  | Missing | 1 | 0.48 | . | . | 4 | 1.79 | 1 | 0.48 | 5 | 1.15 | 1 | 0.24 |
|  | Total | 210 | 100.00 | 210 | 100.00 | 224 | 100.00 | 210 | 100.00 | 434 | 100.00 | 420 | 100.00 |

Table 72: Dosing visits- Capillary glucose [mg/dl]

| Capillary glucose [mg/dl] |  |  | N | Mean | Std | Median | Min | Max | NMiss |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Before first administration of Ensure | Sequence 1 | 1st visit | 15 | 102.87 | 22.51 | 94.00 | 79.00 | 147.00 | 0 |
|  |  | 2nd visit | 15 | 115.60 | 42.40 | 115.00 | 55.00 | 207.00 | 0 |
|  |  | Total | 30 | 109.23 | 33.98 | 100.00 | 55.00 | 207.00 | 0 |
|  | Sequence 2 | 1st visit | 16 | 111.63 | 29.04 | 107.50 | 81.00 | 175.00 | 0 |
|  |  | 2nd visit | 15 | 92.00 | 10.47 | 91.00 | 75.00 | 116.00 | 0 |
|  |  | Total | 31 | 102.13 | 23.92 | 93.00 | 75.00 | 175.00 | 0 |
| Before second administration of Ensure | Sequence 1 | 1st visit | 75 | 218.73 | 72.35 | 236.00 | 71.00 | 349.00 | 0 |
|  |  | 2nd visit | 75 | 264.48 | 83.53 | 259.00 | 128.00 | 438.00 | 0 |
|  |  | Total | 150 | 241.61 | 81.19 | 240.00 | 71.00 | 438.00 | 0 |
|  | Sequence 2 | 1st visit | 80 | 255.13 | 81.95 | 247.00 | 104.00 | 462.00 | 0 |
|  |  | 2nd visit | 75 | 224.57 | 76.10 | 233.00 | 93.00 | 403.00 | 0 |
|  |  | Total | 155 | 240.34 | 80.39 | 239.00 | 93.00 | 462.00 | 0 |
| After second administration of Ensure | Sequence 1 | 1st visit | 60 | 259.35 | 67.06 | 263.50 | 120.00 | 389.00 | 0 |
|  |  | 2nd visit | 60 | 310.50 | 65.58 | 324.00 | 161.00 | 440.00 | 0 |
|  |  | Total | 120 | 284.93 | 70.86 | 291.00 | 120.00 | 440.00 | 0 |
|  | Sequence 2 | 1st visit | 63 | 304.79 | 68.06 | 297.00 | 175.00 | 417.00 | 1 |
|  |  | 2nd visit | 60 | 278.70 | 67.46 | 286.00 | 135.00 | 452.00 | 0 |
|  |  | Total | 123 | 292.07 | 68.74 | 292.00 | 135.00 | 452.00 | 1 |

Table 73: Dosing visits- Blood sample collected for GLP GIP Glucagon

| Blood sample collected for GLP, GIP, Glucagon |  | Sequence 1 |  |  |  | Sequence 2 |  |  |  | Total |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 1st visit |  | 2nd visit |  | 1st visit |  | 2nd visit |  | 1st visit |  | 2nd visit |  |
|  |  | N | % | N | % | N | % | N | % | N | % | N | % |
| Before first administration of Ensure | Yes | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |
| Before second administration of Ensure | Yes | 90 | 100.00 | 89 | 98.89 | 96 | 100.00 | 89 | 98.89 | 186 | 100.00 | 178 | 98.89 |
|  | Missing | . | . | 1 | 1.11 | . | . | 1 | 1.11 | . | . | 2 | 1.11 |
|  | Total | 90 | 100.00 | 90 | 100.00 | 96 | 100.00 | 90 | 100.00 | 186 | 100.00 | 180 | 100.00 |
| After second administration of Ensure | Yes | 72 | 96.00 | 75 | 100.00 | 78 | 97.50 | 75 | 100.00 | 150 | 96.77 | 150 | 100.00 |
|  | Missing | 3 | 4.00 | . | . | 2 | 2.50 | . | . | 5 | 3.23 | . | . |
|  | Total | 75 | 100.00 | 75 | 100.00 | 80 | 100.00 | 75 | 100.00 | 155 | 100.00 | 150 | 100.00 |

Table 74: Dosing visits- Average concentration of GLP-1 active in blood samples [pmol/l]

| GLP active |  |  | N | Mean | Std | Median | Min | Max | NMiss |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sequence 1 | 1st visit | At study drug administration | 8 | 2.00 | 3.03 | 0.54 | 0.14 | 8.18 | 0 |
|  |  | 1 hour after study drug administration | 8 | 3.84 | 2.79 | 2.71 | 1.11 | 9.01 | 0 |
|  |  | 1.5 hours after study drug administration | 8 | 3.81 | 3.46 | 2.34 | 1.38 | 10.12 | 0 |
|  |  | 2 hours after study drug administration | 8 | 3.36 | 2.80 | 1.91 | 1.35 | 8.94 | 0 |
|  |  | 2.5 hours after study drug administration | 8 | 3.56 | 3.88 | 1.70 | 1.04 | 11.84 | 0 |
|  |  | 4.5 hours after study drug administration | 8 | 2.58 | 3.08 | 1.17 | 0.37 | 8.47 | 0 |
|  |  | Total | 48 | 3.19 | 3.10 | 1.74 | 0.14 | 11.84 | 0 |
|  | 2nd visit | At study drug administration | 8 | 1.84 | 2.34 | 0.69 | 0.33 | 5.93 | 0 |
|  |  | 1 hour after study drug administration | 8 | 5.37 | 4.49 | 3.20 | 1.35 | 14.09 | 0 |
|  |  | 1.5 hours after study drug administration | 8 | 4.35 | 3.44 | 3.14 | 0.96 | 10.10 | 0 |
|  |  | 2 hours after study drug administration | 8 | 4.11 | 3.14 | 2.26 | 1.53 | 9.48 | 0 |
|  |  | 2.5 hours after study drug administration | 8 | 3.85 | 2.56 | 3.09 | 1.67 | 8.39 | 0 |
|  |  | 4.5 hours after study drug administration | 8 | 0.59 | 0.22 | 0.54 | 0.35 | 0.95 | 0 |
|  |  | Total | 48 | 3.35 | 3.27 | 1.91 | 0.33 | 14.09 | 0 |
| Sequence 2 | 1st visit | At study drug administration | 6 | 0.36 | 0.18 | 0.39 | 0.11 | 0.54 | 0 |
|  |  | 1 hour after study drug administration | 7 | 7.73 | 13.13 | 2.53 | 1.49 | 37.36 | 0 |
|  |  | 1.5 hours after study drug administration | 7 | 4.64 | 4.56 | 2.97 | 1.91 | 14.79 | 0 |
|  |  | 2 hours after study drug administration | 7 | 3.18 | 1.56 | 2.60 | 1.56 | 5.62 | 0 |
|  |  | 2.5 hours after study drug administration | 7 | 3.27 | 2.31 | 2.52 | 1.28 | 7.41 | 0 |
|  |  | 4.5 hours after study drug administration | 7 | 1.42 | 1.79 | 0.82 | 0.22 | 5.38 | 0 |
|  |  | Total | 41 | 3.50 | 6.02 | 1.96 | 0.11 | 37.36 | 0 |
|  | 2nd visit | At study drug administration | 7 | 1.14 | 2.10 | 0.29 | 0.14 | 5.86 | 0 |
|  |  | 1 hour after study drug administration | 7 | 3.74 | 2.11 | 3.57 | 1.55 | 7.25 | 0 |
|  |  | 1.5 hours after study drug administration | 7 | 3.86 | 3.25 | 2.38 | 1.59 | 10.50 | 0 |
|  |  | 2 hours after study drug administration | 7 | 3.53 | 2.38 | 2.17 | 1.65 | 8.18 | 0 |
|  |  | 2.5 hours after study drug administration | 7 | 2.50 | 2.00 | 2.10 | 0.59 | 6.60 | 0 |
|  |  | 4.5 hours after study drug administration | 7 | 1.72 | 2.42 | 0.74 | 0.22 | 7.10 | 0 |
|  |  | Total | 42 | 2.75 | 2.50 | 2.05 | 0.14 | 10.50 | 0 |
| Total | 1st visit | At study drug administration | 14 | 1.30 | 2.38 | 0.43 | 0.11 | 8.18 | 0 |
|  |  | 1 hour after study drug administration | 15 | 5.65 | 9.05 | 2.53 | 1.11 | 37.36 | 0 |
|  |  | 1.5 hours after study drug administration | 15 | 4.19 | 3.88 | 2.56 | 1.38 | 14.79 | 0 |
|  |  | 2 hours after study drug administration | 15 | 3.28 | 2.23 | 2.10 | 1.35 | 8.94 | 0 |
|  |  | 2.5 hours after study drug administration | 15 | 3.42 | 3.14 | 1.89 | 1.04 | 11.84 | 0 |
|  |  | 4.5 hours after study drug administration | 15 | 2.04 | 2.55 | 0.82 | 0.22 | 8.47 | 0 |
|  |  | Total | 89 | 3.34 | 4.65 | 1.89 | 0.11 | 37.36 | 0 |
|  | 2nd visit | At study drug administration | 15 | 1.51 | 2.18 | 0.62 | 0.14 | 5.93 | 0 |
|  |  | 1 hour after study drug administration | 15 | 4.61 | 3.56 | 3.53 | 1.35 | 14.09 | 0 |
|  |  | 1.5 hours after study drug administration | 15 | 4.12 | 3.24 | 2.38 | 0.96 | 10.50 | 0 |
|  |  | 2 hours after study drug administration | 15 | 3.84 | 2.73 | 2.17 | 1.53 | 9.48 | 0 |
|  |  | 2.5 hours after study drug administration | 15 | 3.22 | 2.34 | 2.14 | 0.59 | 8.39 | 0 |
|  |  | 4.5 hours after study drug administration | 15 | 1.12 | 1.69 | 0.63 | 0.22 | 7.10 | 0 |
|  |  | Total | 90 | 3.07 | 2.94 | 2.02 | 0.14 | 14.09 | 0 |

Table 75: Dosing visits- Average concentration of GLP-1 total in blood samples [pg/ml]

| GLP total |  |  | N | Mean | Std | Median | Min | Max | NMiss |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sequence 1 | 1st visit | At study drug administration | 8 | 14.98 | 14.47 | 8.16 | 4.50 | 39.82 | 0 |
|  |  | 1 hour after study drug administration | 8 | 30.06 | 13.72 | 27.03 | 12.79 | 53.39 | 0 |
|  |  | 1.5 hours after study drug administration | 8 | 28.33 | 10.27 | 26.79 | 16.28 | 46.85 | 0 |
|  |  | 2 hours after study drug administration | 8 | 27.17 | 9.44 | 25.44 | 15.03 | 43.87 | 0 |
|  |  | 2.5 hours after study drug administration | 8 | 26.66 | 12.73 | 22.57 | 11.95 | 49.18 | 0 |
|  |  | 4.5 hours after study drug administration | 8 | 20.48 | 11.73 | 17.80 | 8.97 | 38.53 | 0 |
|  |  | Total | 48 | 24.61 | 12.68 | 23.03 | 4.50 | 53.39 | 0 |
|  | 2nd visit | At study drug administration | 8 | 14.32 | 10.27 | 9.81 | 5.91 | 30.90 | 0 |
|  |  | 1 hour after study drug administration | 8 | 37.59 | 26.21 | 30.56 | 16.70 | 98.41 | 0 |
|  |  | 1.5 hours after study drug administration | 8 | 31.61 | 15.11 | 30.34 | 12.35 | 56.92 | 0 |
|  |  | 2 hours after study drug administration | 8 | 31.36 | 15.23 | 24.45 | 16.90 | 56.66 | 0 |
|  |  | 2.5 hours after study drug administration | 8 | 27.72 | 10.50 | 24.24 | 16.08 | 40.50 | 0 |
|  |  | 4.5 hours after study drug administration | 8 | 17.01 | 12.61 | 12.30 | 7.41 | 38.59 | 0 |
|  |  | Total | 48 | 26.60 | 17.23 | 23.81 | 5.91 | 98.41 | 0 |
| Sequence 2 | 1st visit | At study drug administration | 6 | 5.22 | 0.89 | 5.31 | 3.78 | 6.17 | 0 |
|  |  | 1 hour after study drug administration | 7 | 57.89 | 83.22 | 21.59 | 16.49 | 243.39 | 0 |
|  |  | 1.5 hours after study drug administration | 7 | 41.37 | 40.27 | 24.29 | 18.95 | 131.88 | 0 |
|  |  | 2 hours after study drug administration | 7 | 28.73 | 13.47 | 27.58 | 17.21 | 56.27 | 0 |
|  |  | 2.5 hours after study drug administration | 7 | 27.22 | 13.94 | 19.25 | 15.64 | 48.38 | 0 |
|  |  | 4.5 hours after study drug administration | 7 | 15.08 | 12.27 | 10.87 | 6.98 | 42.37 | 0 |
|  |  | Total | 41 | 29.84 | 40.65 | 18.95 | 3.78 | 243.39 | 0 |
|  | 2nd visit | At study drug administration | 7 | 10.49 | 11.34 | 7.53 | 3.83 | 35.75 | 0 |
|  |  | 1 hour after study drug administration | 7 | 31.90 | 14.05 | 28.74 | 13.79 | 47.29 | 0 |
|  |  | 1.5 hours after study drug administration | 7 | 31.41 | 13.93 | 26.58 | 16.69 | 53.40 | 0 |
|  |  | 2 hours after study drug administration | 7 | 31.20 | 13.74 | 24.70 | 16.04 | 50.81 | 0 |
|  |  | 2.5 hours after study drug administration | 7 | 25.15 | 9.24 | 24.12 | 11.98 | 42.31 | 0 |
|  |  | 4.5 hours after study drug administration | 7 | 14.51 | 10.14 | 11.24 | 7.31 | 37.09 | 0 |
|  |  | Total | 42 | 24.11 | 14.38 | 21.78 | 3.83 | 53.40 | 0 |
| Total | 1st visit | At study drug administration | 14 | 10.80 | 11.75 | 6.11 | 3.78 | 39.82 | 0 |
|  |  | 1 hour after study drug administration | 15 | 43.05 | 57.18 | 25.08 | 12.79 | 243.39 | 0 |
|  |  | 1.5 hours after study drug administration | 15 | 34.42 | 28.16 | 25.17 | 16.28 | 131.88 | 0 |
|  |  | 2 hours after study drug administration | 15 | 27.89 | 11.09 | 27.45 | 15.03 | 56.27 | 0 |
|  |  | 2.5 hours after study drug administration | 15 | 26.92 | 12.82 | 22.55 | 11.95 | 49.18 | 0 |
|  |  | 4.5 hours after study drug administration | 15 | 17.96 | 11.88 | 12.41 | 6.98 | 42.37 | 0 |
|  |  | Total | 89 | 27.02 | 29.05 | 21.63 | 3.78 | 243.39 | 0 |
|  | 2nd visit | At study drug administration | 15 | 12.53 | 10.57 | 8.10 | 3.83 | 35.75 | 0 |
|  |  | 1 hour after study drug administration | 15 | 34.93 | 20.90 | 28.87 | 13.79 | 98.41 | 0 |
|  |  | 1.5 hours after study drug administration | 15 | 31.52 | 14.05 | 26.58 | 12.35 | 56.92 | 0 |
|  |  | 2 hours after study drug administration | 15 | 31.28 | 14.03 | 24.70 | 16.04 | 56.66 | 0 |
|  |  | 2.5 hours after study drug administration | 15 | 26.52 | 9.67 | 24.12 | 11.98 | 42.31 | 0 |
|  |  | 4.5 hours after study drug administration | 15 | 15.84 | 11.19 | 11.68 | 7.31 | 38.59 | 0 |
|  |  | Total | 90 | 25.44 | 15.93 | 22.68 | 3.83 | 98.41 | 0 |

Table 76: Dosing visits- Average concentration of GIP in blood samples [pg/ml]

| GIP |  |  | N | Mean | Std | Median | Min | Max | NMiss |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sequence 1 | 1st visit | At study drug administration | 8 | 52.73 | 22.90 | 45.95 | 31.40 | 103.70 | 0 |
|  |  | 1 hour after study drug administration | 8 | 385.05 | 98.59 | 359.20 | 266.50 | 569.40 | 0 |
|  |  | 1.5 hours after study drug administration | 8 | 465.34 | 126.63 | 476.40 | 274.80 | 621.10 | 0 |
|  |  | 2 hours after study drug administration | 8 | 426.79 | 120.94 | 406.85 | 287.80 | 620.40 | 0 |
|  |  | 2.5 hours after study drug administration | 8 | 348.10 | 79.32 | 365.15 | 207.60 | 430.40 | 0 |
|  |  | 4.5 hours after study drug administration | 8 | 274.14 | 193.95 | 238.25 | 79.00 | 699.70 | 0 |
|  |  | Total | 48 | 325.36 | 177.51 | 349.70 | 31.40 | 699.70 | 0 |
|  | 2nd visit | At study drug administration | 8 | 55.94 | 28.03 | 43.10 | 32.50 | 105.10 | 0 |
|  |  | 1 hour after study drug administration | 8 | 427.53 | 172.32 | 386.20 | 203.70 | 711.80 | 0 |
|  |  | 1.5 hours after study drug administration | 8 | 451.64 | 106.27 | 412.35 | 358.20 | 668.70 | 0 |
|  |  | 2 hours after study drug administration | 8 | 415.15 | 102.58 | 408.85 | 289.70 | 581.90 | 0 |
|  |  | 2.5 hours after study drug administration | 8 | 382.76 | 137.17 | 411.25 | 198.10 | 570.70 | 0 |
|  |  | 4.5 hours after study drug administration | 8 | 193.20 | 102.05 | 162.60 | 90.60 | 397.30 | 0 |
|  |  | Total | 48 | 321.04 | 184.05 | 356.50 | 32.50 | 711.80 | 0 |
| Sequence 2 | 1st visit | At study drug administration | 6 | 57.45 | 29.74 | 46.30 | 36.60 | 116.10 | 0 |
|  |  | 1 hour after study drug administration | 7 | 642.20 | 311.90 | 511.00 | 358.20 | 1239.70 | 0 |
|  |  | 1.5 hours after study drug administration | 7 | 492.61 | 138.50 | 468.90 | 330.50 | 654.70 | 0 |
|  |  | 2 hours after study drug administration | 7 | 463.73 | 177.97 | 419.50 | 193.20 | 727.10 | 0 |
|  |  | 2.5 hours after study drug administration | 7 | 395.73 | 155.90 | 359.50 | 159.30 | 644.90 | 0 |
|  |  | 4.5 hours after study drug administration | 7 | 177.47 | 86.62 | 215.20 | 56.30 | 295.60 | 0 |
|  |  | Total | 41 | 379.19 | 255.75 | 358.20 | 36.60 | 1239.70 | 0 |
|  | 2nd visit | At study drug administration | 6 | 61.15 | 22.34 | 62.05 | 33.80 | 92.40 | 1 |
|  |  | 1 hour after study drug administration | 7 | 465.87 | 99.00 | 506.80 | 301.00 | 575.50 | 0 |
|  |  | 1.5 hours after study drug administration | 7 | 592.44 | 212.03 | 677.70 | 225.70 | 773.50 | 0 |
|  |  | 2 hours after study drug administration | 7 | 536.86 | 191.99 | 660.50 | 215.40 | 685.40 | 0 |
|  |  | 2.5 hours after study drug administration | 7 | 498.21 | 128.66 | 530.40 | 250.20 | 611.20 | 0 |
|  |  | 4.5 hours after study drug administration | 7 | 206.99 | 104.24 | 177.90 | 87.00 | 398.90 | 0 |
|  |  | Total | 41 | 401.70 | 232.08 | 445.10 | 33.80 | 773.50 | 1 |
| Total | 1st visit | At study drug administration | 14 | 54.75 | 25.07 | 45.95 | 31.40 | 116.10 | 0 |
|  |  | 1 hour after study drug administration | 15 | 505.05 | 253.35 | 405.50 | 266.50 | 1239.70 | 0 |
|  |  | 1.5 hours after study drug administration | 15 | 478.07 | 128.21 | 468.90 | 274.80 | 654.70 | 0 |
|  |  | 2 hours after study drug administration | 15 | 444.03 | 145.78 | 409.10 | 193.20 | 727.10 | 0 |
|  |  | 2.5 hours after study drug administration | 15 | 370.33 | 119.03 | 359.50 | 159.30 | 644.90 | 0 |
|  |  | 4.5 hours after study drug administration | 15 | 229.03 | 156.58 | 215.20 | 56.30 | 699.70 | 0 |
|  |  | Total | 89 | 350.16 | 217.46 | 350.40 | 31.40 | 1239.70 | 0 |
|  | 2nd visit | At study drug administration | 14 | 58.17 | 24.94 | 49.00 | 32.50 | 105.10 | 1 |
|  |  | 1 hour after study drug administration | 15 | 445.42 | 139.43 | 445.10 | 203.70 | 711.80 | 0 |
|  |  | 1.5 hours after study drug administration | 15 | 517.35 | 173.78 | 437.80 | 225.70 | 773.50 | 0 |
|  |  | 2 hours after study drug administration | 15 | 471.95 | 158.14 | 470.20 | 215.40 | 685.40 | 0 |
|  |  | 2.5 hours after study drug administration | 15 | 436.64 | 141.62 | 452.30 | 198.10 | 611.20 | 0 |
|  |  | 4.5 hours after study drug administration | 15 | 199.63 | 99.57 | 166.80 | 87.00 | 398.90 | 0 |
|  |  | Total | 89 | 358.19 | 210.26 | 368.90 | 32.50 | 773.50 | 1 |

Table 77: Dosing visits- Average concentration of Glucagon in blood samples [pmol/l]

| Glucagon |  |  | N | Mean | Std | Median | Min | Max | NMiss |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sequence 1 | 1st visit | At study drug administration | 8 | 42.94 | 5.05 | 43.15 | 34.40 | 50.20 | 0 |
|  |  | 1 hour after study drug administration | 8 | 53.41 | 8.97 | 52.00 | 42.50 | 65.10 | 0 |
|  |  | 1.5 hours after study drug administration | 8 | 58.25 | 7.39 | 59.40 | 43.80 | 66.70 | 0 |
|  |  | 2 hours after study drug administration | 8 | 55.24 | 8.14 | 55.20 | 42.50 | 68.00 | 0 |
|  |  | 2.5 hours after study drug administration | 8 | 48.05 | 7.18 | 45.75 | 40.30 | 62.60 | 0 |
|  |  | 4.5 hours after study drug administration | 8 | 49.35 | 6.71 | 51.25 | 40.70 | 56.80 | 0 |
|  |  | Total | 48 | 51.21 | 8.61 | 50.05 | 34.40 | 68.00 | 0 |
|  | 2nd visit | At study drug administration | 8 | 40.04 | 9.04 | 37.55 | 31.40 | 56.60 | 0 |
|  |  | 1 hour after study drug administration | 8 | 54.99 | 15.08 | 52.10 | 36.90 | 78.90 | 0 |
|  |  | 1.5 hours after study drug administration | 8 | 53.84 | 12.13 | 52.90 | 38.60 | 70.30 | 0 |
|  |  | 2 hours after study drug administration | 8 | 50.88 | 9.48 | 48.70 | 37.90 | 67.20 | 0 |
|  |  | 2.5 hours after study drug administration | 8 | 45.88 | 6.27 | 43.40 | 39.50 | 59.60 | 0 |
|  |  | 4.5 hours after study drug administration | 8 | 41.86 | 6.09 | 41.35 | 34.60 | 50.80 | 0 |
|  |  | Total | 48 | 47.91 | 11.23 | 45.60 | 31.40 | 78.90 | 0 |
| Sequence 2 | 1st visit | At study drug administration | 7 | 40.39 | 4.82 | 40.20 | 34.80 | 47.40 | 0 |
|  |  | 1 hour after study drug administration | 7 | 57.74 | 18.34 | 53.50 | 46.00 | 97.90 | 0 |
|  |  | 1.5 hours after study drug administration | 7 | 52.26 | 7.47 | 48.90 | 44.80 | 62.90 | 0 |
|  |  | 2 hours after study drug administration | 7 | 50.37 | 7.59 | 49.00 | 43.30 | 64.20 | 0 |
|  |  | 2.5 hours after study drug administration | 7 | 52.19 | 8.22 | 50.60 | 42.20 | 64.00 | 0 |
|  |  | 4.5 hours after study drug administration | 7 | 44.66 | 3.07 | 46.00 | 40.90 | 47.50 | 0 |
|  |  | Total | 42 | 49.60 | 10.63 | 47.40 | 34.80 | 97.90 | 0 |
|  | 2nd visit | At study drug administration | 7 | 41.33 | 4.21 | 41.60 | 35.40 | 47.20 | 0 |
|  |  | 1 hour after study drug administration | 7 | 50.43 | 6.06 | 50.30 | 42.30 | 59.10 | 0 |
|  |  | 1.5 hours after study drug administration | 7 | 54.39 | 7.94 | 53.20 | 44.80 | 66.50 | 0 |
|  |  | 2 hours after study drug administration | 7 | 52.69 | 7.72 | 51.00 | 45.10 | 63.10 | 0 |
|  |  | 2.5 hours after study drug administration | 7 | 50.21 | 6.97 | 53.50 | 40.00 | 58.30 | 0 |
|  |  | 4.5 hours after study drug administration | 7 | 43.34 | 3.61 | 44.00 | 37.30 | 49.40 | 0 |
|  |  | Total | 42 | 48.73 | 7.63 | 46.90 | 35.40 | 66.50 | 0 |
| Total | 1st visit | At study drug administration | 15 | 41.75 | 4.94 | 41.30 | 34.40 | 50.20 | 0 |
|  |  | 1 hour after study drug administration | 15 | 55.43 | 13.76 | 53.50 | 42.50 | 97.90 | 0 |
|  |  | 1.5 hours after study drug administration | 15 | 55.45 | 7.80 | 56.80 | 43.80 | 66.70 | 0 |
|  |  | 2 hours after study drug administration | 15 | 52.97 | 8.01 | 50.30 | 42.50 | 68.00 | 0 |
|  |  | 2.5 hours after study drug administration | 15 | 49.98 | 7.70 | 47.20 | 40.30 | 64.00 | 0 |
|  |  | 4.5 hours after study drug administration | 15 | 47.16 | 5.69 | 47.40 | 40.70 | 56.80 | 0 |
|  |  | Total | 90 | 50.46 | 9.58 | 47.50 | 34.40 | 97.90 | 0 |
|  | 2nd visit | At study drug administration | 15 | 40.64 | 6.99 | 40.70 | 31.40 | 56.60 | 0 |
|  |  | 1 hour after study drug administration | 15 | 52.86 | 11.62 | 50.30 | 36.90 | 78.90 | 0 |
|  |  | 1.5 hours after study drug administration | 15 | 54.09 | 10.03 | 53.20 | 38.60 | 70.30 | 0 |
|  |  | 2 hours after study drug administration | 15 | 51.72 | 8.45 | 50.00 | 37.90 | 67.20 | 0 |
|  |  | 2.5 hours after study drug administration | 15 | 47.90 | 6.75 | 46.60 | 39.50 | 59.60 | 0 |
|  |  | 4.5 hours after study drug administration | 15 | 42.55 | 4.97 | 44.00 | 34.60 | 50.80 | 0 |
|  |  | Total | 90 | 48.29 | 9.68 | 46.20 | 31.40 | 78.90 | 0 |

Table 78: Dosing visits- Average concentration of Iso-Insulin in blood samples [mU/L]

| Iso-Insulin |  |  | N | Mean | Std | Median | Min | Max | NMiss |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sequence 1 | 1st visit | At study drug administration | 8 | 18.14 | 4.25 | 18.40 | 10.30 | 23.50 | 0 |
|  |  | 1 hour after study drug administration | 8 | 16.48 | 7.97 | 16.95 | 6.40 | 25.30 | 0 |
|  |  | 1.5 hours after study drug administration | 8 | 22.34 | 7.44 | 23.00 | 7.20 | 29.60 | 0 |
|  |  | 2 hours after study drug administration | 8 | 31.44 | 8.31 | 34.20 | 16.70 | 40.40 | 0 |
|  |  | 2.5 hours after study drug administration | 8 | 33.68 | 8.87 | 32.80 | 20.70 | 49.70 | 0 |
|  |  | 4.5 hours after study drug administration | 8 | 32.44 | 8.18 | 32.50 | 21.90 | 46.40 | 0 |
|  |  | Total | 48 | 25.75 | 10.13 | 24.65 | 6.40 | 49.70 | 0 |
|  | 2nd visit | At study drug administration | 8 | 25.76 | 9.92 | 25.35 | 13.40 | 43.40 | 0 |
|  |  | 1 hour after study drug administration | 8 | 20.50 | 7.65 | 21.25 | 6.70 | 29.80 | 0 |
|  |  | 1.5 hours after study drug administration | 8 | 22.64 | 5.67 | 23.30 | 14.80 | 32.10 | 0 |
|  |  | 2 hours after study drug administration | 8 | 27.48 | 7.16 | 28.05 | 16.80 | 35.90 | 0 |
|  |  | 2.5 hours after study drug administration | 8 | 31.99 | 4.03 | 32.10 | 25.50 | 37.50 | 0 |
|  |  | 4.5 hours after study drug administration | 8 | 38.49 | 21.18 | 30.40 | 24.10 | 89.00 | 0 |
|  |  | Total | 48 | 27.81 | 11.91 | 26.95 | 6.70 | 89.00 | 0 |
| Sequence 2 | 1st visit | At study drug administration | 6 | 18.12 | 9.28 | 21.45 | 5.10 | 28.00 | 0 |
|  |  | 1 hour after study drug administration | 7 | 16.33 | 10.27 | 16.90 | 5.10 | 34.90 | 0 |
|  |  | 1.5 hours after study drug administration | 7 | 20.49 | 7.22 | 23.30 | 7.20 | 29.00 | 0 |
|  |  | 2 hours after study drug administration | 7 | 25.21 | 4.54 | 25.00 | 17.00 | 32.30 | 0 |
|  |  | 2.5 hours after study drug administration | 7 | 27.40 | 8.84 | 26.80 | 13.40 | 38.50 | 0 |
|  |  | 4.5 hours after study drug administration | 7 | 23.77 | 9.37 | 23.50 | 12.00 | 33.90 | 0 |
|  |  | Total | 41 | 21.98 | 8.84 | 23.30 | 5.10 | 38.50 | 0 |
|  | 2nd visit | At study drug administration | 7 | 13.64 | 7.54 | 11.20 | 5.90 | 24.30 | 0 |
|  |  | 1 hour after study drug administration | 7 | 14.19 | 7.63 | 14.30 | 4.60 | 22.90 | 0 |
|  |  | 1.5 hours after study drug administration | 7 | 18.80 | 5.35 | 20.30 | 10.50 | 26.80 | 0 |
|  |  | 2 hours after study drug administration | 7 | 23.21 | 6.21 | 22.80 | 16.40 | 35.60 | 0 |
|  |  | 2.5 hours after study drug administration | 7 | 25.71 | 4.91 | 26.20 | 17.40 | 32.80 | 0 |
|  |  | 4.5 hours after study drug administration | 7 | 22.66 | 10.79 | 24.70 | 7.80 | 36.30 | 0 |
|  |  | Total | 42 | 19.70 | 8.28 | 21.05 | 4.60 | 36.30 | 0 |
| Total | 1st visit | At study drug administration | 14 | 18.13 | 6.55 | 18.85 | 5.10 | 28.00 | 0 |
|  |  | 1 hour after study drug administration | 15 | 16.41 | 8.77 | 16.90 | 5.10 | 34.90 | 0 |
|  |  | 1.5 hours after study drug administration | 15 | 21.47 | 7.14 | 23.30 | 7.20 | 29.60 | 0 |
|  |  | 2 hours after study drug administration | 15 | 28.53 | 7.33 | 27.40 | 16.70 | 40.40 | 0 |
|  |  | 2.5 hours after study drug administration | 15 | 30.75 | 9.13 | 29.90 | 13.40 | 49.70 | 0 |
|  |  | 4.5 hours after study drug administration | 15 | 28.39 | 9.54 | 32.10 | 12.00 | 46.40 | 0 |
|  |  | Total | 89 | 24.01 | 9.69 | 23.60 | 5.10 | 49.70 | 0 |
|  | 2nd visit | At study drug administration | 15 | 20.11 | 10.62 | 19.00 | 5.90 | 43.40 | 0 |
|  |  | 1 hour after study drug administration | 15 | 17.55 | 8.05 | 19.70 | 4.60 | 29.80 | 0 |
|  |  | 1.5 hours after study drug administration | 15 | 20.85 | 5.68 | 21.60 | 10.50 | 32.10 | 0 |
|  |  | 2 hours after study drug administration | 15 | 25.49 | 6.86 | 23.80 | 16.40 | 35.90 | 0 |
|  |  | 2.5 hours after study drug administration | 15 | 29.06 | 5.38 | 29.30 | 17.40 | 37.50 | 0 |
|  |  | 4.5 hours after study drug administration | 15 | 31.10 | 18.47 | 28.10 | 7.80 | 89.00 | 0 |
|  |  | Total | 90 | 24.03 | 11.09 | 23.75 | 4.60 | 89.00 | 0 |

Table 79: Dosing visits- Beta-hydroxybutyrate [mmol/l]

| Beta-hydroxybutyrate [mmol/l] |  |  | N | Mean | Std | Median | Min | Max | NMiss |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Before first administration of Ensure | Sequence 1 | 1st visit | 15 | 0.24 | 0.15 | 0.20 | 0.10 | 0.60 | 0 |
|  |  | 2nd visit | 15 | 0.15 | 0.09 | 0.10 | 0.00 | 0.40 | 0 |
|  |  | Total | 30 | 0.20 | 0.13 | 0.20 | 0.00 | 0.60 | 0 |
|  | Sequence 2 | 1st visit | 16 | 0.21 | 0.17 | 0.10 | 0.00 | 0.60 | 0 |
|  |  | 2nd visit | 15 | 0.22 | 0.08 | 0.20 | 0.10 | 0.30 | 0 |
|  |  | Total | 31 | 0.21 | 0.13 | 0.20 | 0.00 | 0.60 | 0 |
| Before second administration of Ensure | Sequence 1 | 1st visit | 75 | 0.25 | 0.17 | 0.20 | 0.10 | 0.80 | 0 |
|  |  | 2nd visit | 75 | 0.15 | 0.08 | 0.10 | 0.00 | 0.40 | 0 |
|  |  | Total | 150 | 0.20 | 0.14 | 0.20 | 0.00 | 0.80 | 0 |
|  | Sequence 2 | 1st visit | 80 | 0.20 | 0.18 | 0.10 | 0.00 | 0.90 | 0 |
|  |  | 2nd visit | 75 | 0.28 | 0.18 | 0.20 | 0.10 | 0.80 | 0 |
|  |  | Total | 155 | 0.24 | 0.18 | 0.20 | 0.00 | 0.90 | 0 |
| After second administration of Ensure | Sequence 1 | 1st visit | 60 | 0.35 | 0.19 | 0.30 | 0.10 | 0.90 | 0 |
|  |  | 2nd visit | 60 | 0.14 | 0.07 | 0.10 | 0.00 | 0.30 | 0 |
|  |  | Total | 120 | 0.24 | 0.18 | 0.20 | 0.00 | 0.90 | 0 |
|  | Sequence 2 | 1st visit | 63 | 0.16 | 0.11 | 0.10 | 0.10 | 0.60 | 1 |
|  |  | 2nd visit | 60 | 0.34 | 0.19 | 0.30 | 0.00 | 0.90 | 0 |
|  |  | Total | 123 | 0.25 | 0.18 | 0.20 | 0.00 | 0.90 | 1 |

Table 80: Dosing visits- Blood sample collected for blood gas analysis

| Blood sample collected for blood gas analysis |  | Sequence 1 |  |  |  | Sequence 2 |  |  |  | Total |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 1st visit |  | 2nd visit |  | 1st visit |  | 2nd visit |  | 1st visit |  | 2nd visit |  |
|  |  | N | % | N | % | N | % | N | % | N | % | N | % |
| Before first administration of Ensure | Yes | 15 | 100.00 | 14 | 93.33 | 15 | 93.75 | 15 | 100.00 | 30 | 96.77 | 29 | 96.67 |
|  | Missing | . | . | 1 | 6.67 | 1 | 6.25 | . | . | 1 | 3.23 | 1 | 3.33 |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |
| Before second administration of Ensure | Yes | 15 | 100.00 | 15 | 100.00 | 15 | 93.75 | 15 | 100.00 | 30 | 96.77 | 30 | 100.00 |
|  | Missing | . | . | . | . | 1 | 6.25 | . | . | 1 | 3.23 | . | . |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |

Table 81: Dosing visits- Dapagliflozin/placebo

| Dapagliflozin | Sequence 1 |  |  |  | Sequence 2 |  |  |  | Total |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1st visit |  | 2nd visit |  | 1st visit |  | 2nd visit |  | 1st visit |  | 2nd visit |  |
|  | N | % | N | % | N | % | N | % | N | % | N | % |
| Patients with at least one administration of study medication | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |
| Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |

Patients received in median 404 ml ensure in sequence 1 and 393 ml respective 402 ml ensure in sequence 2 during first and second visit, respectively (Table 75), whereat one patient in sequence 1 did not receive a second intake of ensure (Table 76 – Table 78).

Table 82: Dosing visits- Amount of Ensure intake [ml]

| Amount of Ensure intake |  |  | N | Mean | Std | Median | Min | Max | NMiss |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| First intake of Ensure | Sequence 1 | 1st visit | 15 | 430.20 | 68.38 | 404.00 | 339.00 | 611.00 | 0 |
|  |  | 2nd visit | 15 | 430.20 | 68.38 | 404.00 | 339.00 | 611.00 | 0 |
|  |  | Total | 30 | 430.20 | 67.19 | 404.00 | 339.00 | 611.00 | 0 |
|  | Sequence 2 | 1st visit | 16 | 400.56 | 51.35 | 393.00 | 314.00 | 487.00 | 0 |
|  |  | 2nd visit | 15 | 402.27 | 52.78 | 402.00 | 314.00 | 487.00 | 0 |
|  |  | Total | 31 | 401.39 | 51.18 | 402.00 | 314.00 | 487.00 | 0 |
| Second intake of Ensure | Sequence 1 | 1st visit | 15 | 430.20 | 68.38 | 404.00 | 339.00 | 611.00 | 0 |
|  |  | 2nd visit | 15 | 397.67 | 128.79 | 404.00 | 0.00 | 611.00 | 0 |
|  |  | Total | 30 | 413.93 | 102.65 | 404.00 | 0.00 | 611.00 | 0 |
|  | Sequence 2 | 1st visit | 16 | 400.56 | 51.35 | 393.00 | 314.00 | 487.00 | 0 |
|  |  | 2nd visit | 15 | 402.27 | 52.78 | 402.00 | 314.00 | 487.00 | 0 |
|  |  | Total | 31 | 401.39 | 51.18 | 402.00 | 314.00 | 487.00 | 0 |

Table 83: Dosing visits- Total amount of Ensure intake

| Total amount of Ensure intake |  | Sequence 1 |  |  |  | Sequence 2 |  |  |  | Total |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 1st visit |  | 2nd visit |  | 1st visit |  | 2nd visit |  | 1st visit |  | 2nd visit |  |
|  |  | N | % | N | % | N | % | N | % | N | % | N | % |
| First intake of Ensure | Yes | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |
| Second intake of Ensure | No | . | . | 1 | 6.67 | . | . | . | . | . | . | 1 | 3.33 |
|  | Yes | 15 | 100.00 | 14 | 93.33 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 29 | 96.67 |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |

Table 84: Dosing visits- No intake: Amount of Ensure [ml]

| No intake: amount of Ensure |  |  | N | Mean | Std | Median | Min | Max | NMiss |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Second intake of Ensure | Sequence 1 | 2nd visit | 1 | 485.00 | . | 485.00 | 485.00 | 485.00 | 0 |
|  |  | Total | 1 | 485.00 | . | 485.00 | 485.00 | 485.00 | 0 |

Table 85: Dosing visits- Total amount of Ensure intake [%]

| Total amount of Ensure intake [%] |  | Sequence 1 |  |  |  | Sequence 2 |  |  |  | Total |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 1st visit |  | 2nd visit |  | 1st visit |  | 2nd visit |  | 1st visit |  | 2nd visit |  |
|  |  | N | % | N | % | N | % | N | % | N | % | N | % |
| First intake of Ensure | 100 % | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |
| Second intake of Ensure | 0 % | . | . | 1 | 6.67 | . | . | . | . | . | . | 1 | 3.33 |
|  | 100 % | 15 | 100.00 | 14 | 93.33 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 29 | 96.67 |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |

96.7 % of the 24 h urine probes were collected within the time window of +/- 5 minutes according to protocol (Table 79). Urine sample was collected for all patients during dosing visits (Table 80). 83.3 % of these urine probes were collected within the time window of +/- 5 minutes according to protocol (Table 81). The median amount of insulin used in 24 h per kg bodyweight was much less in patients treated with dapagliflozin in comparison to placebo (Table 84). Detailed information on insulin levels at start and end of connection to DreaMed System can be seen in Table 82 and Table 83.

Table 86: Dosing visits- 24 h urine collected within the time window of +/- 5 minutes

| 24 h urine collected- in time window | Sequence 1 |  |  |  | Sequence 2 |  |  |  | Total |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1st visit |  | 2nd visit |  | 1st visit |  | 2nd visit |  | 1st visit |  | 2nd visit |  |
|  | N | % | N | % | N | % | N | % | N | % | N | % |
| No | 4 | 26.67 | 1 | 6.67 | 3 | 18.75 | . | . | 7 | 22.58 | 1 | 3.33 |
| Yes | 11 | 73.33 | 14 | 93.33 | 13 | 81.25 | 15 | 100.00 | 24 | 77.42 | 29 | 96.67 |
| Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |

Table 87: Dosing visits- Urine sample collected

| Urine sample collected | Sequence 1 |  |  |  | Sequence 2 |  |  |  | Total |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1st visit |  | 2nd visit |  | 1st visit |  | 2nd visit |  | 1st visit |  | 2nd visit |  |
|  | N | % | N | % | N | % | N | % | N | % | N | % |
| Yes | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |
| Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |

Table 88: Dosing visits- Insulin dose used in 24 h- within the time window of +/- 5 minutes

| Insulin dose used in 24 h- in time window | Sequence 1 |  |  |  | Sequence 2 |  |  |  | Total |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1st visit |  | 2nd visit |  | 1st visit |  | 2nd visit |  | 1st visit |  | 2nd visit |  |
|  | N | % | N | % | N | % | N | % | N | % | N | % |
| No | 5 | 33.33 | 3 | 20.00 | 1 | 6.25 | 2 | 13.33 | 6 | 19.35 | 5 | 16.67 |
| Yes | 10 | 66.67 | 12 | 80.00 | 15 | 93.75 | 13 | 86.67 | 25 | 80.65 | 25 | 83.33 |
| Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |

Table 89: Dosing visits- Amount of insulin at start of connection to DreaMed System [i.E.]

| Insulin at start of connection- Amount |  | N | Mean | Std | Median | Min | Max | NMiss |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sequence 1 | 1st visit | 15 | 228.59 | 58.09 | 255.00 | 102.60 | 284.70 | 0 |
|  | 2nd visit | 15 | 229.67 | 58.10 | 251.50 | 90.50 | 275.00 | 0 |
|  | Total | 30 | 229.13 | 57.09 | 253.25 | 90.50 | 284.70 | 0 |
| Sequence 2 | 1st visit | 16 | 237.39 | 41.46 | 250.10 | 159.00 | 284.00 | 0 |
|  | 2nd visit | 15 | 235.01 | 31.95 | 219.50 | 185.80 | 284.90 | 0 |
|  | Total | 31 | 236.24 | 36.57 | 237.40 | 159.00 | 284.90 | 0 |
| Total | 1st visit | 31 | 233.13 | 49.54 | 252.60 | 102.60 | 284.70 | 0 |
|  | 2nd visit | 30 | 232.34 | 46.15 | 239.50 | 90.50 | 284.90 | 0 |
|  | Total | 61 | 232.74 | 47.51 | 247.60 | 90.50 | 284.90 | 0 |

Table 90: Dosing visits- Amount of insulin at the end of connection to DreaMed System [i.E.]

| Insulin at the end of connection- Amount |  | N | Mean | Std | Median | Min | Max | NMiss |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sequence 1 | 1st visit | 15 | 193.99 | 58.90 | 208.80 | 75.40 | 261.50 | 0 |
|  | 2nd visit | 15 | 183.07 | 54.83 | 194.50 | 55.00 | 244.00 | 0 |
|  | Total | 30 | 188.53 | 56.19 | 204.20 | 55.00 | 261.50 | 0 |
| Sequence 2 | 1st visit | 16 | 203.73 | 40.69 | 215.40 | 131.90 | 255.60 | 0 |
|  | 2nd visit | 15 | 209.48 | 32.41 | 199.00 | 156.50 | 256.10 | 0 |
|  | Total | 31 | 206.51 | 36.42 | 213.90 | 131.90 | 256.10 | 0 |
| Total | 1st visit | 31 | 199.02 | 49.71 | 213.90 | 75.40 | 261.50 | 0 |
|  | 2nd visit | 30 | 196.28 | 46.25 | 197.20 | 55.00 | 256.10 | 0 |
|  | Total | 61 | 197.67 | 47.66 | 208.30 | 55.00 | 261.50 | 0 |

Table 91: Dosing visits- Amount of insulin used in 24 h [i.E./kg/24h]

| Insulin dose used in 24 h |  | N | Mean | Std | Median | Min | Max | NMiss |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sequence 1 | 1st visit | 15 | 0.47 | 0.10 | 0.46 | 0.34 | 0.68 | 0 |
|  | 2nd visit | 15 | 0.65 | 0.12 | 0.64 | 0.42 | 0.87 | 0 |
|  | Total | 30 | 0.56 | 0.14 | 0.54 | 0.34 | 0.87 | 0 |
| Sequence 2 | 1st visit | 16 | 0.50 | 0.07 | 0.49 | 0.37 | 0.62 | 0 |
|  | 2nd visit | 15 | 0.38 | 0.08 | 0.37 | 0.15 | 0.49 | 0 |
|  | Total | 31 | 0.44 | 0.10 | 0.43 | 0.15 | 0.62 | 0 |
| Total | 1st visit | 31 | 0.49 | 0.09 | 0.49 | 0.34 | 0.68 | 0 |
|  | 2nd visit | 30 | 0.51 | 0.17 | 0.49 | 0.15 | 0.87 | 0 |
|  | Total | 61 | 0.50 | 0.13 | 0.49 | 0.15 | 0.87 | 0 |

Phone calls

The phone calls were carried out with all patients (Table 85) but problems/questions were only documented in one case (Table 86, Appendix 1).

Table 92: Phone calls- Performed

| Phone calls- Performed | Sequence 1 |  |  |  | Sequence 2 |  |  |  | Total |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1st call |  | 2nd call |  | 1st call |  | 2nd call |  | 1st call |  | 2nd call |  |
|  | N | % | N | % | N | % | N | % | N | % | N | % |
| Yes | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |
| Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |

Table 93: Phone calls- Problems/questions

| Problems/questions | Sequence 1 |  |  |  | Sequence 2 |  |  |  | Total |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1st call |  | 2nd call |  | 1st call |  | 2nd call |  | 1st call |  | 2nd call |  |
|  | N | % | N | % | N | % | N | % | N | % | N | % |
| No | 15 | 100.00 | 15 | 100.00 | 15 | 93.75 | 15 | 100.00 | 30 | 96.77 | 30 | 100.00 |
| Yes | . | . | . | . | 1 | 6.25 | . | . | 1 | 3.23 | . | . |
| Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 15 | 100.00 | 31 | 100.00 | 30 | 100.00 |

Follow-up

Details concerning weight, height, systolic and diastolic blood pressure, pulse, as well as temperature during the follow-up are given in Table 87 and Table 88. Physical examination of the skin revealed 19 significant abnormalities at screening and 14 significant abnormalities were observed at follow-up (Table 89). Blood sample was collected for all patients at follow-up (Table 90).

Table 94: FU- Weight and height

|  | Sequence 1 N=15 (100%) | Sequence 2 N=16 (100%) | Total N=31 (100%) |
| --- | --- | --- | --- |
| Weight [kg] |  |  |  |
| N | 15 | 16 | 31 |
| NMiss | 0 | 0 | 0 |
| Mean | 71.05 | 66.48 | 68.69 |
| Std | 11.83 | 8.24 | 10.23 |
| Min | 55.60 | 51.60 | 51.60 |
| Median | 67.30 | 64.60 | 67.30 |
| Max | 102.60 | 79.20 | 102.60 |
| Height [m] |  |  |  |
| N | 15 | 16 | 31 |
| NMiss | 0 | 0 | 0 |
| Mean | 1.71 | 1.74 | 1.72 |
| Std | 0.08 | 0.10 | 0.09 |
| Min | 1.61 | 1.59 | 1.59 |
| Median | 1.69 | 1.73 | 1.69 |
| Max | 1.88 | 1.95 | 1.95 |

Table 95: FU- Vital signs

|  | Sequence 1 N=15 (100%) | Sequence 2 N=16 (100%) | Total N=31 (100%) |
| --- | --- | --- | --- |
| Systolic blood pressure [mmHg] |  |  |  |
| N | 15 | 16 | 31 |
| NMiss | 0 | 0 | 0 |
| Mean | 127.27 | 124.06 | 125.61 |
| Std | 10.18 | 9.41 | 9.76 |
| Min | 105.00 | 109.00 | 105.00 |
| Median | 130.00 | 123.50 | 127.00 |
| Max | 144.00 | 138.00 | 144.00 |
| Diastolic blood pressure [mmHg] |  |  |  |
| N | 15 | 16 | 31 |
| NMiss | 0 | 0 | 0 |
| Mean | 61.93 | 63.56 | 62.77 |
| Std | 7.34 | 6.54 | 6.87 |
| Min | 43.00 | 51.00 | 43.00 |
| Median | 62.00 | 63.50 | 63.00 |
| Max | 75.00 | 73.00 | 75.00 |
| Pulse [bpm] |  |  |  |
| N | 15 | 16 | 31 |
| NMiss | 0 | 0 | 0 |
| Mean | 77.80 | 82.00 | 79.97 |
| Std | 15.26 | 13.32 | 14.21 |
| Min | 57.00 | 61.00 | 57.00 |
| Median | 76.00 | 79.00 | 77.00 |
| Max | 109.00 | 103.00 | 109.00 |
| Temperature [oC] |  |  |  |
| N | 15 | 16 | 31 |
| NMiss | 0 | 0 | 0 |
| Mean | 36.82 | 36.84 | 36.83 |
| Std | 0.32 | 0.52 | 0.43 |
| Min | 36.20 | 36.00 | 36.00 |
| Median | 36.90 | 36.80 | 36.90 |
| Max | 37.30 | 38.10 | 38.10 |

Table 96: Physical examination

| Physical examination |  | Sequence 1 |  |  |  | Sequence 2 |  |  |  | Total |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Screening |  | FU |  | Screening |  | FU |  | Screening |  | FU |  |
|  |  | N | % | N | % | N | % | N | % | N | % | N | % |
| Neck, nose, ears, eyes, larynx, cervix | Normal | 15 | 100.00 | 14 | 93.33 | 16 | 100.00 | 14 | 87.50 | 31 | 100.00 | 28 | 90.32 |
|  | Abnormal, non-significant | . | . | 1 | 6.67 | . | . | 2 | 12.50 | . | . | 3 | 9.68 |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 16 | 100.00 | 31 | 100.00 | 31 | 100.00 |
| Respiratory tract | Normal | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 16 | 100.00 | 31 | 100.00 | 31 | 100.00 |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 16 | 100.00 | 31 | 100.00 | 31 | 100.00 |
| Cardiovascular system | Normal | 15 | 100.00 | 15 | 100.00 | 15 | 93.75 | 15 | 93.75 | 30 | 96.77 | 30 | 96.77 |
|  | Abnormal, non-significant | . | . | . | . | 1 | 6.25 | 1 | 6.25 | 1 | 3.23 | 1 | 3.23 |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 16 | 100.00 | 31 | 100.00 | 31 | 100.00 |
| Gastrointestinal tract | Normal | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 16 | 100.00 | 31 | 100.00 | 31 | 100.00 |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 16 | 100.00 | 31 | 100.00 | 31 | 100.00 |
| Musculoskeletal system | Normal | 15 | 100.00 | 15 | 100.00 | 15 | 93.75 | 15 | 93.75 | 30 | 96.77 | 30 | 96.77 |
|  | Abnormal, non-significant | . | . | . | . | 1 | 6.25 | 1 | 6.25 | 1 | 3.23 | 1 | 3.23 |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 16 | 100.00 | 31 | 100.00 | 31 | 100.00 |
| Central and peripheral nervous system | Normal | 15 | 100.00 | 15 | 100.00 | 15 | 93.75 | 16 | 100.00 | 30 | 96.77 | 31 | 100.00 |
|  | Abnormal, non-significant | . | . | . | . | 1 | 6.25 | . | . | 1 | 3.23 | . | . |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 16 | 100.00 | 31 | 100.00 | 31 | 100.00 |
| Skin | Normal | 5 | 33.33 | 7 | 46.67 | 6 | 37.50 | 9 | 56.25 | 11 | 35.48 | 16 | 51.61 |
|  | Abnormal, non-significant | 1 | 6.67 | 1 | 6.67 | . | . | . | . | 1 | 3.23 | 1 | 3.23 |
|  | Abnormal, significant | 9 | 60.00 | 7 | 46.67 | 10 | 62.50 | 7 | 43.75 | 19 | 61.29 | 14 | 45.16 |
|  | Total | 15 | 100.00 | 15 | 100.00 | 16 | 100.00 | 16 | 100.00 | 31 | 100.00 | 31 | 100.00 |

Table 97: FU- Blood sample collected

| Blood sample collected | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| Yes | 15 | 100.00 | 16 | 100.00 | 31 | 100.00 |
| Total | 15 | 100.00 | 16 | 100.00 | 31 | 100.00 |

Table 98: FU- Blood sample not collected- Reason

Blood samples were collected for all patients.

End of trial

30 out of 31 patients finished the trial regularly and one patient terminated the study prematurely due to investigator’s decision (Table 92 - Table 95).

Table 99: EOT- Reason for end

| Reason for end | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| Regular end by protocol | 15 | 100.00 | 15 | 93.75 | 30 | 96.77 |
| Withdrawal | . | . | 1 | 6.25 | 1 | 3.23 |
| Total | 15 | 100.00 | 16 | 100.00 | 31 | 100.00 |

Table 100: EOT- Violation of inclusion criteria

No randomized patient violated any inclusion criterion.

Table 101: EOT- Violation of exclusion criteria

No randomized patient violated any exclusion criterion.

Table 102: EOT- Reason for withdrawal

| Reason for withdrawal | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- |
|  | N | % | N | % |
| Investigator's decision | 1 | 100.00 | 1 | 100.00 |
| Total | 1 | 100.00 | 1 | 100.00 |

Concomitant illness

A total of 39 previous or current diseases were documented for 24 patients (Table 96 and Table 97). 37 of these were still ongoing (Table 98). Lipohypertrophy was the most commonly documented concomitant illness with a share of more than 30%, all other concomitant illnesses only occurred once or twice (Table 97).

Table 103: Patients with at least one previous or current disease

| Patients with at least one previous or current disease | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| No | 4 | 26.67 | 3 | 18.75 | 7 | 22.58 |
| Yes | 11 | 73.33 | 13 | 81.25 | 24 | 77.42 |
| Total | 15 | 100.00 | 16 | 100.00 | 31 | 100.00 |

Table 104: Previous and current diseases (multiple answers possible)

| Previous and current diseases | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| Acne vulgaris | 1 | 5.00 | . | . | 1 | 2.56 |
| Adipositas | 1 | 5.00 | 1 | 5.26 | 2 | 5.13 |
| Albuminuria | 1 | 5.00 | . | . | 1 | 2.56 |
| Arterial hypertension | 1 | 5.00 | 1 | 5.26 | 2 | 5.13 |
| Athyreoidism | 1 | 5.00 | . | . | 1 | 2.56 |
| Autoimmune thyreoidism | . | . | 1 | 5.26 | 1 | 2.56 |
| Congenital osteosclerosis | 1 | 5.00 | . | . | 1 | 2.56 |
| Hashimoto's thyreoiditis | . | . | 2 | 10.53 | 2 | 5.13 |
| Hay fever | 1 | 5.00 | . | . | 1 | 2.56 |
| Hyperlipoproteinemia | 1 | 5.00 | . | . | 1 | 2.56 |
| Lipoatrophy right leg | . | . | 1 | 5.26 | 1 | 2.56 |
| Lipohypertrophy | 5 | 25.00 | 8 | 42.11 | 13 | 33.33 |
| Lipohypertrophy abdomen on both sides | . | . | 1 | 5.26 | 1 | 2.56 |
| Lipohypertrophy abdomen thigh, right | . | . | 1 | 5.26 | 1 | 2.56 |
| Lipohypertrophy buttocks | 1 | 5.00 | . | . | 1 | 2.56 |
| Morbus Basedow | 1 | 5.00 | . | . | 1 | 2.56 |
| Myopia | 2 | 10.00 | . | . | 2 | 5.13 |
| Pityriasis versicolor | 1 | 5.00 | . | . | 1 | 2.56 |
| Pollen allergy | . | . | 1 | 5.26 | 1 | 2.56 |
| Pollinosis | 1 | 5.00 | 1 | 5.26 | 2 | 5.13 |
| Systolic murmur | . | . | 1 | 5.26 | 1 | 2.56 |
| Vit-D deficiency | 1 | 5.00 | . | . | 1 | 2.56 |
| Total | 20 | 100.00 | 19 | 100.00 | 39 | 100.00 |

Table 105: Previous and current diseases- Ongoing

| Previous and current diseases- Ongoing | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| No | 2 | 10.00 | . | . | 2 | 5.13 |
| Yes | 18 | 90.00 | 19 | 100.00 | 37 | 94.87 |
| Total | 20 | 100.00 | 19 | 100.00 | 39 | 100.00 |

Hypoglycemia

All patients experienced hypoglycemia (Table 99). Patients showed in median 11 hypoglycemic events (9 events in sequence 1 and 12 events in sequence 2; Table 100). 281 out of 432 total hypoglycemic events were symptomatic (Table 101). In only one case a self-treatment was not possible (Table 102). But there was no need for treatment by another person due to impossible self-treatment (Table 103). It was documented that patients did not experience unconsciousness in 99.5 % of hypoglycemic events (Table 104). The median blood sugar level before treatment amounted to 59 mg/dl and ranged from 20 mg/dl to 76 mg/dl (Table 105). Furthermore patients carried out an activity prior to hypoglycemia in 10 % of the cases (Table 106).

Table 106: Hypoglycemia- Number of patients with at least one hypoglycemia

| Number of patients with at least one hypoglycemia | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| Yes | 15 | 100.00 | 16 | 100.00 | 31 | 100.00 |
| Total | 15 | 100.00 | 16 | 100.00 | 31 | 100.00 |

Table 107: Hypoglycemia- Number of events

| Number of events | N | Mean | Std | Median | Min | Max | NMiss |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Sequence 1 | 15 | 13.33 | 11.75 | 9.00 | 2.00 | 38.00 | 0 |
| Sequence 2 | 16 | 14.50 | 10.22 | 12.00 | 3.00 | 33.00 | 0 |
| Total | 31 | 13.94 | 10.81 | 11.00 | 2.00 | 38.00 | 0 |

Table 108: Hypoglycemia- Symptomatic

| Hypoglycaemia- Symptomatic |  | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | N | % | N | % | N | % |
| Prior to 1st visit | No | 23 | 26.74 | 29 | 30.85 | 52 | 28.89 |
|  | Yes | 63 | 73.26 | 62 | 65.96 | 125 | 69.44 |
|  | Missing | . | . | 3 | 3.19 | 3 | 1.67 |
|  | Total | 86 | 100.00 | 94 | 100.00 | 180 | 100.00 |
| After 1st visit | No | 9 | 15.79 | 17 | 33.33 | 26 | 24.07 |
|  | Yes | 47 | 82.46 | 33 | 64.71 | 80 | 74.07 |
|  | Not applicable | . | . | 1 | 1.96 | 1 | 0.93 |
|  | Unknown | 1 | 1.75 | . | . | 1 | 0.93 |
|  | Total | 57 | 100.00 | 51 | 100.00 | 108 | 100.00 |
| After 2nd visit | No | 34 | 59.65 | 33 | 37.93 | 67 | 46.53 |
|  | Yes | 23 | 40.35 | 53 | 60.92 | 76 | 52.78 |
|  | Unknown | . | . | 1 | 1.15 | 1 | 0.69 |
|  | Total | 57 | 100.00 | 87 | 100.00 | 144 | 100.00 |
| Total | No | 66 | 33.00 | 79 | 34.05 | 145 | 33.56 |
|  | Yes | 133 | 66.50 | 148 | 63.79 | 281 | 65.05 |
|  | Not applicable | . | . | 1 | 0.43 | 1 | 0.23 |
|  | Unknown | 1 | 0.50 | 1 | 0.43 | 2 | 0.46 |
|  | Missing | . | . | 3 | 1.29 | 3 | 0.69 |
|  | Total | 200 | 100.00 | 232 | 100.00 | 432 | 100.00 |

Table 109: Hypoglyemia- Self-treatment possible

| Hypoglycaemia- Self-treatment possible |  | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | N | % | N | % | N | % |
| Prior to 1st visit | Yes | 86 | 100.00 | 93 | 98.94 | 179 | 99.44 |
|  | Missing | . | . | 1 | 1.06 | 1 | 0.56 |
|  | Total | 86 | 100.00 | 94 | 100.00 | 180 | 100.00 |
| After 1st visit | Yes | 54 | 94.74 | 51 | 100.00 | 105 | 97.22 |
|  | Missing | 3 | 5.26 | . | . | 3 | 2.78 |
|  | Total | 57 | 100.00 | 51 | 100.00 | 108 | 100.00 |
| After 2nd visit | No | . | . | 1 | 1.15 | 1 | 0.69 |
|  | Yes | 57 | 100.00 | 84 | 96.55 | 141 | 97.92 |
|  | Missing | . | . | 2 | 2.30 | 2 | 1.39 |
|  | Total | 57 | 100.00 | 87 | 100.00 | 144 | 100.00 |
| Total | No | . | . | 1 | 0.43 | 1 | 0.23 |
|  | Yes | 197 | 98.50 | 228 | 98.28 | 425 | 98.38 |
|  | Missing | 3 | 1.50 | 3 | 1.29 | 6 | 1.39 |
|  | Total | 200 | 100.00 | 232 | 100.00 | 432 | 100.00 |

Table 110: Hypoglycemia- Self-treatment not possible- Treatment by another person

No patient needed treatment by another person due to impossible self-treatment.

Table 111: Hypoglycemia- Patient unconscious

| Hypoglycaemia- Unconscious |  | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | N | % | N | % | N | % |
| Prior to 1st visit | No | 86 | 100.00 | 93 | 98.94 | 179 | 99.44 |
|  | Missing | . | . | 1 | 1.06 | 1 | 0.56 |
|  | Total | 86 | 100.00 | 94 | 100.00 | 180 | 100.00 |
| After 1st visit | No | 56 | 98.25 | 51 | 100.00 | 107 | 99.07 |
|  | Missing | 1 | 1.75 | . | . | 1 | 0.93 |
|  | Total | 57 | 100.00 | 51 | 100.00 | 108 | 100.00 |
| After 2nd visit | No | 57 | 100.00 | 87 | 100.00 | 144 | 100.00 |
|  | Total | 57 | 100.00 | 87 | 100.00 | 144 | 100.00 |
| Total | No | 199 | 99.50 | 231 | 99.57 | 430 | 99.54 |
|  | Missing | 1 | 0.50 | 1 | 0.43 | 2 | 0.46 |
|  | Total | 200 | 100.00 | 232 | 100.00 | 432 | 100.00 |

Table 112: Hypoglycemia- Blood sugar [mg/dl] before treatment

| Hypoglycaemia- Blood sugar before treatment |  | N | Mean | Std | Median | Min | Max | NMiss |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Prior to 1st visit | Sequence 1 | 86 | 57.22 | 9.14 | 59.00 | 36.00 | 70.00 | 0 |
|  | Sequence 2 | 92 | 57.58 | 7.50 | 59.00 | 40.00 | 69.00 | 2 |
|  | Total | 178 | 57.40 | 8.31 | 59.00 | 36.00 | 70.00 | 2 |
| After 1st visit | Sequence 1 | 53 | 58.11 | 8.90 | 61.00 | 32.00 | 69.00 | 4 |
|  | Sequence 2 | 51 | 56.02 | 10.25 | 57.00 | 20.00 | 69.00 | 0 |
|  | Total | 104 | 57.09 | 9.60 | 59.00 | 20.00 | 69.00 | 4 |
| After 2nd visit | Sequence 1 | 53 | 57.11 | 9.68 | 59.00 | 20.00 | 70.00 | 4 |
|  | Sequence 2 | 87 | 58.11 | 7.99 | 58.00 | 38.00 | 76.00 | 0 |
|  | Total | 140 | 57.74 | 8.65 | 58.50 | 20.00 | 76.00 | 4 |
| Total | Sequence 1 | 192 | 57.44 | 9.19 | 59.50 | 20.00 | 70.00 | 8 |
|  | Sequence 2 | 230 | 57.43 | 8.36 | 59.00 | 20.00 | 76.00 | 2 |
|  | Total | 422 | 57.44 | 8.74 | 59.00 | 20.00 | 76.00 | 10 |

Table 113: Hypoglycemia- Activity prior to hypoglycemia

| Hypoglycaemia- Activity |  | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | N | % | N | % | N | % |
| Prior to 1st visit | No | 79 | 91.86 | 89 | 94.68 | 168 | 93.33 |
|  | Yes | 6 | 6.98 | 5 | 5.32 | 11 | 6.11 |
|  | Unknown | 1 | 1.16 | . | . | 1 | 0.56 |
|  | Total | 86 | 100.00 | 94 | 100.00 | 180 | 100.00 |
| After 1st visit | No | 48 | 84.21 | 44 | 86.27 | 92 | 85.19 |
|  | Yes | 9 | 15.79 | 6 | 11.76 | 15 | 13.89 |
|  | Missing | . | . | 1 | 1.96 | 1 | 0.93 |
|  | Total | 57 | 100.00 | 51 | 100.00 | 108 | 100.00 |
| After 2nd visit | No | 42 | 73.68 | 84 | 96.55 | 126 | 87.50 |
|  | Yes | 15 | 26.32 | 2 | 2.30 | 17 | 11.81 |
|  | Missing | . | . | 1 | 1.15 | 1 | 0.69 |
|  | Total | 57 | 100.00 | 87 | 100.00 | 144 | 100.00 |
| Total | No | 169 | 84.50 | 217 | 93.53 | 386 | 89.35 |
|  | Yes | 30 | 15.00 | 13 | 5.60 | 43 | 9.95 |
|  | Unknown | 1 | 0.50 | . | . | 1 | 0.23 |
|  | Missing | . | . | 2 | 0.86 | 2 | 0.46 |
|  | Total | 200 | 100.00 | 232 | 100.00 | 432 | 100.00 |

Concomitant medication

All patients received at least one concomitant medication (Table 107). Most patients received actual diabetes treatment at screening (96.9 %) in a median daily dose of 0.9 IU per kg bodyweight, ranging from 0.7 IU/kg to 1.5 IU/kg (Table 108 – Table 110). Other indications than “diabetes mellitus” (51.6%) were “concomitant illness” and “adverse events” (16.1 % respectively; Table 111 and Table 112).

Table 114: Number of patients with at least one concomitant medication

| Medication- Number of patients | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| Yes | 15 | 100.00 | 16 | 100.00 | 31 | 100.00 |
| Total | 15 | 100.00 | 16 | 100.00 | 31 | 100.00 |

Table 115: Medication- Actual diabetes treatment (at screening)

| Actual diabetes treatment | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| No | 1 | 6.25 | . | . | 1 | 3.13 |
| Yes | 15 | 93.75 | 16 | 100.00 | 31 | 96.88 |
| Total | 16 | 100.00 | 16 | 100.00 | 32 | 100.00 |

Table 116: Medication- Actual diabetes treatment (at screening)- Daily dose [IU]

| Daily dose | N | Mean | Std | Median | Min | Max | NMiss |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Sequence 1 | 15 | 73.06 | 24.14 | 68.60 | 41.34 | 124.00 | 0 |
| Sequence 2 | 16 | 58.27 | 12.36 | 56.85 | 38.05 | 83.00 | 0 |
| Total | 31 | 65.43 | 20.12 | 60.20 | 38.05 | 124.00 | 0 |

Table 117: Medication- Average daily dose of insulin per kg body weight (ongoing) [IU/kg]

| Daily dose per kg body weight- ongoing | N | Mean | Std | Median | Min | Max | NMiss |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Sequence 1 | 15 | 1.02 | 0.25 | 1.00 | 0.67 | 1.53 | 0 |
| Sequence 2 | 16 | 0.87 | 0.12 | 0.89 | 0.70 | 1.12 | 0 |
| Total | 31 | 0.95 | 0.21 | 0.90 | 0.67 | 1.53 | 0 |

Table 118: Medication- Indication

| Indication | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| Type 1 Diabetes mellitus | 16 | 53.33 | 16 | 50.00 | 32 | 51.61 |
| Concomitant Illness | 5 | 16.67 | 5 | 15.63 | 10 | 16.13 |
| AE | 4 | 13.33 | 6 | 18.75 | 10 | 16.13 |
| Other | 5 | 16.67 | 5 | 15.63 | 10 | 16.13 |
| Total | 30 | 100.00 | 32 | 100.00 | 62 | 100.00 |

Table 119: Medication- Other indication

| Other indication | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| Birth control | . | . | 1 | 20.00 | 1 | 10.00 |
| Contraception | 3 | 60.00 | . | . | 3 | 30.00 |
| Contraceptiva | 2 | 40.00 | . | . | 2 | 20.00 |
| Kontrazeptium | . | . | 1 | 20.00 | 1 | 10.00 |
| Nutrition Supplement | . | . | 3 | 60.00 | 3 | 30.00 |
| Total | 5 | 100.00 | 5 | 100.00 | 10 | 100.00 |

Adverse events

A total of 19 adverse events occurred in 15 patients (48.4 %, Table 113). The most often documented AE were “Nasopharyngitis” (31.6 %) and “Headache” (15.8 %) followed by “Gastroenteritis” (10.5%). All other events occurred with a frequency of less than 6% (Table 114). None of the adverse events was serious and almost half of the events occurred when dapagliflozin was administered (47.4 %, Table 124 and Table 115). 73.7 % of the events were judged as “mild” and 26.3 % as moderate (Table 116). Most adverse events were completely resolved (89.5 %), 10.5 % remained ongoing and had to be followed (Table 117 and Table 118). In 3 out of 19 cases (15.8%) first symptoms of the adverse event occurred when no study medication was administered (Table 119). Furthermore 10.5 % of the events were “possibly” and 84.2 % “unlikely” related to the study medication (Table 120). No action was necessary in all cases concerning the treatment of the adverse event (Table 121). Finally no event occurred due to technical problems or incompatibility reaction (Table 122 and Table 123).

Table 120: Number of patients with at least one adverse event

| AE- Number of patients | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| No | 7 | 46.67 | 9 | 56.25 | 16 | 51.61 |
| Yes | 8 | 53.33 | 7 | 43.75 | 15 | 48.39 |
| Total | 15 | 100.00 | 16 | 100.00 | 31 | 100.00 |

Table 121: Adverse events according to MedDRA-SOC and PT

| Adverse events |  | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | N | % | N | % | N | % |
| Gastrointestinal disorders | Vomiting | . | . | 1 | 10.00 | 1 | 5.26 |
| Infections and infestations | Gastroenteritis | . | . | 2 | 20.00 | 2 | 10.53 |
|  | Nasopharyngitis | 2 | 22.22 | 4 | 40.00 | 6 | 31.58 |
|  | Otitis media | . | . | 1 | 10.00 | 1 | 5.26 |
|  | Periodontitis | 1 | 11.11 | . | . | 1 | 5.26 |
| Injury, poisoning and procedural complications | Thermal burn | 1 | 11.11 | . | . | 1 | 5.26 |
| Investigations | Blood bilirubin increased | 1 | 11.11 | . | . | 1 | 5.26 |
| Metabolism and nutrition disorders | Hyperglycaemia | 1 | 11.11 | . | . | 1 | 5.26 |
| Musculoskeletal and connective tissue disorders | Pain in extremity | 1 | 11.11 | . | . | 1 | 5.26 |
| Nervous system disorders | Headache | 2 | 22.22 | 1 | 10.00 | 3 | 15.79 |
| Respiratory, thoracic and mediastinal disorders | Oropharyngeal pain | . | . | 1 | 10.00 | 1 | 5.26 |
| Total |  | 9 | 100.00 | 10 | 100.00 | 19 | 100.00 |

Table 122: AE- Occurrence during dosing visits with dapagliflozin/placebo

| Adverse events- Occurrence during visits with | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| Dapagliflozin | 4 | 44.44 | 5 | 50.00 | 9 | 47.37 |
| Placebo | 4 | 44.44 | 3 | 30.00 | 7 | 36.84 |
| First symptoms before first administration of Dapa/Placebo | . | . | 2 | 20.00 | 2 | 10.53 |
| After dosing visits | 1 | 11.11 |  |  | 1 | 11.11 |
| Total | 9 | 100.00 | 10 | 100.00 | 19 | 100.00 |

Table 123: AE- Severity

| AE- Severity | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| Mild | 5 | 55.56 | 9 | 90.00 | 14 | 73.68 |
| Moderate | 4 | 44.44 | 1 | 10.00 | 5 | 26.32 |
| Total | 9 | 100.00 | 10 | 100.00 | 19 | 100.00 |

Table 124: AE- Ongoing or recovered at this time

| AE- Ongoing or recovered | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| Ongoing | 1 | 11.11 | 1 | 10.00 | 2 | 10.53 |
| Recovered/resolved | 8 | 88.89 | 9 | 90.00 | 17 | 89.47 |
| Total | 9 | 100.00 | 10 | 100.00 | 19 | 100.00 |

Table 125: AE- Completely recovered

| AE- Completely recovered | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| Yes | 8 | 88.89 | 9 | 90.00 | 17 | 89.47 |
| Missing | 1 | 11.11 | 1 | 10.00 | 2 | 10.53 |
| Total | 9 | 100.00 | 10 | 100.00 | 19 | 100.00 |

Table 126: AE- Study medication received before first symptoms occurred

| AE- Study medication received | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| No | 1 | 11.11 | 2 | 20.00 | 3 | 15.79 |
| Yes | 8 | 88.89 | 8 | 80.00 | 16 | 84.21 |
| Total | 9 | 100.00 | 10 | 100.00 | 19 | 100.00 |

Table 127: AE- Relation to study medication

| AE- Relationship | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| Possibly | 1 | 11.11 | 1 | 10.00 | 2 | 10.53 |
| Unlikely | 8 | 88.89 | 8 | 80.00 | 16 | 84.21 |
| Missing | . | . | 1 | 10.00 | 1 | 5.26 |
| Total | 9 | 100.00 | 10 | 100.00 | 19 | 100.00 |

Table 128: AE- Action taken

| AE- Action taken | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| Not necessary | 9 | 100.00 | 10 | 100.00 | 19 | 100.00 |
| Total | 9 | 100.00 | 10 | 100.00 | 19 | 100.00 |

Table 129: AE- Event because of technical problems

| AE- Technical problems | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| No | 9 | 100.00 | 10 | 100.00 | 19 | 100.00 |
| Total | 9 | 100.00 | 10 | 100.00 | 19 | 100.00 |

Table 130: AE- Event because of incompatibility reaction

| AE- Incompatibility reaction | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| No | 9 | 100.00 | 10 | 100.00 | 19 | 100.00 |
| Total | 9 | 100.00 | 10 | 100.00 | 19 | 100.00 |

Table 131: AE- Serious

| AE- Serious | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| No | 9 | 100.00 | 10 | 100.00 | 19 | 100.00 |
| Total | 9 | 100.00 | 10 | 100.00 | 19 | 100.00 |

# Summary

This study was a randomized, double-blind, placebo-controlled, single-center, Phase 1 study with a cross-over design. Two doses of 10 mg dapagliflozin (1 x 10 mg before bedtime and 1 x 10 mg in the morning) were tested as add-on therapy to a CE marked sensor based insulin pump therapy using the DreaMed system in a closed-loop setting. The trial consisted of six visits: a screening visit, two dosing visits, two telephone calls and a follow-up visit.

A total number of 34 patients were screened, however 3 patients violated an inclusion or exclusion criterion and were not randomized. The remaining 31 patients were randomized and treated with the study medication. One patient who terminated the study prematurely due to investigator’s decision was replaced.

It could be seen that the relative time of glucose sensor readings in range of 70-180 mg/dl was higher when patients received dapagliflozin instead of placebo. 32% of the glucose levels were in normal range of 70-180 mg/dl during dapagliflozin treatment in sequence 1 and 2, respectively, but only 19.3 % in sequence 1 and 21.3 % in sequence 2 during placebo treatment. The estimated mean change of glucose sensor readings in range of 70-180 mg/dl amounted to 61.8 % (54.8 % in sequence 1 and 65 % in sequence 2). The one-sided paired t-test showed that dapagliflozin as an add-on to night and day closed-loop control using the DreaMed Algorithm led to significant benefits in glycemic control and increased the time within glucose range 70-180 mg/dl (3.9-10 mmol/l) for the ensuing 24 hours with two oral mixed-meals (p < 0.0001). Only two patients had higher relative time of glucose sensor readings in range of 70-180 mg/dl under treatment with placebo than with dapagliflozin.

The 24 h urine collection ranged between nearly 1 l and 4.9 l at the first dosing visit and between 1 l and 4.5 l at the second dosing visit and it could be seen that the amount of collected urine was higher when patients received dapagliflozin than placebo. The estimated mean change of the amount of collected urine amounted to 27.2 % (42.9 % in sequence 1 and 25 % in sequence 2). The one-sided paired t-test showed that dapagliflozin increased the volume of 24 h urine collection significantly (p < 0.0001). The amount of collected urine in the 24 h period was only higher in six patients under placebo treatment than under dapagliflozin.

The urinary glucose concentration ranged between 555 mg/dl and 5830 mg/dl at the first dosing visit and between 1266 mg/dl and 6220 mg/dl at the second dosing visit. The concentration of glucose was higher when patients received dapagliflozin than placebo. The estimated mean change of the urinary glucose concentration amounted to 156.1 % (135.5 % in sequence 1 and 182.7 % in sequence 2). The one-sided paired t-test showed that patients had significantly higher urinary glucose concentration when treated with dapagliflozin than with placebo (p < 0.0001). No patient showed higher urinary glucose concentration associated with the placebo treatment than with dapagliflozin.

The urinary glucose content ranged between 19,325 mg/24h and 238,422 mg/24h at the first dosing visit and between 15,000 mg/24h and 215,212 mg/24h at the second dosing visit. The urinary glucose content was higher when patients received dapagliflozin instead of placebo. The estimated mean change of the urinary glucose content was 212.2 % (191.3 % in sequence 1 and 244.6 % in sequence 2).

The one-sided paired t-test showed that the urinary glucose content was significantly higher when patients received dapagliflozin instead of placebo (p < 0.0001). Only one patient had negligible higher urinary glucose content when treated with placebo than with dapagliflozin. A positive correlation of the measurements for the subjects could be seen.

Glucose sensor readings in range of 70-180 mg/dl showed lower blood glucose levels during dapagliflozin treatment than during treatment with placebo, regardless of the sequence (mean of 124.6 mg/dl and 126.1 mg/dl during dapagliflozin treatment versus 137.3 mg/dl and 134.6 mg/dl during treatment with placebo for sequence 1 and 2, respectively). The estimated mean change amounted to -14.1 % (-15.1 % in sequence 1 and -14.1 % in sequence 2). An ANOVA with the factors “treatment”, “sequence”, “period” (i.e. dosing visit) and “subject within sequence” showed that the glucose sensor readings mainly depended on “treatment”. Furthermore it could be seen that the insulin dose used in 24 hours calculated per kg bodyweight was much lower when patients received dapagliflozin instead of placebo. The estimated mean change amounted to -21.0 % (-17.7 % in sequence 1 and -21.8 % in sequence 2). The used insulin dose significantly depended on “treatment” and “sequence” (ANOVA). Further on the median ß-hydroxybutyrate was only elevated during dapagliflozin treatment in patients of sequence 2. The percentage of elevated ß-hydroxybutyrate significantly depended on “treatment” (ANOVA). Estimated differences in ß-hydroxybutyrate between dapagliflozin and placebo were 0.12 mmol/l (0.12 mmol/l in sequence 1 and 0.11 mmol/l in sequence 2). The mean ß-hydroxybutyrate level showed higher values when patients were treated with dapagliflozin instead of placebo. The percentage of elevated ß-hydroxybutyrate significantly depended on “treatment” and the insulin need on “treatment” and “sequence” (ANOVA). Regarding the point estimates for mean changes in insulin need between dapagliflozin and placebo, a mean change of -0.1 % (-0.1 % in both sequences, respectively) could be seen for patients who received two meals per visit.

Written informed consent was given by all patients or legal guardians at information or screening visits. The patients fulfilled all inclusion criteria and did not violate any exclusion criterion. The median age of the patients amounted to 17 years, with a range from 12 to 20 years. 16 patients were pubertal (51.6 %) and 15 (48.4%) adolescent. More than half of the patients were female (61.3 %). All patients were non-hispanic or latino and white. Median height was 1.69 m and median weight at screening 66 kg, which led to a median BMI of 22.6 kg/m2 (23.1 kg/m² for patients of sequence 1 and 21.4 kg/m² for patients of sequence 2). Furthermore the median systolic blood pressure amounted to 128 mmHg, the diastolic to 61 mmHg. The median pulse was 76 bpm and the median temperature 36.9 oC. No significant abnormalities occurred in the urine with respect to urine specific weight, pH, leukocytes, nitrite, protein, glucose, ketone, urobilinogen, erythrocytes and hemoglobin. The result of the drug test “Kombitest 10” was negative for all patients. Blood samples were taken for all patients during screening visit. 45.2 % of the patients were diagnosed with Type 1 diabetes in their first 5 years of life. The HbA1c measurement was performed in all patients during screening visit. More than half of them showed an A1c value between 7.5 and 9 (54.8 %). Finally all patients received training for the glucose sensor system. For 9.7 % of the patients alarm setting was performed during the run-in phase.

All inclusion and exclusion criteria for the dosing visits were fulfilled and hence all patients were randomized. Additionally, none of the female patients was pregnant. Blood samples were collected within the time window of +/- 5 minutes according to protocol in 98.7 % of the cases. The mean capillary glucose level was lower in patients who received dapagliflozin compared to placebo before first and second administration of ensure and after second administration of ensure, respectively. Whereas the mean β-hydroxyburyrate was higher in patients treated with dapagliflozin than patients treated with placebo for each point in time, respectively. The analysis of blood samples showed that the average concentration of active GLP-1, total GLP-1 and GIP were lower during the first dosing visit than the second dosing visit (median of 1.9 pmol/l and 2.0 pmol/l for GLP-1 active, 21.6 pg/ml and 22.7 pg/ml for GLP-1 total and 350.4 pg/ml and 368.9 pg/ml for GIP during first and second dosing visit, respectively irrespective of the sequence. The average concentration of glucagon showed a higher level during the first dosing visit than the second dosing visit (median of 47.5 pmol/l and 46.2 pmol/l, respectively irrespective of the sequence. The average concentration of iso-insulin revealed a lower level when patients were treated with dapagliflozin than placebo. Study medication was given to all patients who did not discontinue prematurely.

Patients received in median 404 ml ensure in sequence 1 and 393 ml respective 402 ml ensure in sequence 2 during first and second dosing visit, respectively, whereat one patient in sequence 1 did not receive a second intake of ensure. Besides 96.7 % of the 24 h urine probes were collected within the time window of +/- 5 minutes according to protocol. Urine sample was collected for all patients during dosing visits. 83.3 % of these urine probes were collected within the time window of +/- 5 minutes according to protocol. The median amount of insulin used in 24 h per kg bodyweight was much less in patients treated with dapagliflozin in comparison to placebo. The phone calls were carried out with all patients but problems/questions were only documented in one case. In addition physical examination of the skin revealed 19 significant abnormalities at screening and 14 significant abnormalities were observed at follow-up. Blood sample was collected for all patients at follow-up.

30 out of 31 patients finished the trial regularly and one patient terminated the study prematurely due to investigator’s decision. Furthermore a total of 39 previous or current diseases were documented for 24 patients. 37 of these were still ongoing. Lipohypertrophy was the most commonly documented concomitant illness with a share of more than 30%, all other concomitant illnesses only occurred once or twice.

Besides all patients experienced hypoglycemia. Patients showed in median 11 hypoglycemic events (9 events in sequence 1 and 12 events in sequence 2). 281 out of 432 total hypoglycemic events were symptomatic. In only one case a self-treatment was not possible. But there was no need for treatment by another person due to impossible self-treatment. It was documented that patients did not experience unconsciousness in 99.5 % of hypoglycemic events. The median blood sugar level before treatment amounted to 59 mg/dl and ranged from 20 mg/dl to 76 mg/dl. Furthermore patients carried out an activity prior to hypoglycemia in 10 % of the cases.

All patients received at least one concomitant medication. Most patients received actual diabetes treatment at screening (96.9 %) in a median daily dose of 0.9 IU per kg bodyweight, ranging from 0.7 IU/kg to 1.5 IU/kg. Other indications than “diabetes mellitus” (51.6%) were “concomitant illness” and “adverse events” (16.1 %, respectively).

Finally a total of 19 adverse events occurred in 15 patients (48.4 %). The most often documented AE were “Nasopharyngitis” (31.6 %) and “Headache” (15.8 %) followed by “Gastroenteritis” (10.5%). All other events occurred with a frequency of less than 6%. None of the adverse events was serious and almost half of the events occurred when dapagliflozin was administered (47.4 %). 73.7 % of the events were judged as “mild” and 26.3 % as moderate. Most adverse events were completely resolved (89.5 %), 10.5 % remained ongoing and had to be followed. In 3 out of 19 cases (15.8%) first symptoms of the adverse event occurred when no study medication was administered. Furthermore 10.5 % of the events were “possibly” and 84.2 % “unlikely” related to the study medication. No action was necessary in all cases concerning the treatment of the adverse event. In addition no event occurred due to technical problems or incompatibility reaction.

# Discussion

The present study gives evidence that the positive effect of adjunctive therapy is mainatained even if the most advanced therapy for type 1 diabetes is used. Average TIR was increased by 2.8 hours with DAPA compared to placebo despite two unannounced meals and in-line with the glucose-lowering effect of this class of drugs both, bolus and basal insulin was reduced in full closed loop control. Thus, this pilot study provides evidence that young patients with T1D are likely to benefit from DAPA combined with full closed loop automated insulin delivery. In addition, SGTL2 inhibition appears to be a safe and effective add-on treatment under conditions of sufficient insulin administration usually encountered during closed loop treatment.

Efficacy in glucose control

The results regarding the efficacy of glucose control compares favourably to those inother studies (,,,,,,) Most closd systems use a hybrid approach, i.e. prandial insulin has to be administered by the user. With this hybrid approach, most systems show a consistent improvement of time in range, the new outcome parameter in evaluating diabetes metabolic control (). In contrast, so called full closed loop approaches, i.e. no human interference in insulin administration, show postprandial problems in control of glucose values(,). In comparison to the data by Forlenza, the add-on of DAPA showed a comparable time frame, when target range was reached again after higher peaks with less variability and a lower mean baseline (Figure 16). The non-lmited dose of the weight adjusted standardized meal, was a different approach to other studies, where there is usually an upper limit even in weight-based calculated meal doses.  But the high postprandial peaks observed in our study reflect normal postprandial values after “non pre-bolussing in real life, so we believe this approach was closer to life than any limitation.

Time in Range (TIR) as a new parameter for evaluation of glucose control is thought to complement HbA1c as an outcome parameter in clinical trials in order to assess the impact of glycemic variability not captured by the glycation of hemoglobin []. Recently, a consensus statement for TIR target ranges has been published []. CGM data obtained during the regulatory trials of Dapagliflozin, Empagliflozin and Sotagliflozin (,,) have indicated significant improvements of 2 to 3 hours in time in range compared to placebo. Only if a low dose of 2.5 mg Empaglifozin was used the limited data that it is available so far show that this increase of one hour time in range did not reach statistical significance (15). With a dose of 5 mg Dapagliflozin bid the present study shows that this improvent of approximately 3 hours of time in range is reproduced even during the most advanced treatment for type 1 diabetes. Indeed, these improvenments in glucose excursions encounteredwith adjunct SGLTinhibitor therapy like in the present study appear to be closely related to improvents in patient-related outcomes reported by many patients ()

Tight glucose control for patients with Type 1 Diabetes (T1D) is becoming a question of technique as one effective hybrid closed loop system [] is available on the market nowadays and more systems are under investigation [,,,]. Yet, all FCL approaches, i.e. meals are not announced to the system, have a lack of effectiveness in postprandial glucose control [,] and may have furthermore a higher risk for hypoglyceamic events [].The Dreamed Substance Administration System© has been proven being effective to improve glucose control during nights [] as well as around the clock in free living conditions [2] or being challenged by sports [7]. It differs from other systems as it is not only changing the basal rate but is additionally giving automated bolus insulin for the correction of elevated sensor glucose values thereby mimicking the conventional insulin pump therapy.

Meta-analysis of several systems for AID have uniformely shown that they are superior to sensor-augmented therapy particularly at night (). On average a time in range (70-180 mg/dl) of slightly above 70% has been advocated as target for patients with type 1 and type 2 diabetes of all ages if conditons like reduced hypoglycemia awareness or reduced life expectancy in case of the frailand elderly do not argue for less stringent goals (2). However, epidemilogical data from around the world show that these goals are often not reached (). Nevertheless, particularly for the age-group facing the greatest challenges reaching targets for glucose control, adolescents and young adults, this pilot study under the regulated conditions of a research center provided evidence of an additional positive effect of adjunctive therapy which is exactly in the same dimension as has been seen in the regulatory trials in adults. Of note, on average an optimal control with an average of 100% TIR has been achieved at night. Also, during the day, despite unanounced meals a highly significant improvement of 42 vs 19% TIR (70-180 mg/dl) was achieved with Dapa which is well above the 5% change that has been considered clinical significant in the recent consensus statement.

Currently the diabetes community is witnessing a technological revolution in Type 1 diabetes with a race to bring commercial closed loop systems to market. However, currently only one automated insulin delivery system, Medtronic 670G (USA), has both FDA and European CE mark approval and is commercially available in several countries (). Trials combining adjunctive SGLT inhibition with the 670G pump are ongoing but no results are available to date. Therefore the safety of this combination is not established yet and indeed one case of DKA on the 670G pump using of label SGLTinhibitor treatment has been published ([]). Potential the dosing algorithms need to be adjusted particularly if systems are using proportional-derivitived based controllers changing only the  basal rate in contrast to the full-closed loop system applying both basal and bolus insulin used in the present trial. Another system, Diabeloop (France), designed to work with several CGM devices and insulin pumps has received a CE mark ()and the FDA have awarded Tandem Diabetes Care t:Slim X2 the status of an alternate controller enabled (ACE) interoperable pump, facilitating efficient pre-market review. However,all of these are not commercially available yet. Meanwhile in the EU new medical device regulation (MDR) will be more demanding on safety and potentially slow access to commercial closed loop systems. While waiting for these closed loop systems to come to market, people living with diabetes have taken development into their own hands, #wearenotwaiting. There are now a range of ‘Do-It-Yourself’ artificial pancreas systems (DIY APS) available for people to build and use through the communication of a range of insulin pumps and glucose sensors ()

Potential benefit on the long-term outcome

Of course there may be question if the improvemet of glycemic control on top of that already achieved with automated insulin delivery is clincially relevant. For this one also needs to look beyond glycemic control. People with type 1 diabetes are prone to significant loss of life due to increased cardiorenal mortality (). The DCCT/EDIC study showed evdince for an effect of “metabolic memory” indcating that poor glycemic control early in the course of disease has long-term consequences even if the control is improved during the later course of the disease (). For pediatricians these results point to the need to intervene early in order to improve the long-term prognosis. In type 2 diabetes the class of SGLT inhibitors has changed the treatment paradigm due to their positive effect on cardiorenal outcomes (). Recent data from the Dapa HFstudy show a comparable positive effect also in cardiovascular high-risk patients without diabetes (). The rationale for an adjunct therapy with SGLTinhibitors and in particular Dapagliflozin of high cardiovascular-risk patients with type 1 diabetes as early as possible during the course of the disease can be derived from these positive effects in type 2 diabetes and in those without diabetes but high cardiovascular risk.

The use of SGLT inhibitors in children is even more controversial. When a parent opts to use an off-label drug on the basis of encourageing results in adults in a child, who cannot consent, this can be more challenging.  On the other hand, parents are facing the sobering outlook that the onset of type 1 diabetes before age 10 has been associated with 17 years loss of life in girls and 14 years in boys in the recent analysis of the Swedish registry study (). Variability of insulin delivery is age dependent providing an additional challenge in the young age group even with the most advanced technologies (). Indeed, clinical trials of automated insulin delivery in the very young have shown to decrease parental burden (). To our knowledge, this is the second study investigating the effect of SGLT2-inhibitor in patients under the age of 18. The only other trial published so far was also conducted in our center and looked in to PK and PD action of Dapagliflozin in adults and adolescents with similar results as in adults [].

A deeper analysis of response on urinary glucose showed a higher response in adults with higher mean glucose levels, so no dose adjustment is necessary according to age [].

Furthermore, it is the first evaluation of SGLT2-inhibitor in combination with a closed loop insulin administration.

FIGURE 16:Time in Range comparison; Left in grey:Forlenza et al (11), coloured this trial

Balancing risk and benefit

However, some perspective is required. There is no therapy, no closed loop system (commercially available or otherwise), which can completely avert the acute complications of Type 1 diabetes. For instance, if a large excess bolus of insulin is delivered, no closed loop system can prevent the development of hypoglycaemia. Similarly, there is no glucose sensor which is 100% accurate all of the time. Type 1 diabetes treated with insulin is inherently associated with risk. As such, commercially available hybrid closed loop systems carry a warning that the potential risks include hypoglycaemia, hyperglycaemia, diabetic ketoacidosis, seizure, coma and death.  may be increased when closed-loop therapy is comined with adjunct use of SGLT-inhibitors. After the publication of the first large scale data of adjunct therapy with SGLT-inhibitors in T1D () there has been controversy in interpreting the potential benefits of this therapy against the risks related to the ketogenic potential of this combination. Indeed some experts feel that the further development of automated insulin delivery systemswould be likely to make adjunctive drug therapies for type 1 diabetes unnecessary. They postulate mproved automated delivery systems should be able to lower the glycated hemoglobin level while resulting in fewer episodes of hypoglycemia than  those seen with adjunctive therapies and requiring less effort from the patient. One influential diabetologist closed his commentary by recommending that in light of automated insulin delivery physicians and patients should “beware” as any added benefits of adjunctive therapies for type 1 diabetes must be carefully balanced against their added risks and costs (). While we agree that proper risk mitigation needs to be in place if SGLTinhibitors are used in T1D (46) the present data show that there is a significant added benefit to be expected even when automated insulin delivery is used.

In this trial, no clinical significant evaluated levels of ketone bodies (BHB in serum) were observed. This is an important fact, as the fear of so called euDKA is always present when considering treatment of T1D patients with SGLTi. “Classic” DKA shows presence of ketone bodies, lowering of serum pH <7.3, bicarbonate levels <18 mmol/L and hyperglycemia []. In SGLT-use, this situation may be masked by a normal or slightly elevated glucose value despite ketoacidosis. As an elevated glucose is currently the recognized alert sign for most patients to check their metabolic status, the lack of knowledge of pathogenesis of DKA among patients and health care professionals alike may have contributed to under-reported increased in DKA  cases []. In 2015, the FDA announced a warning about euglycemic diabetic ketoacidosis (DKA) during use of SGLT-inhibitors [].

Although a patient may present with clinical symptoms of DKA, such as nausea, vomiting, thirst, fatigue, and, in cases of severe acidosis, rapid breathing (Kussmaul-breath), an acute acidosis may not be considered when normal or only slightly elevated plasma glucose are measured. Again, the mechanism of euglycemic DKA is presently not yet completely understood [].

In former therapy guidelines, patients were advised to check ketone in urine to evaluate their catabolic status. Today, point-of-care blood ß-hydroxybutyrate meters are available, which provide a precise real-time quantitative method of assessing blood ß-hydroxybutyrate instead of a qualitative assessment of a color change with urine sticks. As such, blood ketone measurement is now often recommended for use by T1D patients []. For example, the currently popular continuous subcutaneous measurement device “Freestyle Libre” can be used as an intermittent scanning CGM system, SMBG meter as well as a blood ß-hydroxybutyrate meter []. A practical approach to avoid and self-treat incipient euglycemic DKA during SGLT use was described by Garg et al and provided an example of a hand out of a “how to do” card for patients using SGLT-inhibitors to ensure timely emergency treatment in case of rising ketones []. In these simple,  four-step-instructions, the causal treatment is described: 1) patients should discontinue the SGLT-inhibitor until DKA is fully resolved and the cause(s) identified; 2) patients should administer an insulin bolus, preferably via syringe or pen in order to exclude potential infusion set failure or insulin pump defect; 3) patients should ingest 30 g of carbohydrates should be ingested (“ketones burn in the fire of carbs”) to avoid a subsequent hypoglycemia after insulin injection and to provide a substrate for metabolism; and 4) patients should consume approximately one liter of water within 30 minutes. to clear ketone bodies via renal excretion. These easy to perform measures can be lifesaving in situations of DKA or near-DKA. Importantly, blood ß-hydroxybutyrate should be checked and re-checked every 1-3 hours until ketone levels are normalized []; the trend of blood ketones provides the best assessment for the course of treatment. In case of symptoms, patients should always refer to the STICH algorithm and treat as described. Nevertheless, because there is currently no validated risk mitigation scheme, the effectiveness of the proposed measures will have to be tested through real-world experience after the eventual regulatory approval.

# Conclusion

Insulin pump therapy reduces the risk of DKA and hypoglycemia, at least in pediatric populations []. As closed-loop approaches are currently a very promising approach to optimize insulin therapy and several different systems provide safe and effective insulin administration [,], possibly a combination of closed-loop insulin administration with adjunct SGLT-inhibitor therapy, as shown in this trial may constitute a novel approach to maximize TIR during insulin therapy. Regardless of insulin delivery method (injection or infusion), with proper DKA risk mitigation, such intensive insulin management with adjunctive SGLT therapy holds great potential in helping patients achieve meaningful clinical benefits HbA1c reductions. As a diabetes community we need work together to ensure that life changing closed loop systems can be safely made available to those who wish to use them whether this would be with or without adjunctive therapy in order to further optimize glycemic control.

# Literature

# Listings

Listing 1: Reason for termination and major protocol violations

| Patient no. | Random. no. | Sequence | Baseline A1c | Major protocol violation | Which violation | Discontinued from study | Reason for termination |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | . |  | . | Yes | IC 5 | Yes | IC 5 |
| 13 | . |  | 6.40 | Yes | IC 7 | Yes | IC 7 |
| 15 | . |  | 8.17 | Yes | EC 3 | Yes | EC 35 |
| 20 | 116 | Sequence 2 | 9.39 | No |  | Yes | Investigator's decision: Violation of time window due to AE |

Listing 2: Adverse events

| Patient no. | Random. no. | Sequence | Baseline A1c | Event | Start date | End date | Severity | MESI | Outcome | Relation | Action taken | Serious? |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3 | 102 | Sequence 1 | 10.41 | Hyperglycaemia | 27.03.2017 | 28.03.2017 | Moderate | No | Recovered/resolved | Unlikely | Not necessary | No |
| 3 | 102 | Sequence 1 | 10.41 | Headache | 11.03.2017 | 11.03.2017 | Mild | No | Recovered/resolved | Unlikely | Not necessary | No |
| 4 | 101 | Sequence 2 | 6.78 | Nasopharyngitis | 13.03.2017 | 16.03.2017 | Mild | No | Recovered/resolved | Unlikely | Not necessary | No |
| 8 | 108 | Sequence 2 | 9.53 | Nasopharyngitis | 18.05.2017 | . | Mild | No | Ongoing | Unlikely | Not necessary | No |
| 9 | 107 | Sequence 1 | 8.46 | Pain in extremity | 14.05.2017 | 15.05.2017 | Mild | No | Recovered/resolved | Unlikely | Not necessary | No |
| 17 | 113 | Sequence 1 | 8.47 | Thermal burn | 29.06.2017 | 10.07.2017 | Mild | No | Recovered/resolved | Unlikely | Not necessary | No |
| 19 | 117 | Sequence 1 | 6.63 | Nasopharyngitis | 16.09.2017 | 22.09.2017 | Mild | No | Recovered/resolved | Unlikely | Not necessary | No |
| 20 | 116 | Sequence 2 | 9.39 | Gastroenteritis | 10.09.2017 | 13.09.2017 | Moderate | No | Recovered/resolved | Possibly | Not necessary | No |
| 22 | 120 | Sequence 1 | 7.32 | Blood bilirubin increased | 03.11.2017 | . | Moderate | No | Ongoing | Possibly | Not necessary | No |
| 23 | 119 | Sequence 2 | 9.89 | Otitis media | 25.09.2017 | 10.10.2017 | Mild | No | Recovered/resolved | Missing | Not necessary | No |
| 26 | 122 | Sequence 1 | 9.75 | Nasopharyngitis | 11.11.2017 | 19.11.2017 | Moderate | No | Recovered/resolved | Unlikely | Not necessary | No |
| 27 | 124 | Sequence 2 | 7.67 | Nasopharyngitis | 08.12.2017 | 21.12.2017 | Mild | No | Recovered/resolved | Unlikely | Not necessary | No |
| 27 | 124 | Sequence 2 | 7.67 | Vomiting | 04.12.2017 | 07.12.2017 | Mild | No | Recovered/resolved | Unlikely | Not necessary | No |
| 27 | 124 | Sequence 2 | 7.67 | Headache | 04.12.2017 | 07.12.2017 | Mild | No | Recovered/resolved | Unlikely | Not necessary | No |
| 27 | 124 | Sequence 2 | 7.67 | Gastroenteritis | 04.12.2017 | 07.12.2017 | Mild | No | Recovered/resolved | Unlikely | Not necessary | No |
| 29 | 127 | Sequence 2 | 8.43 | Nasopharyngitis | 25.11.2017 | 26.11.2017 | Mild | No | Recovered/resolved | Unlikely | Not necessary | No |
| 30 | 125 | Sequence 2 | 8.82 | Oropharyngeal pain | 11.11.2017 | 19.11.2017 | Mild | No | Recovered/resolved | Unlikely | Not necessary | No |
| 31 | 128 | Sequence 1 | 7.87 | Headache | 25.11.2017 | 28.11.2017 | Moderate | No | Recovered/resolved | Unlikely | Not necessary | No |
| 32 | 129 | Sequence 1 | 9.22 | Periodontitis | 05.12.2017 | 17.12.2017 | Mild | No | Recovered/resolved | Unlikely | Not necessary | No |

# Appendix

Appendix 1: Phone calls- Which problems/questions (free text)

| Phone call- Which problems/questions | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- |
|  | N | % | N | % |
| Viele hohe Werte im 200 Bereich, Frage nach Basalerhöhung - Antwort: keine BR Veränderung mehr korrigieren | 1 | 100.00 | 1 | 100.00 |
| Total | 1 | 100.00 | 1 | 100.00 |

Appendix 2: Dosing visits- Comments (free text)

| Comments | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| 2. Mahlzeit nicht durchgeführt bei anhaltend hohem BZ | 1 | 33.33 | . | . | 1 | 25.00 |
| 7:30 Uhr | 1 | 33.33 | . | . | 1 | 25.00 |
| Blutdruck 136/79 um 17:30 | . | . | 1 | 100.00 | 1 | 25.00 |
| Temp. Nicht passend zu Klinik aber so gemessen NCS | 1 | 33.33 | . | . | 1 | 25.00 |
| Total | 3 | 100.00 | 1 | 100.00 | 4 | 100.00 |

Appendix 3: Physical examination abnormal- Observation (free text)

| Physical examination abnormal | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| 1. Brille kurzsichtig7. Pityriosis versicolor am Rücken, Nacken, Abdomen | 1 | 5.56 | . | . | 1 | 2.50 |
| 1. Brille kurzsichtig | . | . | 1 | 4.55 | 1 | 2.50 |
| 1. Halsschmerzen, Befund opB | . | . | 1 | 4.55 | 1 | 2.50 |
| 1. leichte Pharyngitis | . | . | 1 | 4.55 | 1 | 2.50 |
| 3. Systolikum5. Skoliose | . | . | 1 | 4.55 | 1 | 2.50 |
| 5. Skoliose3. Systolikum, neu aufgetreten, Kardiologe empfohlen | . | . | 1 | 4.55 | 1 | 2.50 |
| 7. Acne Vulgaris Gesicht und Rücken | 2 | 11.11 | . | . | 2 | 5.00 |
| 7. Adipositas, Striae Distensae | 1 | 5.56 | . | . | 1 | 2.50 |
| 7. Lipohypertrophie | . | . | 1 | 4.55 | 1 | 2.50 |
| 7. Lipohypertrophie Abd. Bds7. Lipoathrophie re Bein | . | . | 1 | 4.55 | 1 | 2.50 |
| 7. Lipohypertrophie Abdomen bdsLipoathrophie re Bein | . | . | 1 | 4.55 | 1 | 2.50 |
| 7. Lipohypertrophie Arme+Oberschenkel bds, li | . | . | 1 | 4.55 | 1 | 2.50 |
| 7. Lipohypertrophie Bauch+OS, re | . | . | 2 | 9.09 | 2 | 5.00 |
| 7. Lipohypertrophie Bauch+Oberarm | 1 | 5.56 | . | . | 1 | 2.50 |
| 7. Lipohypertrophie Bauch+Oberschenkel | 1 | 5.56 | 1 | 4.55 | 2 | 5.00 |
| 7. Lipohypertrophie Gesäß (re) | 1 | 5.56 | . | . | 1 | 2.50 |
| 7. Lipohypertrophie Gesäß bds | . | . | 1 | 4.55 | 1 | 2.50 |
| 7. Lipohypertrophie Hüfte bds | . | . | 1 | 4.55 | 1 | 2.50 |
| 7. Lipohypertrophie OS bds. + Abd. Bds. | 1 | 5.56 | . | . | 1 | 2.50 |
| 7. Lipohypertrophie OS bds. + Abdomen | 1 | 5.56 | . | . | 1 | 2.50 |
| 7. Lipohypertrophie Oberarme bds+Oberschenkel bds | . | . | 1 | 4.55 | 1 | 2.50 |
| 7. Lipohypertrophie Oberschenkel bds | 1 | 5.56 | . | . | 1 | 2.50 |
| 7. Lipohypertrophie Po+Oberschenkel+Abdomen | 1 | 5.56 | . | . | 1 | 2.50 |
| 7. Lipohypertrophie am Abdomen beidseits und Oberschenkel beidseits | . | . | 1 | 4.55 | 1 | 2.50 |
| 7. Lipohypertrophie beide Oberschenkel | 1 | 5.56 | 2 | 9.09 | 3 | 7.50 |
| 7. Lipohypertrophie re Oberschenkel, Gesäß re, Flanke bds | 1 | 5.56 | . | . | 1 | 2.50 |
| 7. Lipome Abd. Bds. reizlose Kocher-Narbe | 1 | 5.56 | . | . | 1 | 2.50 |
| 7. Lipome Hüfte bds. | . | . | 1 | 4.55 | 1 | 2.50 |
| 7. Lipome left thigh | 1 | 5.56 | . | . | 1 | 2.50 |
| 7. Pityriasis versicolor am Stamm + Nacken | 1 | 5.56 | . | . | 1 | 2.50 |
| 8. Lipohypertrophie | . | . | 1 | 4.55 | 1 | 2.50 |
| Adipositas7. Striae Abdomen | 1 | 5.56 | . | . | 1 | 2.50 |
| Lipohyperthrophie OS + Gesäß | . | . | 1 | 4.55 | 1 | 2.50 |
| Lipom Oberschenkel | 1 | 5.56 | . | . | 1 | 2.50 |
| Lypohypertrophie Oberschenkel + Po | . | . | 1 | 4.55 | 1 | 2.50 |
| Total | 18 | 100.00 | 22 | 100.00 | 40 | 100.00 |

Appendix 4: EOT- Reason for end- Comments (free text)

| Comment | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- |
|  | N | % | N | % |
| Violation of time window due to AE | 1 | 100.00 | 1 | 100.00 |
| Total | 1 | 100.00 | 1 | 100.00 |

Appendix 5: Concomitant medication (free text)

| Medication | Sequence 1 |  | Sequence 2 |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | N | % | N | % | N | % |
| Dermatologicals | 1 | 3.33 | . | . | 1 | 1.61 |
| Insulin analogues | 16 | 53.33 | 16 | 50.00 | 32 | 51.61 |
| NSAID | 3 | 10.00 | 1 | 3.13 | 4 | 6.45 |
| Oral Contraceptives | 5 | 16.67 | 2 | 6.25 | 7 | 11.29 |
| Other | 5 | 16.67 | 11 | 34.38 | 16 | 25.81 |
| Phytotherapeutic antiinfectives | . | . | 2 | 6.25 | 2 | 3.23 |
| Total | 30 | 100.00 | 32 | 100.00 | 62 | 100.00 |

Appendix 6: General comments during visits (free text)

| Patient-No. | seq | Visit | Time point | Comment |
| --- | --- | --- | --- | --- |
| 10 | Sequence 1 | 1st visit | First intake of Ensure | 7:30 Uhr |
| 11 | Sequence 1 | 2nd visit | First intake of Ensure | Temp. Nicht passend zu Klinik aber so gemessen NCS |
| 26 | Sequence 1 | 2nd visit | Second intake of Ensure | 2. Mahlzeit nicht durchgeführt bei anhaltend hohem BZ |
| 29 | Sequence 2 | 1st visit | Prior to administration of study medication | Blutdruck 136/79 um 17:30 |

Appendix 7: Comments during dosing visits (free text)

| Patient-No. | seq | Visit | Sample-No. | Comment |
| --- | --- | --- | --- | --- |
| 1 | Sequence 2 | 2nd visit | 20 | Kommentar in Spalte "Dapagliflozin": 17:59 |
| 5 | Sequence 1 | 1st visit | 16 | ND, Zugang para |
| 5 | Sequence 1 | 1st visit | 17 | ND, Zugang para |
| 5 | Sequence 1 | 1st visit | 18 | ND, Zugang para |
| 7 | Sequence 2 | 1st visit | 9 | 2. Gabe des Studienmedikamentes: 6:32 Uhr |
| 7 | Sequence 2 | 2nd visit | 9 | 2. Gabe des Studienmedikamentes: 6:30 Uhr |
| 8 | Sequence 2 | 1st visit | 9 | 2. Gabe des Studienmedikamentes: 6:32 Uhr |
| 8 | Sequence 2 | 2nd visit | 9 | 2. Gabe des Studienmedikamentes: 6:34 Uhr |
| 8 | Sequence 2 | 2nd visit | 15 | 12:53 Uhr Hypo-Alarm Sensor 60 mg/d, Blutzucker, 112 mg/dl /S/Q 10,1, keine Hypobehandlung12:55 Uhr Sensor kalibriert |
| 10 | Sequence 1 | 2nd visit | 21 | : |
| 11 | Sequence 1 | 1st visit | 4 | 21:43 Uhr Sensorwechsel |
| 11 | Sequence 1 | 1st visit | 5 | 23:08 Uhr 89 mg/dl (BZ-Gerät) |
| 14 | Sequence 2 | 1st visit | 19 | 16:30 BZ 314 zur Kalibrierung |
| 14 | Sequence 2 | 2nd visit | 19 | 16:25 Uhr Blutzucker 130 mg/dl zur Kalibrierung |
| 16 | Sequence 2 | 1st visit | 6 | 23-Jun-2018 01:40: Sensor 63 mg/dl, BZ: 88mg/dl Patientin schläft ruhig, keine Hyposymptome, keine Behandlung |
| 16 | Sequence 2 | 2nd visit | 19 | 16:52 Blutzucker 150 mg/dl zur Kalibrierung |
| 17 | Sequence 1 | 1st visit | 19 | 16:30 BZ 240 zur Kalibrierung |
| 17 | Sequence 1 | 2nd visit | 19 | 16:52 Blutzucker 207 mg/dl zur Kalibrierung |
| 18 | Sequence 1 | 1st visit | 20 | Glukose 16:30 |
| 19 | Sequence 1 | 1st visit | 12 | 8:43 neuer Zugang und dann Glucagon abgenommen, BZ + Keton um 8:36 |
| 21 | Sequence 2 | 2nd visit | 2 | 20:20 Sensor 61 mg, BZ 86 mg Ø Symptome |
| 21 | Sequence 2 | 2nd visit | 3 | ND, 26.09.2017 20:05 Zugang para |
| 21 | Sequence 2 | 2nd visit | 4 | 26.09.2017 21:45 BZ 99 mg/dl -> Sensor sagt 61 -> kalibriert! |
| 22 | Sequence 1 | 1st visit | 8 | Sensor Kalibriert |
| 22 | Sequence 1 | 2nd visit | 7 | 3:00 Kontrolle, plötzlich bemerkt, dass die Uhrzeit im Tablet auf 2:00 gegangen ist |
| 22 | Sequence 1 | 2nd visit | 8 | BGA um 5:00 + Katheterwechsel |
| 22 | Sequence 1 | 2nd visit | 20 | 16:56 Kalibr. Durchgeführt |
| 23 | Sequence 2 | 1st visit | 3 | BZ 63 1/2 KE + Symptome Tbz |
| 23 | Sequence 2 | 1st visit | 4 | BZ 79 + Symptome |
| 23 | Sequence 2 | 2nd visit | 8 | Sensor Kalibriert |
| 25 | Sequence 1 | 1st visit | 3 | 20:15, 1 KE TBZ |
| 25 | Sequence 1 | 1st visit | 4 | 21:26, 1 KE TBZBZ 21:48 111 mg/dl22:44 59 mg/dl, 1 KE |
| 25 | Sequence 1 | 2nd visit | 4 | 22:07 BZ: 58 mg/dl Sensor: 65 mg/dl 1KE Traubenzucker leichte Symptome22:20 BZ: 68 mg/dl Sensor: 63 mg/dl Ø keine Symptome mehr22:35 Sensor: 74 mg/dl |
| 27 | Sequence 2 | 1st visit | 1 | Sensor kalibriert; 19:22 BZ: 43 mg/dl Symptome 1,5 KE Traubenzucker |
| 27 | Sequence 2 | 1st visit | 2 | 19:31 BZ: 53 mg/dl Sensor: 51 mg/dl - - 19:52 BZ: 74 mg/dl Sensor: 89 mg/dl - - |
| 27 | Sequence 2 | 1st visit | 3 | 20:30 BZ: 41 mg/dl Sensor: 50 mg/dl Symptome 2,0 KE |
| 27 | Sequence 2 | 1st visit | 4 | 21:46 BZ: 61 mg/dl Sensor: 52 mg/dl Symptome 1,5 KE TZ |
| 29 | Sequence 2 | 2nd visit | 1 | 1 KE |
| 30 | Sequence 2 | 1st visit | 3 | Sensor kalibriert |
| 30 | Sequence 2 | 2nd visit | 4 | 21:46 BZ 69 mg/dl 1 KE Traubenzucker |
| 31 | Sequence 1 | 2nd visit | 9 | BE 25 min später, da neues Zugang, BZ+Keton auch |
| 32 | Sequence 1 | 1st visit | 8 | BZ 96 um 4:30 |
| 33 | Sequence 2 | 1st visit | 5 | Glukose 237 um 22:30beta-OH-Buttersäure 0,1 um 22:30 |
| 34 | Sequence 2 | 1st visit | 4 | Glukose um 21:30 |
| 34 | Sequence 2 | 1st visit | 5 | Glukose und beta-OH um 22:30 |
| 34 | Sequence 2 | 1st visit | 6 | Glukose um 00:30 |
| 34 | Sequence 2 | 1st visit | 8 | Glukose um 4:30 |

Tables

Table 1: Conduct of study

Table 2: Relative time of glucose sensor readings in range of 70-180 mg/dl

Table 3: Relative time of glucose sensor readings in range of 70-180 mg/dl- One-sided paired t-test- Dapaliflozin vs placebo

Table 4: Relative time of glucose sensor readings in range of 70-180 mg/dl- Point estimates for difference between dapagliflozin and placebo (Hodges-Lehmann Estimation of shift)

Table 5: Glucose sensor readings- Ranges (event based)

Table 6: Amount of 24-h urine collection [ml]

Table 7: Amount of 24 h urine collection- One-sided paired t-test- Dapaliflozin vs placebo

Table 8: Amount of 24 h urine collection- Point estimates for difference between dapagliflozin and placebo (Hodges-Lehmann Estimation of shift)

Table 9: Urinary glucose concentration [mg/dl]

Table 10: Urinary glucose concentration [mg/dl]- One-sided paired t-test- Dapaliflozin vs placebo

Table 11: Urinary glucose concentration [mg/dl]- Point estimates for difference between dapagliflozin and placebo (Hodges-Lehmann Estimation of shift)

Table 12: Urinary glucose content [mg/24h]

Table 13: Urinary glucose content [mg/24h]- One-sided paired t-test- Dapaliflozin vs placebo

Table 14: Urinary glucose content [mg/24h]- Point estimates for difference between dapagliflozin and placebo (Hodges-Lehmann Estimation of shift)

Table 15: Glucose sensor readings (event based)

Table 16: Glucose sensor readings- ANOVA- Type III SS

Table 17: Glucose sensor readings- ANOVA- LS-Means for fixed factors

Table 18: Glucose sensor readings- ANOVA- LS-Means for random factors (Total)

Table 19: Glucose sensor readings- Point estimates for the difference and mean change between dapagliflzin and placebo

Table 20: Insulin dose used in 24 h [U/kg/24h]

Table 21: Insulin dose used in 24 h [U/kg/24h]- ANOVA- Type III S

Table 22: Insulin dose used in 24 h [U/kg/24h]- ANOVA- LS-Means for fixed factors

Table 23: Insulin dose used in 24 h [U/kg/24h]- ANOVA- LS-Means for random factors (Total)

Table 24: Insulin dose used in 24 h [U/kg/24h]- Point estimates for the difference and mean change between dapagliflzin and placebo

Table 25: Percentage of elevated ß-hydroxybutyrate (>0.5 mmol/l) values during study per patient

Table 26: Percentage of elevated ß-hydroxybutyrate [%] - ANOVA

Table 27: Percentage of elevated ß-hydroxybutyrate [%] - LS-Means for fixed factors

Table 28: Elevated ß-hydroxybutyrate [%] - ANOVA- LS-Means for random factors (Total)

Table 29: ß-hydroxybutyrate [mmol/l] (patient based)

Table 30: ß-hydroxybutyrate [mmol/l]- ANOVA

Table 31: ß-hydroxybutyrate [mmol/l]- LS-Means for fixed factors

Table 32: ß-hydroxybutyrate [mmol/l]- ANOVA- LS-Means for random factors (Total)

Table 33: ß-hydroxybutyrate [mmol/l]- Point estimate for difference between dapagliflozin and placebo [%]

Table 34: Insulin need during the DreaMed automated insulin delivery- ANOVA

Table 35: Insulin need during the DreaMed automated insulin delivery- ANOVA- LS-Means for fixed factors

Table 36: Insulin need during the DreaMed automated insulin delivery- Point estimate for difference between dapagliflozin and placebo

Table 37: Informed consent of patient and legal guardian (if applicable)

Table 38: Screened patients- Inclusion criteria

Table 39: Screened patients- Exclusion criteria

Table 40: Screening visit- Patient’s demographics and characteristics

Table 41: Screening visit- Vital signs

Table 42: Urin status

Table 43: Screening- Urine drug test- Kombitest 10

Table 44: Screening- Urine drug test positive- Reason

Table 45: Screening- Blood taken

Table 46: Screening- Blood not taken- Reason

Table 47: Screening- Age at diagnosis of diabetes

Table 48: Screening- HbA1c measurement performed

Table 49: Screening- HbA1c value [%]

Table 50: Screening- Training for glucose sensor system performed

Table 51: Screening- Alarm settings during the run-in phase performed

Table 52: Screening- Alarm settings

Table 53: Dosing visits- Patient randomized

Table 54: Dosing visits- All in- and exclusion criteria fulfilled (screening)

Table 55: Dosing visits- Exclusion criteria (multiple answers possible)

Table 56: Pregnancy test performed (in case of women of child-bearing potential)

Table 57: Pregnancy test- Result (in case of women of child-bearing potential)

Table 58: Dosing visits- Systolic blood pressure [mmHg]

Table 59: Dosing visits- Diastolic blood pressure [mmHg]

Table 60: Dosing visits- Pulse [bpm]

Table 61: Dosing visits- Temperature [°C]

Table 62: Dosing visits- Weight [kg] prior to administration of study medication

Table 63: Dosing visits- Blood sample collected within the time window of +/- 5 minutes

Table 64: Dosing visits- Blood sample collected for PK dapagliflozin (event based)

Table 65: Dosing visits- Capillary glucose [mg/dl]

Table 66: Dosing visits- Blood sample collected for GLP GIP Glucagon

Table 67: Dosing visits- Average concentration of GLP-1 active in blood samples [pmol/l]

Table 68: Dosing visits- Average concentration of GLP-1 total in blood samples [pg/ml]

Table 69: Dosing visits- Average concentration of GIP in blood samples [pg/ml]

Table 70: Dosing visits- Average concentration of Glucagon in blood samples [pmol/l]

Table 71: Dosing visits- Average concentration of Iso-Insulin in blood samples [mU/L]

Table 72: Dosing visits- Beta-hydroxybutyrate [mmol/l]

Table 73: Dosing visits- Blood sample collected for blood gas analysis

Table 74: Dosing visits- Dapagliflozin/placebo

Table 75: Dosing visits- Amount of Ensure intake [ml]

Table 76: Dosing visits- Total amount of Ensure intake

Table 77: Dosing visits- No intake: Amount of Ensure [ml]

Table 78: Dosing visits- Total amount of Ensure intake [%]

Table 79: Dosing visits- 24 h urine collected within the time window of +/- 5 minutes

Table 80: Dosing visits- Urine sample collected

Table 81: Dosing visits- Insulin dose used in 24 h- within the time window of +/- 5 minutes

Table 82: Dosing visits- Amount of insulin at start of connection to DreaMed System [i.E.]

Table 83: Dosing visits- Amount of insulin at the end of connection to DreaMed System [i.E.]

Table 84: Dosing visits- Amount of insulin used in 24 h [i.E./kg/24h]

Table 85: Phone calls- Performed

Table 86: Phone calls- Problems/questions

Table 87: FU- Weight and height

Table 88: FU- Vital signs

Table 89: Physical examination

Table 90: FU- Blood sample collected

Table 91: FU- Blood sample not collected- Reason

Table 92: EOT- Reason for end

Table 93: EOT- Violation of inclusion criteria

Table 94: EOT- Violation of exclusion criteria

Table 95: EOT- Reason for withdrawal

Table 96: Patients with at least one previous or current disease

Table 97: Previous and current diseases (multiple answers possible)

Table 98: Previous and current diseases- Ongoing

Table 99: Hypoglycemia- Number of patients with at least one hypoglycemia

Table 100: Hypoglycemia- Number of events

Table 101: Hypoglycemia- Symptomatic

Table 102: Hypoglyemia- Self-treatment possible

Table 103: Hypoglycemia- Self-treatment not possible- Treatment by another person

Table 104: Hypoglycemia- Patient unconscious

Table 105: Hypoglycemia- Blood sugar [mg/dl] before treatment

Table 106: Hypoglycemia- Activity prior to hypoglycemia

Table 107: Number of patients with at least one concomitant medication

Table 108: Medication- Actual diabetes treatment (at screening)

Table 109: Medication- Actual diabetes treatment (at screening)- Daily dose [IU]

Table 110: Medication- Average daily dose of insulin per kg body weight (ongoing) [IU/kg]

Table 111: Medication- Indication

Table 112: Medication- Other indication

Table 113: Number of patients with at least one adverse event

Table 114: Adverse events according to MedDRA-SOC and PT

Table 115: AE- Occurrence during dosing visits with dapagliflozin/placebo

Table 116: AE- Severity

Table 117: AE- Ongoing or recovered at this time

Table 118: AE- Completely recovered

Table 119: AE- Study medication received before first symptoms occurred

Table 120: AE- Relation to study medication

Table 121: AE- Action taken

Table 122: AE- Event because of technical problems

Table 123: AE- Event because of incompatibility reaction

Table 124: AE- Serious

Figures

Figure 1: Study Overview

Figure 2: Relative time of glucose sensor readings in range (per patient): Dapagliflozin vs placebo

Figure 3: Relative time of glucose sensor readings in range (per patient): Dapagliflozin vs placebo agreement plot for paired design

Figure 4: Amount of 24 h urine collection (per patient): Dapagliflozin vs placebo profiles plot for paired design

Figure 5: Amount of 24 h urine collection (per patient): Dapagliflozin vs placebo agreement plot for paired design

Figure 6: Urinary glucose concentration [mg/dl]: Dapagliflozin vs placebo profiles plot for paired design

Figure 7: Urinary glucose concentration [mg/dl]: Dapagliflozin vs placebo agreement plot for paired design

Figure 8: Urinary glucose content [mg/24h]: Dapagliflozin vs placebo profiles plot for paired design

Figure 9: Urinary glucose content [mg/24h]: Dapagliflozin vs placebo agreement plot for paired design

Figure 10: Mean ß-hydroxybutyrate levels over time after study drug administration [mmol/l]

Listings

Listing 1: Reason for termination and major protocol violations

Listing 2: Adverse events

Appendix

Appendix 1: Phone calls- Which problems/questions (free text)

Appendix 2: Dosing visits- Comments (free text)

Appendix 3: Physical examination abnormal- Observation (free text)

Appendix 4: EOT- Reason for end- Comments (free text)

Appendix 5: Concomitant medication (free text)

Appendix 6: General comments during visits (free text)

Appendix 7: Comments during dosing visits (free text)

IRB Approval

EuDraCT Registration

Approval of BfArM according to §42 Abs 2 AMG

Randomization Approval Form

  - Sample Patient Information

INFORMATIONSBLATT FÜR ERWACHSENE STUDIENPATIENTEN

A Randomized, Double-Blind, Placebo-controlled, Single-center Phase 1 Inpatient Pilot Study to Explore the Safety and Efficacy of two doses of DAPAglifozin as Add-on to day and night closed-loop control using the DreaMed Substance Administration Device Software in Adolescent and Adult Subjects with Type 1 Diabetes mellitus

.

- DAPADream-Studie –

Randomisierte, doppelblinde, Plazebo-kontrollierte, monozentrische, Phase 1-Studie zur Untersuchung der Sicherheit und Wirksamkeit zweier Gaben Dapagliflozin als Zusatztherapie zu einem closed loop System (tagsüber und nachts) unter der Kontrolle des automatisierten MD-Logic Systems bei jugendlichen und erwachsenen Patienten mit Typ 1 Diabetes mellitus.

Liebe Studienteilnehmerin, lieber Studienteilnehmer,

Sie sind an einem Typ 1 Diabetes erkrankt. In diesem Informationsblatt bitten wir Sie um Ihre Einwilligung, sich an der oben genannten klinischen Studie zu beteiligen. Leiter der Studie im Kinder- und Jugendkrankenhaus AUF DER BULT in Hannover ist Prof. Dr. Thomas Danne, Diabeteszentrum für Kinder und Jugendliche, Janusz-Korczak-Allee 12, 30173 Hannover, Tel. 0511/8115-3330. Prof. Danne ist auch der Sponsor der Studie.

Bisher wurden Sie im Rahmen Ihrer Diabeteserkrankung mit Insulin behandelt. Ihr Diabetologe überwacht routinemäßig Blut- und Urinwerte, um den Behandlungserfolg zu beobachten.

Im Rahmen dieser Studie soll ein Medikament untersucht werden, welches für Ihre Erkrankung, Diabetes mellitus Typ 1, bislang nicht zugelassen ist. Dieses Medikament mit dem Namen Dapagliflozin wird zusätzlich zu Ihrer Insulinbehandlung eingesetzt. Das Besondere ist, dass Dapagliflozin bisher nur bei Patienten mit Typ 2- Diabetes eingesetzt wurde, wo es als wirksame und sichere Behandlung beobachtet wurde.

Im Folgenden möchten wir Ihnen Ziel und Verlauf der genannten Studie genauer vorstellen.

Was ist das Ziel der Studie?

Das Hauptziel dieser Studie ist, Daten über die Veränderung Ihrer Insulindosis innerhalb von 24 Stunden nach zwei Gaben von je 10 mg Dapagliflozin (Testpräparat) oder eines Kontrollpräparates (Plazebo) zu sammeln. Während dieser 24 Stunden werden Sie allerdings nicht Ihre gewohnte Insulinpumpentherapie fortsetzen, sondern auf ein automatisches System, das Ihre aktuellen Blutzuckerwerte auswertet, um Ihren tatsächlichen und aktuellen Insulinbedarf zu berechnen. Dies System steuert dann Ihre (während dieser Studie benutzte) Insulinpumpe direkt an. Während dieser 24 Stunden sind Sie bei uns im Kinderkrankenhaus.

Dieses System heißt DreaMed, es ist im Prinzip eine Software auf der Grundlage eines so genannten Algorithmus. Ein Algorithmus ist so etwas wie eine mathematische Formel, die mit Daten (in diesem Fall Ihre Blutzuckerwerte, Entscheidungen trifft (hier also die Entscheidung bezüglich der Insulindosis). Diese Software läuft auf einem PC oder Tablet. Das DreaMed System trägt die CE-Kennzeichnung, darf also In Deutschland auch benutzt werden. Unsere Klinik hat bereits einige Studien mit diesem System durchgeführt.

Das DreaMed System ist also mit Ihrer Pumpe und dem Sensor verbunden. Da das System durch häufige Messung der Gewebezuckerwerte, die Insulindosis, je nach Bedarf dosiert, ist zu erwarten, dass sich Dapagliflozin sehr gut als Zusatztherapie für das DreaMed System eignet.

Wir führen diese Studie zu Forschungszwecken durch, um zu untersuchen, inwiefern durch die zusätzliche Einnahme von Dapagliflozin die generelle Insulindosis bei Patienten mit Typ 1-Diabetes reduziert werden kann und wie sich dies Medikament als Zusatztherapie zum DreaMed System eignet.

Von besonderem Interesse ist die Zeit innerhalb dieser 24 Stunden, in denen Ihr Blutzuckerwert im Zielbereich zwischen 70 und 180 mg/dL (3.9-10mmol/L) ist.

Weiterhin ist von Interesse, ob und wieweit die Insulindosis die Sie bekommen, mit Hilfe von Dapagliflozin herabgesetzt werden kann.

Zusätzlich werden Informationen zum Zuckergehalt im Urin eingeholt.

An dieser Studie werden sich insgesamt 30 männliche und weibliche Jugendliche und Erwachsene im Alter zwischen 12 und 21 Jahren aus dem Diabeteszentrum für Kinder und Jugendliche in Hannover beteiligen.

- Wissenschaftlicher Hintergrund

Typ 1-Diabetiker benötigen eine lebenslange Insulinbehandlung, um den Blutzuckerspiegel stabil zu halten und Folgeerkrankungen zu verhindern bzw. zu vermindern. Besonders in der Zeit zwischen dem 12. und 18. Lebensjahr kommt es entwicklungsbedingt zu erheblichen Blutzuckerschwankungen, die eine permanente Anpassung der Insulinbehandlung, der Nahrungszufuhr und der körperlichen Aktivität erfordern. Dabei ist die Gefahr einer Über- oder Unterzuckerung immer gegeben, und die Angst davor begleitet die Typ 1-Diabetiker.

Als Folge kann es zu unangepaßter Insulin- bzw. Nahrungszufuhr kommen. Der Körper reagiert darauf mit einer deutlichen Gewichtszunahme, stetig wachsendem Bedarf an Insulin und oft einer Verwertungsstörung des Insulins. Dadurch wird der Blutzuckerspiegel immer schwerer einstellbar.

Es gibt verschiedene Medikamente, die helfen, diesen Teufelskreis zu durchbrechen. Dapagliflozin ist eines davon. Durch seinen besonderen Wirkmechanismus in der Niere hilft es, den Blutzuckerspiegel zu regulieren, indem es die Glukoserückgewinnung aus dem Urin in der Niere erniedrigt.

Dieses führt dazu, dass vermehrt Glukose im Urin ausgeschieden wird und somit ein Anstieg im Blut verhindert wird.

Dapagliflozin wurde bislang bei Patienten mit Typ 2-Diabetes untersucht. Hier hat es sich als wirksam und sicher erwiesen. Im Rahmen einer Vorgängerstudie hier in der Klinik, konnten bereits Daten zur Sicherheit und Wirksamkeit von Dapagliflozin bei Patienten mit Typ 1-Diabetes im Alter von 12 bis 21 Jahren gewonnen werden.

- Was müssen Sie über die Studienbehandlung wissen?

Wenn Sie sich bereit erklären, an dieser Studie mitzumachen, werden Sie nach dem Zufallsprinzip bestimmten Gruppen zugeordnet (so, als würde man würfeln).

Durch diese Einteilung (Randomisation) wird festgelegt, in welcher Reihenfolge Sie das Test- und Kontrollmedikament erhalten werden.

Das Kontrollmedikament hat keinerlei Wirkung auf die Insulindosis und ermöglicht einen Vergleich der benötigten Insulinmenge mit und ohne Dapagliflozin unter standardisierten Bedingungen.

Welche Medikamentenreihenfolge sich hinter welcher Gruppe verbirgt, ist weder Ihnen noch Ihrem Arzt bekannt. Das heißt, diese Studie erfolgt „Doppel-blind“. Erst am Ende der Studie erfahren Sie und Ihr Arzt, wann Sie Dapagliflozin bzw. das Kontrollmedikament erhalten haben.

Im Notfall kann Ihr Arzt aber jederzeit in Erfahrung bringen, welche Behandlung Sie erhalten haben.

Bitte tragen Sie immer den Patientenausweis bei sich, den Sie von Ihrem Studienarzt bei Studienbeginn erhalten. Auf diesem finden sich die wichtigsten Angaben zu dieser Studie, damit ein anderer Arzt über Ihre Behandlung informiert ist, sollten Sie bei einem Notfall nicht ansprechbar sein.

- Wie ist der Ablauf, wenn Sie an dieser klinischen Prüfung teilnehmen?

Der gesamte Studienzeitraum beträgt für Sie längstens 10 Wochen. Es finden die unten gelisteten Termine am Studienzentrum statt:

- einen Informationstermin

- einen Screening-Besuchstag (Visit 1)

- zwei Behandlungstermine von je ca. 27 Stunden (Visit 2 und 4)

- zwei Telefontermine von je ca. 15 Minuten (Visit 3 und 5)

- einen Kontroll-Besuchstag (Follow-up) (Visit 6).

| Visite | Information | Visite 1 Screening | Visite 2 Behandlung | Visite 3 | Visite 4 Behandlung | Visite 5 | Visite 6 Kontrolle |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Zeit in Tagen | Mind. 1 Tag vor Visite 1 | 0 | 2-21 | 3-5 nach Visite 2 | 5-30 | 3-5 nach Visite 3 | 12-72 |

Wenn Sie zum Informationstermin in die Klinik kommen, wird Ihnen der Studienarzt als erstes den genauen Studienverlauf, einschließlich der Untersuchungen und Behandlungen und des

erforderlichen Zeitaufwands beschreiben. Zum anderen wird er Ihnen den Nutzen und die Risiken dieser Studienteilnahme darlegen. Gleichzeitig erhalten Sie die im Gespräch erörterten Informationen in schriftlicher Form.

Im Anschluss daran können Sie sich ausreichend Zeit (mindestens 24 Stunden) nehmen, über eine Teilnahme oder Nicht-Teilnahme zu entscheiden. Wenn Sie einverstanden sind, unterschreiben Sie bitte die Einverständniserklärung zur Teilnahme an der Studie. Sobald auch der Studienarzt unterschrieben hat, erhalten Sie eine Kopie der unterschriebenen Version.

Sie erhalten anschließend einen Termin zum Screening-Besuch (Visite 1).

Beim Screening-Besuch (Visite 1) werden alle Kriterien, die für die Teilnahme an der Studie festgelegt wurden, überprüft. Dazu wird eine körperliche Untersuchung vorgenommen, der Verlauf und die Behandlung Ihrer Diabeteserkrankung erfragt sowie Blut zur Bestimmung von Laborwerten hinsichtlich einer vorliegenden Leberentzündung HIV, Drogen und Alkohol entnommen. Bei weiblichen Patienten erfolgt ggfls. ein Schwangerschaftstest. Ein positives Ergebnis des Drogentests wird vertraulich behandelt.

Im Rahmen der Studiendaten werden alle erhobenen personengebundenen Daten in pseudonymisierter Form erhoben und festgehalten. Sollten aber im Laufe der Studie Erkrankungen mit einer gesetzlichen Meldepflicht (z. B. Hepatitis oder HIV) diagnostiziert werden, sind wir zur Anzeige bei den Gesundheitsbehörden verpflichtet. Bei der Meldung positiver Hepatitis Ergebnisse muss der Name des Patienten genannt werden. Somit wird in diesem Fall die Anonymität aufgehoben.

Wenn nichts gegen eine Teilnahme spricht, erhalten Sie einen Termin zum ersten Behandlungstag und Vorgaben, wie Sie sich bis dahin verhalten sollen.

Die Anlage und Nutzung eines Glukosesensors wird erläutert, geübt und durchgeführt, dieses ist eine mehrstündige Schulung, um alle nötigen Inhalte ausreichend zu berücksichtigen.

Der erste Behandlungstermin (Visite 2) findet frühestens 2 und spätestens 21 Tage nach dem Screening-Besuch statt. Er beinhaltet eine stationäre Aufnahme über ca. 27 Stunden: Sie werden an Tag 1 gegen 16 Uhr im Kinder – und Jugendkrankenhaus AUF DER BULT aufgenommen.

Als erstes werden erneut die Ein – und Ausschlusskriterien geprüft und ggfls. ein Schwangerschaftstest mittels Urinprobe vorgenommen.

Sie werden in eine Behandlungsgruppe randomisiert (also nach einem Zufallsprinzip in die Gruppe, die zuerst das Medikament und danach das Plazebo erhält, oder umgekehrt).

Ihre Insulinpumpe wird ausgelesen und die Daten werden in das DreaMed System eingelesen, um das System für Sie persönlich angepasst, starten zu können. Die Funktion des Sensors wird überprüft und ggf. wiederhergestellt.

Der Glukosesensor wird mit dem DreaMed System verbunden (Sensor-Pumpe-DreaMed) und kalibriert. Es erfolgt nun eine kontinuierliche Glukosemessung über den Sensor.

Um 17:30 Uhr bekommen Sie Abendessen und ein Insulinbolus wird gegeben.

Da ab 19 Uhr auch der Zuckergehalt im Urin über 24 Stunden getestet werden muss, werden Sie zuvor gebeten, auf die Toilette zu gehen, um Ihre Blase zu entleeren.

Anschließend wird Ihr Urin in einem speziellen Behälter gesammelt, so dass Sie ab ca. 19 Uhr während der nächsten 24 Stunden Ihren Urin nur noch in diesen Behälter entleeren dürfen.

Wenn Ihre Blutzuckerwerte im Ziel-Bereich liegen und Ihre Blase entleert ist, erhalten Sie um 19 Uhr das Test- oder Kontrollpräparat in verblindeter Tablettenform. Natürlich können Sie zur Einnahme etwas Wasser trinken.

Anschließend werden wir über eine zusätzliche Venenverweilkanüle in bestimmten Abständen über insgesamt 24 Stunden Blutentnahmen für Laboranalysen vornehmen.

Um sicher zu gehen, dass Ihr Blutzucker im Zielbereich zwischen 70-180 mg/dL bleibt, wird nun auch das DreaMed System angeschaltet. Es bleibt angeschaltet bis zum Ende dieser Visite.

Ab 23 Uhr beginnt eine mehrstündige Fastenphase, in der Sie nichts essen und trinken dürfen.

Am nächsten Morgen (Tag 2) wird im nüchternen Zustand Blut entnommen, um einige Blutwerte zu bestimmen. Danach, ca. um 7 Uhr, bekommen Sie eine so genannte Standardmahlzeit. Diese Standardmahlzeit kann man fertig kaufen und sie hat eine ganz bestimmte Zusammensetzung an Kohlenhydraten (Hauptanteil), Proteinen und Fett. Diese Mahlzeit wird getrunken. Ab dem Zeitpunkt der Standardmahlzeit werden für ca. zwei Stunden alle 30 Minuten bestimmte Werte in Ihrem Blut bestimmt, die Auskunft darüber geben, wie Ihr Körper nach Einnahme des Medikamentes und mit Unterstützung des DreaMed Systems, die aufgenommene Nahrung bewältigt. Außerdem dienen diese Messungen Ihrer Sicherheit.

Weiterhin werden in den zwei Stunden nach der Mahlzeit halbstündlich Ihre Blutzuckerwerte durch kapillare Blutentnahmen bestimmt. Bis zur nächsten Standardmahlzeit dürfen Sie nichts essen.

Um ca. 13 Uhr erhalten Sie die zweite Standardmahlzeit. Und es wiederholen sich die gleichen Untersuchungen wie zur ersten Standardmahlzeit.

Sie bleiben nun noch sechs Stunden in der Klinik, bevor Sie gegen 19 Uhr entlassen werden.

Bevor Sie entlassen werden, wird letztmalig Urin abgegeben. Kurz vor der Entlassung wird das DreaMed System abgekoppelt und Sie bekommen wieder Ihre Insulinpumpe, die Sie üblicher Weise benutzen.

Natürlich wird mit Ihnen auch der Behandlungstermin für den nächsten stationären Studienbesuch ausgemacht und Sie erhalten wieder die Therapiehinweise für die 3 Tage vor dem nächsten Behandlungstermin.

3 bis 5 Tage nach dem ersten Behandlungstermin werden Sie von einem Mitarbeiter des Studienteams telefonisch kontaktiert. Das ist der erste Telefontermin (Visit 3). Hier werden Ihnen Fragen zu Ihrem Befinden und eventuell ungewöhnlichen Ereignissen gestellt. Natürlich können Sie auch Fragen stellen.

Der zweite Behandlungstermin (Visit 4) findet 5 bis 30 Tage nach dem ersten Behandlungstermin statt und läuft identisch ab. Der einzige Unterschied besteht darin, dass Sie am zweiten Behandlungstermin das jeweils andere Studienmedikament erhalten werden. Wenn Sie also am ersten Behandlungstermin Dapagliflozin erhalten haben, werden Sie am

zweiten Behandlungstermin das Kontrollmedikament bekommen und umgekehrt. Wie vorab schon erwähnt, wissen aber weder Sie, noch das Studienteam, welches Medikament Sie erhalten haben.

Wieder 3 bis 5 Tage nach dem zweiten Behandlungstermin findet der zweite Telefontermin (Visit 5), identisch zum ersten Telefontermin, statt.

Zwischen 5 und 21 Tagen nach dem zweiten Behandlungstermin erfolgt der abschließende Kontrollbesuch (Follow-up, Visit 6), der ambulant im Kinderkrankenhaus stattfindet. Hier werden Sie erneut körperlich untersucht und es erfolgt eine erneute Blutentnahme zur Kontrolle einiger Laborparameter und ggfls. ein Schwangerschaftstest.

Während der gesamten Studie werden Ihnen etwa 100 ml Blut entnommen.

- Welches Medikament wird getestet?

Im Rahmen der Studie wird das neue Medikament Dapagliflozin, welches von der Firma AstraZeneca GmbH, Tinsdaler Weg 183, 22880 Wedel, Deutschland, produziert wird, untersucht.

Sie erhalten beim ersten Behandlungstermin (Visit 2) entweder eine Tablette des Testmedikaments Dapagliflozin in der Dosierung 10 mg oder ein Kontrollmedikament, welches dem Testmedikament zum Verwechseln ähnlich sieht. Sie werden bei ordnungsgemäßer Einnahme nicht in der Lage sein, zu unterscheiden, ob Sie das Test- oder das Kontrollmedikament erhalten haben. Beim zweiten Behandlungstermin erhalten Sie das jeweilige andere Medikament.

Außerdem wird Ihre Insulindosis während der Behandlungsvisiten durch das DreaMed System, das die Blutwerte aus Ihrem Sensor auswertet und daraus die nötigen Insulinmengen berechnet und die Insulinpumpe ansteuert.

- Welcher mögliche Nutzen besteht für Sie?

Es ist möglich, dass Sie durch Ihre Teilnahme an dieser Studie keinen direkten Nutzen für Ihre Gesundheit haben. Wenn Sie sich entscheiden, an der DAPADream-Studie teilzunehmen, werden Sie aber einen wichtigen Beitrag zur Erforschung einer Verbesserung der Behandlung des Typ 1-Diabetes leisten. Besonders hervorzuheben sind dabei die Verringerung der täglichen Insulindosis, Verminderung der täglichen Blutzuckerschwankungen und damit verminderte Gefahr für Über- oder Unterzuckerung, der Schutz der Niere, sowie das Potential Gewicht zu verlieren bzw. nicht zuzunehmen.

Zum anderen können Sie von einer gründlichen körperlichen Untersuchung und einem allgemeinen Gespräch mit Ihrem Arzt über Ihre Gesundheit und Hinweisen für Ihre weitere Behandlung profitieren.

Durch die Teilnahme an dieser Studie helfen Sie sich und anderen Patienten mit Typ-1 Diabetes, da die Kenntnisse über Dapagliflozin erweitert werden

- Was sind mögliche Risiken?

Arzneimittel können neben den erwünschten Wirkungen auch Nebenwirkungen haben, deshalb werden Sie im Verlauf dieser klinischen Studie nach dem Auftreten so genannter unerwünschter Arzneimittelwirkungen untersucht und befragt. Damit wir im Rahmen der klinischen Prüfung alle auftretenden Effekte des Medikaments feststellen können, bitten wir Sie, jedes Problem und jede Störung Ihrer Befindlichkeit umgehend Ihrem Studienarzt mitzuteilen!

- Das Medikament Dapagliflozin

Dapagliflozin ist ein Arzneimittel, das in der Apotheke bereits zur Behandlung von Typ 2 Diabetes bei Erwachsenen unter dem Namen Forxiga® erhältlich ist. Es wurde bisher noch nicht für die Behandlung des Typ 1-Diabetes und auch nicht bei Kindern und Jugendlichen eingesetzt.

Zu den häufigsten Problemen, die bei Menschen, die Dapagliflozin im Rahmen von Studien eingenommen haben, zählten Schwindel, Rückenschmerzen, vermehrte Urinausscheidung, Entzündungen im Genital– und Harnwegsbereich und veränderte Nierenblutwerte. Diese Probleme waren gewöhnlich leicht, dauerten nicht lange an und sind von selbst wieder abgeklungen.

Zum anderen haben die Studien gezeigt, dass häufig Unterzuckerungen aufgetreten sind. Die Häufigkeit und Schwere dieses Ereignisses war aber von der zusätzlichen Therapie mit blutzuckersenkenden Medikamenten abhängig.

Aus diesem Grunde werden wir Sie über 24 Stunden nach der Einnahme des Medikaments im Kinderkrankenhaus durch kontinuierliche Blutzuckerbestimmungen überwachen und auch nach Ihrer Entlassung noch einmal kontaktieren. Sollten Sie aber während des stationären Aufenthaltes und auch 24 Stunden danach plötzliches Schwitzen, Atemprobleme, Übelkeit und Erbrechen, schnellen Herzschlag oder Schwindel spüren oder sich einfach nicht wohl fühlen, melden Sie sich bitte direkt bei einem Mitarbeiter des Studienteams.

Der/die Studienarzt/ärztin wird Sie vor Einschluss in die Studie genauestens über die genannten Nebenwirkungen des Medikaments informieren und Ihnen entsprechende Handlungsanweisungen geben.

So müssen Sie den Studienarzt auch über alle anderen Medikamente (auch rezeptfreie Medikamente, einschließlich Schmerzmittel, unregelmäßig eingenommene Vitamine und pflanzliche Präparate) informieren, die Sie während der Studie einnehmen. Sollte die Einnahme eines anderen Medikaments ganz gleich aus welchem Grund kurzfristig (medizinischer Notfall) notwendig sein, informieren Sie bitte umgehend den Studienarzt.

- Unerwünschte Ereignisse

Der/die Studienarzt/ärztin ist unverzüglich, ggf. per Telefon, über unvorhergesehene und unerwünschte Ereignisse (auch Unfälle oder Verletzungen) sowie Nebenwirkungen, die Ihre Gesundheit beeinträchtigen könnten, zu informieren. Auch bei Ereignissen, die allem Anschein nach nicht durch das Studienmedikament verursacht wurden. Jedes unerwünschte Ereignis muss genau mit Angaben zur Zeit (Beginn und Ende) beschrieben werden.

- Blutentnahme und Anwendung von Venenverweilkanülen

Während der gesamten Studie werden Ihnen ca. 100 ml Blut für medizinische Untersuchungen abgenommen. Um bei der Blutentnahme ständige Nadelstiche zu vermeiden, wird ein kleines Plastikröhrchen („Dauerkanüle“) in eine Armvene gelegt. An der Einstichstelle kann es, wie bei einer normalen Blutentnahme auch, vorübergehend zu lokalen Reaktionen (wie Rötungen, Schwellungen oder Juckreiz) kommen. Wenn sich diese Reaktionen auf andere Körperteile ausbreitet und Sie sich plötzlich unwohl fühlen (z. B. plötzliches Schwitzen, Atemprobleme, Übelkeit und Erbrechen, schneller Herzschlag oder Schwindel), sollten Sie unverzüglich medizinische Hilfe in Anspruch nehmen und das Studienpersonal so schnell wie möglich informieren.

Vereinzelt kann ein kleiner blauer Fleck oder eine geringe Schwellung entstehen. Es besteht ein sehr geringes Infektionsrisiko, das in seltenen Fällen zu einer Entzündung an der Einführstelle führen kann. In sehr seltenen Fällen kann ein falsches Einführen des Katheters eine Nervenschädigung hervorrufen. Wenn Sie etwas beobachten, was zuvor nicht da war, teilen Sie uns das bitte mit.

Sie sollten während der Studiendauer und in den 3 Monaten nach Abschluss der Studie kein Blut spenden.

Das DreaMed System

Die Anwendung von Insulinpumpen in Verbindung mit Glukosesensoren kann zu unerwünschten Wirkungen oder Beschwerden führen. Es kann passieren, dass es während der Anwendung des Systems – wie bei jeder Insulintherapie - zu Unterzuckerungen kommt. Während der Studie wird die Blutzuckereinstellung mit Hilfe des subkutan liegenden Sensors kontinuierlich (d.h. alle 5 Minuten) überwacht. Der Sensor enthält Alarmsysteme, die Sie rechtzeitig warnen sollen, wenn Ihre Blutzuckerwerte zu stark abweichen.

Wie üblich, wird eine auftretende Unterzuckerung von Ihnen mit schnellwirksamen Kohlenhydraten behandelt. Außerdem sind während der Therapie mit dem DreaMed-System Hyperglykämien (> 250 mg/dl) möglich, die bei Anhalten von über 3 Stunden und Nachweis von Blutketonen mit einem manuellem Insulinbolus behandeln werden.

Durch das Tragen der Glukosesensoren können in seltenen Fällen Hautreizungen oder Entzündungen entstehen. Deshalb wird empfohlen, den Sensor nicht länger als sechs Tage zu tragen. Wenn solche Nebenwirkungen eintreten, sollten Sie unverzüglich Ihren Studienarzt informieren.

Ihr Arzt oder die Studienleitung können zu dem Schluss kommen, dass Sie an der Studie nicht länger teilnehmen sollten, wenn die Risiken größer als der Nutzen für Ihr Wohlbefinden werden.

Wenn Sie irgendwelche Bedenken oder Fragen zu Risiken im Zusammenhang mit dieser Studie haben, sollten Sie diese unbedingt mit Ihrem Studienarzt besprechen.

Bitte teilen Sie den Mitarbeitern der Prüfstelle alle Beschwerden, Erkrankungen oder Verletzungen mit, die im Verlauf der klinischen Prüfung auftreten. Falls diese schwerwiegend sind, teilen Sie den Mitarbeitern der Prüfstelle diese bitte umgehend mit, ggf. telefonisch.

- Was müssen Sie prinzipiell über Ihre Teilnahme wissen?

Während der Studie können Ihr Arzt oder die Studienleitung zu dem Schluss kommen, dass aus medizinischen oder organisatorischen Gründen die Teilnahme an der Studie abgebrochen werden muss.

Dies ist z.B. der Fall wenn

- Sie während der gesamten Studiendauer so erkranken, dass negative Auswirkungen auf die Behandlung entstehen können.

- Berechtigte Zweifel an Ihrer Mitarbeit bestehen, z.B: wenn Sie gegen studienrelevante Vorgaben verstoßen,

- Sie oder Ihre Partnerin schwanger werden,

- die Risiken größer werden als der Nutzen für Ihr Wohlbefinden.

Des Weiteren kann die zuständige Bundesoberbehörde für Arzneimittel: Bundesinstitut für Arzneimittel und Medizinprodukte (BfArM), Fachgebiet Klinische Prüfung/Inspektionen, Kurt- Georg-Kiesinger-Allee 3, 53175 Bonn, Telefon: 0228-207 4318, Fax: 0228-207 4355, E-Mail: klinpruefung-bfarm@bfarm.de, die klinische Prüfung beenden.

In allen genannten Fällen einer vorzeitigen Beendigung der Studie, werden Sie zu Ihrer Sicherheit abschließend medizinisch untersucht.

Aufgrund gesetzlicher Bestimmungen müssen bestimmte Daten auch nach Rücknahme Ihrer Einwilligung gespeichert werden. Dies betrifft solche Angaben, die benötigt werden, um die Wirkungen des zu prüfenden Arzneimittels festzustellen, um beispielsweise Nebenwirkungen oder Komplikationen bei Ihnen erkennen und behandeln zu können oder aus Gründen der Dokumentationspflicht im Rahmen der Zulassung des Medikaments. Wenn diese Gründe nicht mehr vorliegen, werden auch diese Angaben gelöscht oder ohne Rückschlussmöglichkeit auf Ihre Person (anonymisiert) weiter genutzt.

Wenn Sie aus eigener Entscheidung von der klinischen Prüfung zurücktreten, werden keine weiteren Daten von Ihnen erhoben. Ihre bereits erhobenen Daten werden ggf. gelöscht (ihre Proben vernichtet) oder anonymisiert. Anonymisiert heißt, die Daten werden ohne Rückschlussmöglichkeit auf Ihre Person weitergenutzt.

- Was müssen Sie sonst noch wissen?

Da in klinischen Studien Medikamente geprüft werden, die noch nicht für Schwangere zugelassen sind und möglicherweise ein Risiko für das Ungeborene darstellen, können schwangere als auch stillende Frauen an der hier geplanten Studie nicht teilnehmen.

Aus diesem Grund wird während des Screening-Besuchs, zu Beginn des ersten und zweiten Behandlungstermins und beim Kontrollbesuch bei den weiblichen Teilnehmern im gebärfähigen Alter ein Schwangerschaftstest durchgeführt. Zum anderen können an der

Studie nur geschlechtsreife Personen teilnehmen, die eine zuverlässige und medizinisch anerkannte Verhütungsmethode anwenden.

Die Sicherheit einer Verhütungsmethode wird anhand des Pearl-Index (PI) gemessen. Je kleiner der Pearl-Index, desto sicherer die Verhütungsmethode. Wenden 100 Frauen ein Jahr lang das gleiche Verhütungsmittel an und treten in diesem Zusammenhang drei Schwangerschaften aus, so beträgt der Pearl-Index 3.

Zu den zuverlässigen Verhütungsmethoden zählen:

- operative Sterilisation (PI=0,2-0,3) und

- die Doppelbarriere-Verhütung.

Bei der Doppelbarriere-Verhütung soll eine hormonelle Verhütung und eine physische Verhütung (z.B. Kondom oder Spirale) Anwendung finden.

Zu den sicheren hormonellen Verhütungsmitteln zählen z.B.:

- Pille mit Östrogen und Gestagen (keine Minipille, PI=0,1-0,9)

- Vaginalring (PI=0,65, unkorr., 0,4 korr.)

- Kontrazeptionspflaster (PI=0,72, unkorr., 0,9 korr.)

- Östrogenfreier Ovulationshemmer PI=0,14)

- Verhütungsstäbchen mit Gelbkörperhormon (PI=0-0,08)

- Dreimonatsspritzen mit Depotgestagen (PI=0,3-1,4, 0,88 korr.)

- Hormonspirale mit Gelbkörperhormon, (PI=0,16)

Ihr Studienarzt oder Frauenarzt kann Sie hierzu ausführlich informieren. Sollten Sie / Ihre Partnerin trotz der Verhütungsmittel während der Studienzeit schwanger werden, muss dieses sofort dem Studienarzt mitgeteilt werden. Er wird Sie auch ohne Ihre Zustimmung aus der Studie ausschließen und Sie / Ihre Partnerin zur weiteren Betreuung an einen Frauenarzt überweisen.

Jede während der Studie auftretende Schwangerschaft und alle Erkenntnisse über den Ausgang der Schwangerschaft werden dokumentiert und ohne Nennung von Namen dem Auftraggeber der Studie mitgeteilt.

Der Studienarzt muss außerdem über alle Medikamente informiert werden (auch frei verkäufliche und pflanzliche Arzneimittel), die während der Studie genommen werden. Wenn aus irgendeinem Grund kurzfristig ein anderes Medikament genommen werden muss (medizinische Notfälle), informieren Sie bitte umgehend den Studienarzt.

Sollte sich ein positives Laborergebnis bei der Testung auf Hepatitis B und C zeigen, muss nach dem Infektionsschutzgesetz eine Meldung an die entsprechende Gesundheitsbehörde erfolgen.

Die Meldung von positiven Hepatitisergebnissen hat einschließlich der Namensnennung zu erfolgen, so dass für diesen Fall die Einhaltung der Anonymität aufgehoben ist.

Falls neue Erkenntnisse gewonnen werden, die vielleicht die Entscheidung zur Teilnahme an der Studie beeinflussen, wird der Studienarzt Sie darüber informieren.

Sollten sich unerwartete Risiken zeigen und diese den Nutzen der Studie übersteigen, kann der Studienarzt zu dem Schluss kommen, dass eine Teilnahme an der wissenschaftlichen Untersuchung beendet wird.

Wenn Sie irgendwelche Bedenken oder Fragen zu Risiken im Zusammenhang mit dieser Studie haben, sollten Sie diese unbedingt mit Ihrem Studienarzt besprechen.

- Die Teilnahme ist freiwillig

Ihre Teilnahme an dieser Studie ist vollkommen freiwillig. Auch wenn Sie sich einmal entschlossen haben, teilzunehmen, dürfen Sie jederzeit wieder aussteigen (bitte beachten Sie jedoch unsere Hinweise zur (Un-)Widerruflichkeit der Einwilligungserklärung zur Datenverarbeitung am Ende des folgenden Kapitels). Falls Sie selbst oder Ihr Arzt zu dem Schluss kommen sollten, dass Sie besser nicht an der Studie teilnehmen oder Ihre Teilnahme abgebrochen werden sollte, wird dies keinerlei Auswirkungen auf die Beziehung zu Ihrem Arzt oder auf Ihre weitere medizinische Versorgung haben.

Des Weiteren wird man Sie über alle wichtigen neuen Erkenntnisse, die während der Durchführung der Studie möglicherweise gewonnen werden, auf dem Laufenden halten. Dies könnte von Bedeutung für Ihre Bereitschaft zur weiteren Teilnahme sein. Es ist möglich, dass Ihr Arzt Sie aus der Studie nimmt, wenn dies im Interesse Ihrer Gesundheit liegt. In einem solchen Fall wird man Sie entsprechend informieren und Ihnen die Gründe erläutern.

Sie sollten nicht an der Studie teilnehmen, wenn Sie in der Zeit, in der diese Studie läuft, an anderen klinischen Versuchen teilnehmen oder vorhaben teilzunehmen.

- Zugang zu den Krankenakten und Verwendung von medizinischen Informationen

Wenn Sie sich zur Teilnahme an dieser Studie entschließen, werden aus Ihren Krankenakten personenbezogene Daten eingeholt, die für diese Studie benötigt werden. Dazu gehören medizinische und gesundheitsbezogene Informationen sowie Informationen über die ethnische Herkunft oder Ihre allgemeinen Lebensgewohnheiten. Diese Daten werden verschlüsselt in der Studienzentrale (Kinder- und Jugendkrankenhaus AUF DER BULT in Hannover, Diabeteszentrum für Kinder und Jugendliche, Janusz-Korczak-Allee 12, 30173 Hannover, Tel. 0511/8115-3330) erhoben, von den Mitarbeitern und Beauftragten der Studienzentrale sowohl von Hand als auch maschinell verwendet und weiterverarbeitet.

Weitere Beteiligte, an die Ihre persönlichen Informationen weitergegeben werden können, sind die Einrichtungen, an denen Sie medizinisch behandelt werden, Ihr Arzt/Ihre Ärzte, die zuständigen Bundesoberbehörden und Überwachungsbehörden und Ethikkommissionen. Im Zuge rechtlicher oder anderer Durchführungsbestimmungen kann den Vertretern dieser Einrichtungen ein direkter Zugriff auf Ihre Krankenakten gewährt werden.

Ihre persönlichen Informationen werden zu jeder Zeit in angemessener Weise vertraulich sowie im Einklang mit allen geltenden Gesetzen zum Datenschutz und zur Wahrung der Persönlichkeitsrechte behandelt.

Die außerhalb der Krankenakte aufgezeichneten Daten werden 10 Jahre, die in die Krankenakte aufgenommenen Daten 30 Jahre aufbewahrt und danach gelöscht bzw. vernichtet.

Die studienbezogenen Daten können außerdem zu Zwecken wissenschaftlicher Forschung, Ausbildung und Veröffentlichung sowie für künftige medizinische Studien verwendet werden.

Die studienbezogenen Daten enthalten nicht Ihren Namen oder Ihre Adresse. Stattdessen versieht der Studienarzt die Studiendaten mit einer Codenummer (Pseudonymisierung der Daten). Auf den Codeschlüssel, der es erlaubt, die studienbezogenen Daten mit Ihnen in Verbindung zu bringen, haben nur der Studienarzt und seine Mitarbeiter Zugriff.

Sie haben das Recht auf Auskunft über all Ihre beim Studienarzt vorhandenen personenbezogenen Daten. Sie haben auch Anrecht auf Korrektur eventueller Ungenauigkeiten in Ihren personenbezogenen Daten. Sie können jederzeit Ihre Einwilligung in die Teilnahme an der klinischen Prüfung widerrufen.

Ihre Einwilligung in die Verarbeitung der bis dahin u Ihnen erhobenen Daten kann jedoch nicht widerrufen werden.

Verantwortlich für die Verarbeitung der Daten ist der Studienarzt. Wenn Sie eine Anfrage machen wollen, wenden Sie sich bitte an die Studienleitung oder Ihren Studienarzt. Die Adresse und Telefonnummer finden Sie am Ende dieses Informationsblatts.

- Kosten und Kostenübernahme für die Teilnahme an der Studie

Durch Ihre Teilnahme an dieser klinischen Prüfung entstehen Ihnen keine zusätzlichen Kosten. Sie erhalten Reisekosten erstattet. Die Aufwandsentschädigung für die Teilnahme an dieser Studie beträgt 600,00 €. Bitte beachten Sie, dass Sie nur dann Anspruch auf den vollen Betrag haben, wenn Sie an allen vorgesehenen Studienbesuchen teilnehmen. Die Aufwandsentschädigung errechnet sich bei vorzeitigem Abbruch der Studie im Verhältnis zu dem Teil der Studie, den Sie bereits abgeschlossen haben.

- Versicherungsschutz

Bei dieser klinischen Prüfung sind alle Studienteilnehmer gemäß Arzneimittelgesetz versichert. Der Umfang des Versicherungsschutzes ergibt sich aus den Versicherungsunterlagen, die Sie auf Wunsch ausgehändigt bekommen.

Wenn Sie vermuten, dass durch Ihre Teilnahme an der klinischen Prüfung Ihre Gesundheit geschädigt oder bestehende Leiden verstärkt wurden, müssen Sie dies unverzüglich dem Versicherer direkt anzeigen.

Name des Versicherungsunternehmens: HDI-Gerling Industrie Versicherung AG,

Niederlassung Düsseldorf

| Adresse: | Am Schönenkamp 45, 40599 Düsseldorf |
| --- | --- |
| Telefon: | 0211/7482-0 |
| Fax: | 0211/7482 |
| Versicherungsschein-Nummer: | 39-546925 03021 |

Um Ihren Versicherungsschutz nicht zu gefährden, kann dieses gegebenenfalls mit Unterstützung Ihres Studienarztes erfolgen. In diesem Fall erhalten Sie eine Kopie der Meldung. Sofern Sie Ihre Anzeige direkt an den Versicherer richten, informieren Sie bitte zusätzlich Ihren Studienarzt.

Bei der Aufklärung der Ursache oder des Umfangs eines Schadens müssen Sie mitwirken und alles unternehmen, um den Schaden abzuwenden und zu mindern.

Während der Dauer der klinischen Prüfung dürfen Sie sich einer anderen medizinischen Behandlung – außer in Notfällen – nur nach vorheriger Rücksprache mit dem/der Studienarztärztin unterziehen. Von einer erfolgten Notfallbehandlung müssen Sie den/die Studienarzt/ärztin unverzüglich unterrichten.

Wir weisen Sie ferner darauf hin, dass Sie auf dem Weg von und zur Prüfstelle nicht unfallversichert sind.

Fragen

Sofern Sie noch weitere Fragen zu dieser Studie haben, stehen wir Ihnen gerne  zur Verfügung:

Prof. Dr. Thomas Danne, Prof. Dr. Olga Kordonouri, Dr. Torben Biester

Telefon: 0511-8115-3330

Kinder- und Jugendkrankenhaus AUF DER BULT Diabeteszentrum für Kinder und Jugendliche Janusz-Korczak-Allee 12

30173 Hannover Deutschland

Mit freundlichen Grüßen,

Ihr Diabetes- und Studienteam vom Kinder- und Jugendkrankenhaus - AUF DER BULT

- Mit meiner Unterschrift bestätige ich, dass ich diese Aufklärung gelesen, verstanden und zum Verbleib erhalten habe.

Name des Studienpatienten (in Druckbuchstaben)

Datum	Unterschrift des Studienpatienten

  - Sample Consent Form

- EINWILLIGUNGSERKLÄRUNG FÜR ELTERN UND GESETZLICHE VERTRETER

A Randomized, Double-Blind, Placebo-controlled, Single-center Phase 1 Inpatient Pilot Study to Explore the Safety and Efficacy of DAPAglifozin as Add-on to day and night closed-loop control using the DreaMed Substance Administration Device Software in Adolescent and Adult Subjects with Type 1 Diabetes mellitus

.- DAPADream-Studie –

Randomisierte, doppelblinde, plazebo-kontrollierte, monozentrische, Phase 1-Studie zur Untersuchung der Sicherheit und Wirksamkeit von Dapagliflozin als Zusatztherapie zu einem closed loop System (tagsüber und nachts) unter der Kontrolle des automatisierten MD-Logic Systems bei jugendlichen und erwachsenen Patienten mit Typ 1 Diabetes mellitus.

Name des Patienten:

Adresse:

Telefonnummer:	                       Geb. Datum:

Sorgeberechtigte(r):   D Mutter	D Vater	D andere Person:

Ich/Wir bestätige(n) hiermit, dass ich/wir die Information für Eltern und gesetzliche Vertreter gelesen habe/n und vom Studienarzt,

Herrn/Frau Dr. med.

mündlich und schriftlich über das Wesen, die Bedeutung, Tragweite und Risiken der wissenschaftlichen Untersuchung im Rahmen der oben genannten klinischen Studie, die von der wissenschaftlichen Einrichtung Diabeteszentrum für Kinder und Jugendliche am Kinder- und Jugendkrankenhaus   AUF   DER   BULT,   durchgeführt wird, informiert wurde/n und ausreichend Gelegenheit hatte/n, Fragen hierzu in einem Gespräch mit dem/der Studienarzt/in zu klären.

Ich/Wir habe/n insbesondere das vorgelegte Informationsblatt für Eltern FINAL Version 1.0 vom 05.06.2016 erhalten und verstanden. Ich bin / Wir sind einverstanden, dass mein / unser Kind / Schutzbefohlener an der wissenschaftlichen Untersuchung im Rahmen der o.g. Studie teilnimmt. Ich werde / Wir werden nach meiner / unserer Unterschrift eine Kopie der unterschriebenen Einwilligungserklärung zur Teilnahme erhalten.

Zusätzlich zu der schriftlichen Information wurden folgende Punkte besprochen:

Ich / wir wurde / wurden darauf hingewiesen, dass die Teilnahme meines / unseres Kindes / Schutzbefohlenen an der klinischen Prüfung freiwillig ist und dass ich / wir das Recht habe / haben, diese jederzeit ohne Angabe von Gründen zu beenden, ohne dass meinem / unserem Kind / Schutzbefohlenen dadurch Nachteile entstehen.

Darüber hinaus bin ich / sind wir mit der Blutentnahme durch den Studienarzt und der verschlüsselten (pseudonymisierten) Weitergabe des Blutes und einer Urinprobe an die Studienlabore (Hauslabor Kinder – und Jugendkrankenhaus AUF DER BULT, Janusz – Korczak – Allee 12, 30173 Hannover; Medizinisches Labor Hannover, Am Tüv 6, 30519 Hannover und York Bioanalytical Solutions Limited, UK) sowie mit der den Zweck der Studie betreffenden Untersuchungen, Lagerung und Vernichtung der Materialien in dem zuvor genannten Studienlabor einverstanden.

Mir/Uns ist bekannt, dass ich/wir die Einwilligung jederzeit ohne Angabe von Gründen und ohne nachteilige Folgen zurückziehen und einer Weiterverarbeitung der Daten jederzeit widersprechen kann / können.

Ich/Wir bin/sind damit einverstanden, dass der Studienarzt sich mit dem behandelnden Arzt unseres Kindes / Schutzbefohlenen im Rahmen dieses Forschungsvorhabens in Verbindung setzt.

Ja	Nein

Ich/Wir habe/n außerdem eine Kopie des Informationsblattes für Eltern und gesetzliche Vertreter und der Einverständniserklärung erhalten.

Name des ersten Elternteils / gesetzlichen Vertreters (in Druckbuchstaben)

Datum	Unterschrift des ersten Elternteils / gesetzlichen Vertreters

Name des zweiten Elternteils / gesetzlichen Vertreters (in Druckbuchstaben)

Datum	Unterschrift des zweiten Elternteils / gesetzlichen Vertreters

EINWILLIGUNGSERKLÄRUNG DER ELTERN UND GESETZLICHEN VERTRETER ZUM DATENSCHUTZ

A Randomized, Double-Blind, Placebo-controlled, Single-center Phase 1 Inpatient Pilot Study to Explore the Safety and Efficacy of DAPAglifozin as Add-on to day and night closed-loop control using the DreaMed Substance Administration Device Software in Adolescent and Adult Subjects with Type 1 Diabetes mellitus

.- DAPADream-Studie –

Randomisierte, doppelblinde, plazebo-kontrollierte, monozentrische, Phase 1-Studie zur Untersuchung der Sicherheit und Wirksamkeit von Dapagliflozin als Zusatztherapie zu einem closed loop System (tagsüber und nachts) unter der Kontrolle des automatisierten MD-Logic Systems bei jugendlichen und erwachsenen Patienten mit Typ 1 Diabetes mellitus.

Name des Patienten:

Im Rahmen der klinischen Prüfung werden Daten/Gesundheitsdaten Ihres Kindes/ Schutzbefohlenen, einschließlich der Daten über Geschlecht, Alter, Gewicht und Körpergröße pseudonymisiert (ohne Namensnennung) aufgezeichnet und gespeichert.

Pseudonymisiert/verschlüsselt bedeutet, dass die Identität des Patienten z.B. durch eine Nummer ersetzt wird.

Am Studienzentrum ist eine Liste hinterlegt, die Aufschluß darüber gibt, hinter welcher Nummer sich welcher Patient verbirgt.

Durch die Verschlüsselung (Pseudonymisierung) ist für die Datensicherheit gesorgt. Auch die Weitergabe der erhobenen Daten an zuständige Überwachungsbehörden und die zuständige Bundesoberbehörde erfolgt in verschlüsselter (pseudonymisiert) Form.

Die ordnungsgemäße Durchführung der klinischen Studie, insbesondere die ordnungsgemäße Erhebung der Daten sowie deren Zuordnung zu bestimmten Patienten, wird von mindestens einem autorisierten Vertreter des Sponsors der Studie durch direkte Einsicht in die personenbezogenen (d.h. in Verbindung mit dem Namen Ihres Kindes / Schutzbefohlenen genannten) Daten, die beim Studienarzt vorliegen, überprüft. Er hat sich in einer schriftlichen Erklärung zum Stillschweigen zu verpflichten und unterliegt den strengen Anforderungen des § 40 Bundesdatenschutzgesetz. Er darf die Daten/Krankheitsdaten Ihres Kindes / Schutzbefohlenen nur in verschlüsselter (pseudonymisiert) Form weitergeben und keine Kopien oder Abschriften von den Krankheitsunterlagen Ihres Kindes herstellen.

Die Daten Ihres Kindes / Schutzbefohlenen werden dabei in Übereinstimmung mit dem geltenden Datenschutzgesetz vertraulich behandelt.

Auch im Falle der Veröffentlichung von Studienergebnissen bleibt die Vertraulichkeit der persönlichen Daten Ihres Kindes / Schutzbefohlenen gewährleistet. Die Beachtung des Bundesdatenschutzgesetzes ist in vollem Umfang sichergestellt.

Sollten Sie Ihre Einwilligung zur Studienteilnahme Ihres Kindes / Schutzbefohlenen zurückziehen, ist es wahrscheinlich erforderlich, die bis zu diesem Zeitpunkt gespeicherten Daten weiterhin zu verwenden. Auch in diesem Fall erfolgt die Datenweitergabe oder Verwendung stets ohne Namensnennung bzw. in anonymisierter Form.

Name des ersten Elternteils / gesetzlichen Vertreters (in Druckbuchstaben)

Datum	Unterschrift des ersten Elternteils / gesetzlichen Vertreters

Name des zweiten Elternteils / gesetzlichen Vertreters (in Druckbuchstaben)

Datum	Unterschrift des zweiten Elternteils / gesetzlichen Vertreters

ERKLÄRUNG DER/S AUFKLÄRENDEN ARZTES

Ich bestätige, dass ich den o.g. Patienten und die Eltern / gesetzlichen Vertreter über Wesen, Bedeutung, Tragweite und mögliche Risiken dieses wissenschaftlichen Vorhabens mündlich wie auch schriftlich aufgeklärt habe und dass der o.g. Patient und die Eltern / gesetzlichen Vertreter mit der Teilnahme Ihres Kindes / Schutzbefohlenen an diesem Projekt einverstanden sind. Ich werde dieses Formblatt 15 Jahre lang aufheben. Die genannten Eltern / gesetzlichen Vertreter haben mir glaubhaft versichert, die allein Sorgeberechtigten für diesen Patienten zu sein. Sie haben ihr Einverständnis zur Studienteilnahme ihres Kindes / Schutzbefohlenen und zum Datenschutz mit den obigen Unterschriften gegeben. Des Weiteren bestätige ich, dass der Patient bzw. seine Sorgeberechtigten eine Ausfertigung des Informationsblattes sowie dieser Einwilligungserklärung erhalten haben.

Name des aufklärenden Arztes (in Druckbuchstaben)

Datum	Unterschrift des aufklärenden Arztes

# Literature

Biester T, Nir J, Remus K, Farfel A, Muller I, Biester S, Atlas E, Dovc K, Bratina N, Kordonouri O, Battelino T, Philip M, Danne T, Nimri R. DREAM5: An open-label, randomized, cross-over study to evaluate the safety and efficacy of day and night closed-loop control by comparing the MD-Logic automated insulin delivery system to sensor augmented pump therapy in patients with type 1 diabetes at home. Diabetes Obes Metab. 2018 Nov 26. doi: 10.1111/dom.13585

Phillip M, Battelino T, Atlas E, Kordonouri O, Bratina N, Miller S, Biester T, Stefanija MA, Muller I, Nimri R, Danne T. Nocturnal glucose control with an artificial pancreas at a diabetes camp. N Engl J Med. 2013 Feb 28;368(9):824-33. doi: 10.1056/NEJMoa1206881

Nimri R, Danne T, Kordonouri O, Atlas E, Bratina N, Biester T, Avbelj M,Miller S, Muller I, Phillip M, Battelino T. The "Glucositter" overnight automatedclosed loop system for type 1 diabetes: a randomized crossover trial. PediatrDiabetes. 2013 May;14(3):159-67. doi: 10.1111/pedi.12025

Nimri R, Muller I, Atlas E, Miller S, Kordonouri O, Bratina N, Tsioli C,Stefanija MA, Danne T, Battelino T, Phillip M. Night glucose control withMD-Logic artificial pancreas in home setting: a single blind, randomizedcrossover trial-interim analysis. Pediatr Diabetes. 2014 Mar;15(2):91-9. doi: 10.1111/pedi.12071

Nimri R, Muller I, Atlas E, Miller S, Fogel A, Bratina N, Kordonouri O,Battelino T, Danne T, Phillip M. MD-Logic overnight control for 6 weeks of homeuse in patients with type 1 diabetes: randomized crossover trial. Diabetes Care. 2014 Nov;37(11):3025-32. doi: 10.2337/dc14-0835

Nimri R, Bratina N, Kordonouri O, Avbelj Stefanija M, Fath M, Biester T,Muller I, Atlas E,Miller S, Fogel A, Phillip M, Danne T, Battelino T. MD-Logicovernight type 1 diabetes control in home settings: A multicentre, multinational,single blind randomized trial. Diabetes Obes Metab. 2017 Apr;19(4):553-561. doi: 10.1111/dom.12852

Dovc K, Macedoni M, Bratina N, Lepej D, Nimri R, Atlas E, Muller I, KordonouriO, Biester T, Danne T, Phillip M, Battelino T. Closed-loop glucose control inyoung people with type 1 diabetes during and after unannounced physical activity:a randomised controlled crossover trial. Diabetologia. 2017 Nov;60(11):2157-2167.doi: 10.1007/s00125-017-4395-z

Battelino T, Danne T, Bergenstal RM, Amiel SA, Beck R, Biester T, Bosi E,Buckingham BA, Cefalu WT, Close KL, Cobelli C, Dassau E, DeVries JH, onaghue KC,Dovc K, Doyle FJ 3rd, Garg S, Grunberger G, Heller S, Heinemann L, Hirsch IB,Hovorka R, Jia W, Kordonouri O, Kovatchev B, Kowalski A, Laffel L, Levine B,Mayorov A, Mathieu C, Murphy HR, Nimri R, Nørgaard K, Parkin CG, Renard E,Rodbard D, Saboo B, Schatz D, Stoner K, Urakami T, Weinzimer SA, Phillip M.Clinical Targets for Continuous Glucose Monitoring Data Interpretation:Recommendations From the International Consensus on Time in Range. Diabetes Care.2019 Aug;42(8):1593-1603. doi: 10.2337/dci19-0028

Weinzimer SA, Steil GM, Swan KL, Dziura J, Kurtz N, Tamborlane WV. Fully automated closed-loop insulin delivery versus semiautomated hybrid control inpediatric patients with type 1 diabetes using an artificial pancreas. DiabetesCare. 2008 May;31(5):934-9. doi: 10.2337/dc07-1967

Forlenza GP, Cameron FM, Ly TT, Lam D, Howsmon DP, Baysal N, Kulina G, Messer L, Clinton P, Levister C, Patek SD, Levy CJ, Wadwa RP, Maahs DM, Bequette BW,Buckingham BA. Fully Closed-Loop Multiple Model Probabilistic PredictiveController Artificial Pancreas Performance in Adolescents and Adults in aSupervised Hotel Setting. Diabetes Technol Ther. 2018 May;20(5):335-343. doi:10.1089/dia.2017.0424

Beck RW, Bergenstal RM, Riddlesworth TD, Kollman C, Li Z, Brown AS, Close KL. Validation of Time in Range as an Outcome Measure for Diabetes Clinical Trials. Diabetes Care. 2019 Mar;42(3):400-405. doi: 10.2337/dc18-1444

Battelino T, Danne T, Bergenstal RM, Amiel SA, Beck R, Biester T, Bosi E, Buckingham BA, Cefalu WT, Close KL, Cobelli C, Dassau E, DeVries JH, Donaghue KC, Dovc K, Doyle FJ 3rd, Garg S, Grunberger G, Heller S, Heinemann L, Hirsch IB, Hovorka R, Jia W, Kordonouri O, Kovatchev B, Kowalski A, Laffel L, Levine B, Mayorov A, Mathieu C, Murphy HR, Nimri R, Nørgaard K, Parkin CG, Renard E, Rodbard D, Saboo B, Schatz D, Stoner K, Urakami T, Weinzimer SA, Phillip M. Clinical Targets for Continuous Glucose Monitoring Data Interpretation: Recommendations From the International Consensus on Time in Range. Diabetes Care. 2019 Jun 8. pii: dci190028. doi: 10.2337/dci19-0028

Danne T, Cariou B, Buse JB, Garg SK, Rosenstock J, Banks P, Kushner JA, McGuire DK, Peters AL, Sawhney S, Strumph P. Improved Time in Range and Glycemic Variability With Sotagliflozin in Combination With Insulin in Adults With Type 1 Diabetes: A Pooled Analysis of 24-Week Continuous Glucose Monitoring Data From the inTandem Program. Diabetes Care. 2019 May;42(5):919-930.

Perkins BA, Cherney DZ, Soleymanlou N, Lee JA, Partridge H, Tschirhart H, Zinman B, Mazze R, Fagan N, Kaspers S, Woerle HJ, Broedl UC, Johansen OE.Diurnal Glycemic Patterns during an 8-Week Open-Label Proof-of-Concept Trial of Empagliflozin in Type 1 Diabetes. PLoS One. 2015 Nov 6;10(11):e0141085.

Rosenstock J, Marquard J, Laffel LM, Neubacher D, Kaspers S, Cherney DZ, Zinman B, Skyler JS, George J, Soleymanlou N, Perkins BA.Empagliflozin as Adjunctive to Insulin Therapy in Type 1 Diabetes: The EASE Trials. Diabetes Care. 2018 Dec;41(12):2560-2569.

Ervin C, Joish VN, Evans E, DiBenedetti D, Reaney M, Preblick R, Castro R, Danne T, Buse JB, Lapuerta P. Insights Into Patients' Experience With Type 1 Diabetes: Exit Interviews From Phase III Studies of Sotagliflozin. Clin Ther. 2019 Nov;41(11):2219-2230.e6. doi: 10.1016/j.clinthera.2019.09.003..

de Bock M, Dart J, Hancock M, Smith G, Davis EA, Jones TW. Performance of Medtronic Hybrid Closed-Loop Iterations: Results from a Randomized Trial in Adolescents with Type 1 Diabetes. Diabetes Technol Ther. 2018 Oct;20(10):693-697. doi: 10.1089/dia.2018.0161

Anderson SM, Buckingham BA, Breton MD, Robic JL, Barnett CL, Wakeman CA, Oliveri MC, Brown SA, Ly TT, Clinton PK, Hsu LJ, Kingman RS, Norlander LM, Loebner SE, Reuschel-DiVirglio S, Kovatchev BP. Hybrid Closed-Loop Control Is Safe and Effective for People with Type 1 Diabetes Who Are at Moderate to High Risk for Hypoglycemia. Diabetes Technol Ther. 2019 Jun;21(6):356-363. doi: 10.1089/dia.2019.0018

Forlenza GP, Ekhlaspour L, Breton M, Maahs DM, Wadwa RP, DeBoer M, Messer LH, Town M, Pinnata J, Kruse G, Buckingham BA, Cherñavvsky D. Successful At-Home Use of the Tandem Control-IQ Artificial Pancreas System in Young Children During aRandomized Controlled Trial. Diabetes Technol Ther. 2019 Apr;21(4):159-169. doi: 10.1089/dia.2019.0011

Petruzelkova L, Soupal J, Plasova V, Jiranova P, Neuman V, Plachy L, Pruhova S, Sumnik Z, Obermannova B. Excellent Glycemic Control Maintained by Open-Source  Hybrid Closed-Loop AndroidAPS During and After Sustained Physical Activity. Diabetes Technol Ther. 2018 Nov;20(11):744-750. doi: 10.1089/dia.2018.0214

Weisman A, Bai JW, Cardinez M, Kramer CK, Perkins BA. Effect of artificial pancreas systems on glycemic control in patients with type 1 diabetes: a systematic review and meta-analysis of outpatient randomised controlled trials. Lancet Diabetes Endocrinol. 2017;5(7): 501-512.

Weinzimer SA, Steil GM, Swan KL, Dziura J, Kurtz N, Tamborlane WV. Fully automated closed-loop insulin delivery versus semiautomated hybrid control in pediatric patients with type 1 diabetes using an artificial pancreas. Diabetes Care. 2008 May;31(5):934-9. doi: 10.2337/dc07-1967

Forlenza GP, Cameron FM, Ly TT, Lam D, Howsmon DP, Baysal N, Kulina G, Messer L, Clinton P, Levister C, Patek SD, Levy CJ, Wadwa RP, Maahs DM, Bequette BW, Buckingham BA. Fully Closed-Loop Multiple Model Probabilistic Predictive Controller Artificial Pancreas Performance in Adolescents and Adults in a Supervised Hotel Setting. Diabetes Technol Ther. 2018 May;20(5):335-343. doi: 10.1089/dia.2017.0424

Cameron FM, Ly TT, Buckingham BA, Maahs DM, Forlenza GP, Levy CJ, Lam D, Clinton P, Messer LH, Westfall E, Levister C, Xie YY, Baysal N, Howsmon D, Patek SD, Bequette BW. Closed-Loop Control Without Meal Announcement in Type 1 Diabetes. Diabetes Technol Ther. 2017 Sep;19(9):527-532. doi: 10.1089/dia.2017.0078

Biester T, Nir J, Remus K, Farfel A, Muller I, Biester S, Atlas E, Dovc K, Bratina N, Kordonouri O, Battelino T, Philip M, Danne T, Nimri R. DREAM5: An open-label, randomized, cross-over study to evaluate the safety and efficacy of day and night closed-loop control by comparing the MD-Logic automated insulin delivery system to sensor augmented pump therapy in patients with type 1 diabetes at home. Diabetes Obes Metab. 2018 Nov 26. doi: 10.1111/dom.13585

Weisman A, Bai JW, Cardinez M, Kramer CK, Perkins BA. Effect of artificial pancreas systems on glycaemic control in patients with type 1 diabetes: a systematic review and meta-analysis of outpatient randomised controlled trials. Lancet Diabetes Endocrinol. 2017 Jul;5(7):501-512

McKnight JA, Wild SH, Lamb MJ, Cooper MN, Jones TW, Davis EA, Hofer S, Fritsch M, Schober E, Svensson J, Almdal T, Young R, Warner JT, Delemer B, Souchon PF, Holl RW, Karges W, Kieninger DM, Tigas S, Bargiota A, Sampanis C, Cherubini V, Gesuita R, Strele I, Pildava S, Coppell KJ, Magee G, Cooper JG, Dinneen SF, Eeg-Olofsson K, Svensson AM, Gudbjornsdottir S, Veeze H, Aanstoot HJ, Khalangot M, Tamborlane WV, Miller KM.Glycaemic control of Type 1 diabetes in clinical practice early in the 21st century: an international comparison. Diabet Med. 2015 Aug;32(8):1036-50

Bergenstal RM, Garg S, Weinzimer SA, et al. Safety of a hybrid closed-loop insulin delivery system in patients with type 1 diabetes. JAMA. 2016;316:1407–8.

Singh S, Rushakoff RJ, Neinstein AB. A Case Report of Diabetic Ketoacidosis With Combined Use of a Sodium Glucose Transporter 2 Inhibitor and Hybrid Closed-Loop Insulin Delivery. J Diabetes Sci Technol. 2019 May;13(3):605-606. doi: 10.1177/1932296819838875

Benhamou PY, Huneker E, Franc S, Doron M, Charpentier G; Diabeloop Consortium. Customization of home closed-loop insulin delivery in adult patients with type 1 diabetes, assisted with structured remote monitoring: the pilot WP7 Diabeloop study. Acta Diabetol. 2018 Jun;55(6):549-556.

Wilmot EG, Danne T.Do-It-Yourself Artificial Pancreas Systems: a cause for international concern or speeding up a much needed scientific progress?  Lancet Diabetes Endocr. 2020. in press

Rawshani A, Rawshani A, Franzén S, Eliasson B, Svensson AM, Miftaraj M, McGuire DK, Sattar N, Rosengren A, Gudbjörnsdottir SMortality and Cardiovascular Disease in Type 1 and Type 2 Diabetes.N Engl J Med. 2017 Apr 13;376(15):1407-1418.

Pop-Busui R, Braffett BH, Zinman B, Martin C, White NH, Herman WH, Genuth S, Gubitosi-Klug R; DCCT/EDIC Research Group.Cardiovascular Autonomic Neuropathy and Cardiovascular Outcomes in the Diabetes Control and Complications Trial/Epidemiology of Diabetes Interventions and Complications (DCCT/EDIC) Study.Diabetes Care. 2017 Jan;40(1):94-100.

Kluger AY, Tecson KM, Barbin CM, Lee AY, Lerma EV, Rosol ZP, Rangaswami J, Lepor NE, Cobble ME, McCullough PA.Cardiorenal Outcomes in the CANVAS, DECLARE-TIMI 58, and EMPA-REG OUTCOME Trials: A Systematic Review. Rev Cardiovasc Med. 2018 Jun 30;19(2):41-49.

McMurray JJV, Solomon SD, Inzucchi SE, Køber L, Kosiborod MN, Martinez FA, Ponikowski P, Sabatine MS, Anand IS, Bělohlávek J, Böhm M, Chiang CE, Chopra VK, de Boer RA, Desai AS, Diez M, Drozdz J, Dukát A, Ge J, Howlett JG, Katova T, Kitakaze M, Ljungman CEA, Merkely B, Nicolau JC, O'Meara E, Petrie MC, Vinh PN, Schou M, Tereshchenko S, Verma S, Held C, DeMets DL, Docherty KF, Jhund PS, Bengtsson O, Sjöstrand M, Langkilde AM; DAPA-HF Trial Committees and Investigators.Dapagliflozin in Patients with Heart Failure and Reduced Ejection Fraction. N Engl J Med. 2019 Nov 21;381(21):1995-2008

Rawshani A, Sattar N, Franzén S, Rawshani A, Hattersley AT, Svensson AM, Eliasson B, Gudbjörnsdottir S.Excess mortality and cardiovascular disease in young adults with type 1 diabetes in relation to age at onset: a nationwide, register-based cohort study. Lancet. 2018 Aug 11;392(10146):477-486.

Dovc K, Boughton C, Tauschmann M, Thabit H, Bally L, Allen JM, Acerini CL, Arnolds S, de Beaufort C, Bergenstal RM, Campbell F, Criego A, Dunger DB, Elleri D, Evans ML, Fröhlich-Reiterer E, Hofer S, Kapellen T, Leelarathna L, Pieber TR, Rami-Merhar B, Shah VN, Sibayan J, Wilinska ME, Hovorka R; APCam11, AP@Home, and KidsAP Consortia.Young Children Have Higher Variability of Insulin Requirements: Observations During Hybrid Closed-Loop Insulin Delivery. Diabetes Care. 2019 Jul;42(7):1344-1347.

Musolino G, Dovc K, Boughton CK, Tauschmann M, Allen JM, Nagl K, Fritsch M, Yong J, Metcalfe E, Schaeffer D, Fichelle M, Schierloh U, Thiele AG, Abt D, Kojzar H, Mader JK, Slegtenhorst S, Ashcroft N, Wilinska ME, Sibayan J, Cohen N, Kollman C, Hofer SE, Fröhlich-Reiterer E, Kapellen TM, Acerini CL, de Beaufort C, Campbell F, Rami-Merhar B, Hovorka R; Kidsap Consortium.Reduced burden of diabetes and improved quality of life: Experiences from unrestricted day-and-night hybrid closed-loop use in very young children with type 1 diabetes. Pediatr Diabetes. 2019 Sep;20(6):794-799.

Biester T, Aschemeier B, Fath M, Frey M, Scheerer MF, Kordonouri O, Danne T. Effects of dapagliflozin on insulin-requirement, glucose excretion and ß-hydroxybutyrate levels are not related to baseline HbA1c in youth with type 1 diabetes. Diabetes Obes Metab. 2017 Nov;19(11):1635-1639. doi: 10.1111/dom.12975

Busse D, Tang W, Scheerer M, Danne T, Biester T, Sokolov V, Boulton D,Parkinson J. Comparison of pharmacokinetics and the exposure-responserelationship of dapagliflozin between adolescent/young adult and adult patientswith type 1 diabetes mellitus. Br J Clin Pharmacol. 2019 Aug;85(8):1820-1828.doi: 10.1111/bcp.13981

Garg SK, Henry RR, Banks P, Buse JB, Davies MJ, Fulcher GR, Pozzilli P, Gesty-Palmer D, Lapuerta P, Simó R, Danne T, McGuire DK, Kushner JA, Peters A, Strumph P.Effects of Sotagliflozin Added to Insulin in Patients with Type 1 Diabetes. N Engl J Med. 2017 Dec 14;377(24):2337-2348.

Nathan DM.Adjunctive Treatments for Type 1 Diabetes.N Engl J Med. 2017 Dec 14;377(24):2390-2391.

Kitabchi, A. E., et al. (2009). "Hyperglycemic crises in adult patients with diabetes." Diabetes Care 32(7): 1335-1343.

Peters, A. L., et al. (2015). "Euglycemic Diabetic Ketoacidosis: A Potential Complication of Treatment With Sodium-Glucose Cotransporter 2 Inhibition." Diabetes Care 38(9): 1687-1693.

https://www.fda.gov/downloads/Drugs/DrugSafety/UCM446954.pdf Accessed on 27-Nov-2018

Rosenstock J, Ferrannini E. Euglycemic Diabetic Ketoacidosis: A Predictable, Detectable, and Preventable Safety Concern With SGLT2 Inhibitors. Diabetes Care.  2015 Sep;38(9):1638-42

Klocker AA, Phelan H, Twigg SM, Craig ME. Blood β-hydroxybutyrate vs. urine acetoacetate testing for the prevention and management of ketoacidosis in type 1 diabetes: a systematic review. Diabet Med. 2013;30(7):818-24.

http://abbott.mediaroom.com/2018-10-01-Abbott-s-FreeStyle-R-Libre-2-with-Optional-Real-Time-Alarms-Secures-CE-Mark-for-Use-in-Europe, accessed on 27-Nov-2018

Garg, S. K., et al. (2018). "Strategy for Mitigating DKA Risk in Patients with Type 1 Diabetes on Adjunctive Treatment with SGLT Inhibitors: A STICH Protocol." Diabetes Technol Ther 20(9): 571-575.

Danne T, Garg S, Peters AL, et al. International consensus on risk management of diabetic ketoacidosis in patients with type 1 diabetes treated with sodium-glucose cotransporter (SGLT) inhibitors. Diabetes Care. 2019;42

Karges B, Schwandt A, Heidtmann al.. Association of Insulin Pump Therapy vs Insulin Injection Therapy With Severe Hypoglycemia, Ketoacidosis, and Glycemic Control Among Children, Adolescents, and Young Adults With Type 1 Diabetes. JAMA. 2017 Oct 10;318(14):1358-1366

Weisman A, et al. Effect of artificial pancreas systems on glycemic control in patients with type 1 diabetes: a systematic review and meta-analysis of outpatient randomised controlled trials. Lancet Diabetes Endocrinol. 2017 Jul;5(7):501-512

Bekiari E, Kitsios K, Thabit H, et al. Artificial pancreas treatment for outpatients with type 1 diabetes: systematic review and meta-analysis. BMJ. 2018 Apr 18;361:k1310